## 48-West_Virginia_Merged_Detaile
RANKING | SYSTEM.x | COUNTY | PROJECT.NAME | PROJECT.DESCRIPTION.x | IJDC..NUMBER | X1.1.4.PERCENT..MHI | X3400.CURRENT | X3400.PROPOSED | AFFORDABILITY | DISADVANTAGED | DWTRF..TERMS | NEW.POPULATION | POINTS | HEALTH | COMPLIANCE | AFFORDABILITY.1 | DWTRF..FUNDING..REQUESTED | TOTAL.COST | DWTRF.Eligible..Funding.Type | BYPASS.RATIONALE | GREEN.PROJECT.DESIGNATION | GREEN.PROJECT.RESERVE | DWTRF.ASSISTANCE.FROM.BASE.GRANT | DWTRF.PRINCIPAL.FORGIVENESS.FROM.BASE.GRANT | DWTRF.ASSISTANCE.FROM.SUPPLEMENTAL.GRANT | DWTRF.PRINCIPAL.FORGIVENESS.FROM.SUPPLEMENTAL.GRANT | DWTRF.PRINCIPAL.FORGIVENESS.FROM.EMERGING.CONT..GRANT | DWTRF.ASSISTANCE.FROM.LSLR.GRANT | DWTRF.PRINCIPAL.FORGIVENESS.FROM.LSLR.GRANT | TOTAL.DWTRF.ASSISTANCE
1 | Fairview, Town of | Marion | Phase I-Connection to Monumental PSD | This preliminary application is to make improvements the Town of Fairview’s water distribution system and to connect to the Monumental PSD’s water system. The project will be split into two (2) phases. This application is for Phase I. Phase I will primarily consist of the installation of approximately 3,500 LF of 6" water line, a PRV Station, a duplex booster station with telemetry and emergency generator, refurbish existing water storage tank, upgrade access roads to existing water storage tanks, upgrade telemetry to existing water storage tanks, demolish old tank at water treatment plant, decommission existing water treatment plant, a new office building, | 2020W-1861 | 36.02 | 48.2 | 87.33 | 3.03 | Yes | 0.5%, Admin. Waived, 30 yrs., Principal Forgiveness | 979 | 100 | 50 | 20 | 30 | 2179430 | 3179430 | DWSRF Base Program/Supplement al Funding | Design loan will be funded. | N/A | 0 | 233000 | 233000 | [5 empty] | 233000
2 | Pineville Municipal Waterworks | Wyoming | Brenton/Baileysville Waterline Extensions | The proposed project consists of a new 8-inch line that will extend along WV Route 97 to Baileysville Elementary School from the end of the existing 8-inch line near Wyoming. Also there will be 6-inch lines extending from Route 97 along Lanes Branch Road and Doublecamp Branch Road for approximately 0.53 miles and 0.94 miles, respectively. This alternative will also feature one 150,000-gallon water storage tank | 2020W-1903 | 35.14 | 45 | 63.46 | 2.26 | Yes | 0.5%, Admin. Waived, 40 yrs., Principal Forgiveness | 2945 | 100 | 50 | 20 | 30 | 1912371 | 9498871 | DWSRF Base Program/Supplement al Funding | Project will be funded | N/A | 0 |  |  | 1912371 | 1000000 |  |  |  | 1912371
3 | Wardensville, Town of | Hardy | Water System Improvements | This project is to replace the fire hydrants and water meters in the distribution system; replace the Warden Acres water storage tank with a 330,000 gallon tank and the Anderson Ridge water storage tank with a 304,000 gallon tank: drill a new water well at the Town of Wardensville water treatment plant site; add a SCADA system; and upgrade/rehabilitate the existing Town of Wardensville’s water treatment plant with major work to consist of upgrade the electrical service, upgrade the chlorine room, upgrade mechanical piping, and add a generator. | 2020W-1879 | 36.46 | 33.84 | 45.01 | 1.54 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 788 | 90 | 50 | 20 | 20 | 3124477 | 2421000 | DWSRF Base Program/Supplement al Funding | Project will be funded | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
4 | Fairview, Town of | Marion | Phase II-Water line Replacements | This project will replace 11,000 ft of old water mains, install 14 new valves and 5 fire hydrants in order to reduce significant water loss. | 2022W-2087 | 36.02 | 87.33 | 87.33 | 3.03 | Yes | Principal Forgiveness | 979 | 90 | 50 | 10 | 30 | 1175000 | 2175000 | DWSRF Base Program/Supplement al Funding | Design loan will be funded. | N/A | 0 | 172000 | 172000 | [5 empty] | 172000
5 | Salem, City of | Harrison | Phase IV Water System Improvements | The City of Salem is proposing to replace approximately 1.5 miles (8,000 LF) of problematic 8-inch water main, along with short sections of 6-inch connection lines, utility service lines (including lead and galvanized) and 128 water meters. Two short sections of 2-inch water line will also be replaced and a leak detection will be performed on the rest of the distribution system. | 2021W-1988 | 36.91 | 43.32 | 66.96 | 2.27 | Yes | 0.5%, Admin. Waived, 40 yrs., Principal Forgiveness | 1617 | 90 | 40 | 20 | 30 | 2400000 | 3500000 | DWSRF Base Program/Supplement al Funding | Requesting Congressional Earmark Grant | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
6 | McDowell County PSD | McDowell | Elkhorn Ph III | The proposed project will construct a new water treatment plant to serve 220 customers and will allow 3 old treatment plants (Greenbrier, Ashland, and Crumpler) to be retired in the area. Also included in the project will be a 50 GPM booster station, (2) 100,000-gallon water storage tanks, approximately 60,645 linear feet of 8- inch and smaller waterline, 24 fire hydrants, and all other necessary valves and appurtenances. | 2021W-1961 | 25.96 | 53.72 | 53.72 | 2.59 | Yes | Principal Forgiveness | 693 | 80 | 40 | 10 | 30 | 856500 | 7513000 | DWSRF Base Program/Supplement al Funding | Project will be funded | N/A | 0 | 856500 | 856500 | [5 empty] | 856500
7 | Town of Franklin | Pendleton | Plant Upgrade/Line Replacement | The proposed project consists of: 8” directional drill river crossing, upgrades at the Hanover Storage Tank, replacement of the altitude valve, and upgrades to the Morton Storage Tank. At the water treatment plant work includes; upgrade secondary water source, replace backwash pump, upgrade backwash tank, upgrade plant instrumentation, upgrade plant building, and upgrade sediment basin, Installation of two 40,000 gallon clear well tanks, new automation, VFD’s on pump motors, new automatic transfer switch, and replace the plant emergency generator. | 2019W-1845 | 36.26 | 53.75 | 75.25 | 2.59 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 1702 | 80 | 30 | 20 | 30 | 1300000 | 3472318 | DWSRF Base Program/Supplement al Funding | Project will be funded | N/A | 0 |  |  | 2272318 | 500000 |  |  |  | 2272318
8 | Chestnut Ridge PSD | Barbour | Water System Improvements | This project will make improvements to the PSD's water distribution system, including water line and valve replacement, upgrading booster stations, replacing water meters and upgrades to the SCADA and telemetry systems. | 2019W-1835 | 32.29 | 65.47 | 65.47 | 2.53 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 2643 | 80 | 30 | 20 | 30 | 500000 | 5300000 | DWSRF Base Program/Supplement al Funding | Project will be funded | N/A | 0 | 1902500 | [6 empty] | 1902500
9 | Mercer County PSD | Mercer | Water System Improvements | This project will extend the water system to the McComas area and replace the existing failing McComas water system. | 2021W-1992 | 37.7 | 0 | 21 | 1.03 | TBD | TBD | TBD | 75 | 50 | 20 | 5 | 2698000 | 2698000 | DWSRF Base Program/Supplement al Funding | Project was returned at IJDC and has been requested to further evaluate alternatives. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
10 | Paw Paw, Town of | Morgan | Water System Improvements | This Preliminary Application is to upgrade the Town of Paw Paw water treatment plant and distribution system. The distribution portion of the project will consist of the installation of approximately 2 miles (10,780 LF) of 2" to 8” water line; and rehabilitate the existing water storage tanks. | 2021W-1962 | 31.06 | 46.01 | 62.58 | 2.52 | Yes | 0.5%, Admin. Waived, 40 yrs., Principal Forgiveness | 488 | 70 | 30 | 10 | 30 | 3395600 | 4395600 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
11 | Richwood, City of | Nicholas | Surface Water Intake Impound Structure Project | The proposed project will replace the raw water intake impoundment that helps to regulate the water level around the water treatment plant’s raw water intake. Included in this project will be building a new surface water intake impound structure, demolition and removal of the existing impound infrastructure, installation of a catwalk with manual gate, construction of a new intake screening structure, approximately 200 LF of 12” mains, 300 LF of 2” air line and site electric with equipment for an air compressor building, and various reclamation of disturbed areas. | 2021W-1959 | 28.37 | 39.88 | 45.47 | 2 | Yes | 0.5%, Admin. Waived, 30 yrs., Principal Forgiveness | 1095 | 70 | 30 | 10 | 30 | 1000000 | 2000000 | DWSRF Base Program/Supplement al Funding | Project will be funded. | N/A | 0 |  |  | 700000 | 200000 |  |  |  | 700000
12 | Pennsboro, City of | Ritchie | Water System Improvements | The proposed project plans to replace the existing 434,000 gallon Industrial Park Tank with a new like-sized tank and to rehabilitate the Park Drive and Broadwater Water Storage Tanks. Also included will be the replacement of almost 1.14 miles of mostly 8-inch watermains with a small portion being 2-inch and 6-inch. All necessary valves and appurtenances will be included as well as the demolition and site preparation for the new tank. | 2022W-2089 | 30.25 | 60.07 | 60.07 | 2.48 | Yes | Principal Forgiveness | 1291 | 70 | 30 | 10 | 30 | 500000 | 2112000 | DWSRF Base Program/Supplement al Funding | Project will be funded. | N/A | 0 |  |  | 500000 | 500000 |  |  |  | 500000
13 | Alderson, Town of | Greenbrier | Water System Rehab & Expansion | This preliminary application is for the Town of Alderson to extend water service to the Riverside Rest area and to repair/replace various parts of the water distribution system and water treatment facilities. | 2019W-1833 | 25.68 | 38.58 | 58.49 | 2.85 | Yes | 0.5%, Admin. Waived, 40 yrs., Principal Forgiveness | 2458 | 70 | 30 | 10 | 30 | 5398000 | 9013000 | DWSRF Base Program/Supplement al Funding | Project will be funded. | N/A | 0 |  |  | 4661258 | 2699000 |  |  |  | 4661258
14 | Town of Oceana | Wyoming | Water System Upgrade Phase II | Phase 2 of a water system upgrade project for the Town of Oceana and the surrounding area. Project includes replacing Lynco water storage tank, water plant upgrades, telemetry upgrades, replacing water meters, booster station upgrades, and upgrading existing water lines along Rt 10, Rt 85, Popular St. and Chestnut St. | 2019W-1840 | 35.14 | 39.23 | 48.93 | 2.02 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 3797 | 70 | 30 | 10 | 30 | 3000000 | 5000000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | N/A | 0 |  |  | 952538 | 952538 |  |  |  | 952538
15 | Gary, City of | McDowell | Water System Improvements | The project includes the engineering services necessary to conduct a feasibility study that will review alternate water sources for the city's water distribution system. Including alternative raw water sources, emergency interconnect to the City of Welch, emergency interconnect to the McDowell County PSD and consolidation with a nearby water utility. | 2020W-1909 | 32.98 | 33.15 | 33.15 | 1.26 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 1633 | 65 | 40 | 10 | 15 | 500000 | 3587000 | DWSRF Base Program/Supplement al Funding | Project was returned at IJDC and has been requested to further evaluate alternatives. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16 | Lincoln PSD | Lincoln | Alum Creek Water Storage Tank Replacement | This project will replace the Lincoln PSD’s Alum Creek Water Storage Tank with a new 300,000 gallon tank. | 2019W-1806 | 37.29 | 38.81 | 42.43 | 1.42 | Yes | Principal Forgiveness | 2473 | 65 | 40 | 10 | 15 | 250000 | 1000000 | DWSRF Base Program/Supplement al Funding | Project will be funded | N/A | 0 |  |  | 250000 | 250000 |  |  |  | 250000
17 | Cairo, Town of | Ritchie | Water System Improvements | This project will make improvements to the Town of Cairo water distribution system. The project will consist of the 190 new water meters, replacement of 20 valves, replace the existing PRV station, clean and refurbish the existing 214,000 gallon storage tank, replace a river crossing; stabilize a river bank, replace 12 fire hydrants, install 12 fire hydrants, replace approximately 2.5 miles (13,400 LF) of 6" and 2" water line, and replace approximately 1.1 miles (6,000 LF) of 3/4" water line. | 2021W-1953 | 33.85 | 38.59 | 51.48 | 1.9 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 406 | 65 | 30 | 10 | 25 | 1000000 | 4000000 | DWSRF Base Program/Supplement al Funding | Project will be funded | N/A | 0 |  |  | 500000 | 500000 |  |  |  | 500000
18 | Town of Worthington | Marion | Worthington Line Upgrades/Replacement | The project will make upgrades to the Town’s distribution system and will include an interconnection between Four States and Monongah. The project also includes a water line extension to the Harter Hill area that will serve five (5) new customers. The project will consist of the installation of approximately 18,900 LF of 6" and 18,000 LF of 2" water line; 10,000 LF of ¾" service line replacement; 28 valves; two (2) PRV Stations; 12 fire hydrants; two (2) solenoid master meters; 13 leak detection meters; 465 radio-read meters; all necessary piping, valves and appurtenances. | 2019W-1810 | 27.99 | 27.12 | 43.83 | 1.96 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 1099 | 65 | 30 | 10 | 25 | 2866390 | 3366390 | DWSRF Base Program/Supplement al Funding | Project will be funded | N/A | 0 |  |  | 2299200 | 500000 |  |  |  | 2299200
19 | Grant Town, Town of | Marion | Water System Improvements | This Preliminary Application is to replace water line, booster stations and water storage tank in the Town of Grant Town. The project will consist of the installation of approximately 2.9 miles (15,125 LF) of 8"through 2" waterline; replace two (2) booster stations; and replace the existing 100,000-gallon tank with a new 200,000- gallon tank; and necessary valves and appurtenances. | 2021W-2000 | 33.56 | 35.6 | 59.24 | 2.11 | Yes | 0.5%, Admin. Waived, 40 yrs., Principal Forgiveness | 1240 | 65 | 30 | 5 | 30 | 2825000 | 3825000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
20 | Terra Alta Municipal Water Dept. | Preston | Water System Extensions and Improvements | This preliminary application is to extend water service to 25 new customers and to upgrade/replace the water system in the Town of Terra Alta. The water distribution section of the project will consist of the installation of approximately 1.5 miles (8,100 LF) of 2" and 6.2 miles (32,800 LF) of 8" water line; replace the 200,000 gallon Goodwill water storage tank; replace the Corinth water storage tank altitude valve; replace all meters with radio read meters; purchase a compact excavator, equipment trailer and a service dump truck; and all necessary valves, controls and appurtenances. The water treatment portion of the project will consist of a new high | 2019W-1787 | 38.03 | 41.53 | 57.08 | 1.88 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 1856 | 65 | 30 | 10 | 25 | 4800000 | 6250000 | DWSRF Base Program/Supplement al Funding | Requesting Congressional Earmark Grant | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
21 | New Creek Water Association | Mineral | Water System Improvements | This project proposes to make several upgrades around the water system including waterline replacements, waterline extensions, tank replacement, Booster Pump Station Upgrades and various other system upgrades. | 2018W-1748 | 33.11 | 33.8 | 50.5 | 1.91 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 3043 | 65 | 30 | 10 | 25 | 5673000 | 5673000 | DWSRF Base Program/Supplement al Funding | Project already funded by IJDC and under construction | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
22 | Rivesville, Town of | Marion | Fairmont to Rivesville Water Supply Line Project | The proposed project includes replacing the deteriorated 8” main supply line with a 12” line that will connect to the City of Fairmont’s 16” main. This project will consist constructing 10,500 feet (2 mi) of 12” water line and 300 feet of 8” water line within a stream crossing, 350 feet of steel casing and 6 gate valves. The City of Fairmont provides water to the Town of Rivesville. The intent is to ultimately transfer ownership of a portion of the line to the City of Fairmont. | 2017W-1677 | 43.48 | 40.12 | 57.81 | 1.66 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 1443 | 60 | 40 | 10 | 10 | 500000 | 3206307 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
23 | Pax, Town of | Fayette | Water System Upgrades | This project proposes replacing sections of water main between the Beckley Water Company connection point and the Pax water tank. The proposed project will consist of approximately 1.9 miles (10,000 LF) of 6” PVC, 400 LF of 6” DIP, 600 LF of 8” HDPE, 400 LF of 2” PVC, five stream crossings, five Department of Highway road crossings, and related appurtenances. This will renew the useful life of this critical section of waterline and will continue to distribute treated water for the Town of Pax customers. | 2021W-1985 | 37.81 | 60.35 | 60.35 | 2 | Yes | 0.5%, Admin. Waived, 40 yrs., Principal Forgiveness | 762 | 60 | 30 | 0 | 30 | 1680000 | 1680000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
24 | Mason County PSD | Mason | J2Y35 Water System Improvements | This project includes Miscellaneous improvements to existing J2Y35 water association water system in order for the Mason County PSD to adequately operate it through feeding it from its system, including 10,000 LF 8 inch transmission line to connect PSD system to J2Y35 tank; 125 gpm booster station near tie in; replace J2Y35 89,300 gallon tank; PRV valve vault for existing customers fed through 22nd Street master meter | 2021W-2005 | 37.97 | 43.95 | 46.25 | 1.52 | Yes | Principal Forgiveness | 3323 | 60 | 30 | 10 | 20 | 500000 | 1400000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
25 | Hodgesville PSD | Upshur | Water System Improvements & Extension | This project will replace approximately 175 service lines in the existing system. It will also include an extension on the Upper Peck's Run Road to serve an additional five customers. The project includes the installation of two 100,000 gallon water tanks as well as a booster pump station. The project also includes the installation of approximately 1200 radio read meters. | 2020W-1877 | 42.01 | 54.29 | 54.29 | 1.62 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 2887 | 60 | 20 | 20 | 20 | 2320000 | 7000000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
26 | Walton PSD | Roane | Camp Shepard-Quarry Road Water Line Extensions | This project will upgrade the line size to the Camp Shepard 4-H camp to provide fire protection and then extend the line out to serve approximately 26 new customers along Wolf Run and Quarry Road. Included will be approximately 3.7 miles of water line , (2) fire hydrants, a booster station, (1) 50,000 gallon water storage tank, and all necessary valves and appurtenances. They also plan to repaint the 100,000 gallon Walton water storage tank and refurbish the Gandeeville, Ambler Ridge, and Long Ridge water storage tanks. | 2015W-1564 | 34.29 | 29.21 | 36.21 | 1.58 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 1986 | 55 | 20 | 10 | 25 | 959710 | 3459710 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
27 | Jumping Branch Nimitz PSD | Summers | Broomstraw Rd./Mark Meador Rd. Extension | This project will provide water service to the Broomstraw Rd. and Mark Meador Rd. areas of western Summers County. Residents experience low water quality and poor quality water issues in existing private wells. In addition, many residents haul water, use cisterns, and some report fecal contaminants in wells. | 2019W-1815 | 38.18 | 57.94 | 66.58 | 2.18 | Yes | 1%, 0.25% Admin, 30 years | 1414 | 53 | 20 | 3 | 30 | 400000 | 4811800 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
28 | Jumping Branch Nimitz PSD | Summers | Madams Creek Waterline Ext. | To provide water service to the Madams Creek Rd. area of western Summers Co. Residents experience low water quality and poor quality water issues in existing private wells. In addition, man residents haul water, use cisterns, and some report fecal contaminants in wells. | 2019W-1816 | 38.18 | 57.94 | 74.82 | 2.45 | Yes | 0.5%,0.25% Admin, 30 years | 1414 | 53 | 20 | 3 | 30 | TBD | 4418500 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
29 | Cowen PSD | Webster | Rt. 82 Water Line Extension Project | This project consists of extending public water service and providing fire service to approximately 55 proposed customers along Rt. 82 in Webster County. | 2014W-1525 | 30.3 | 0 | 43.65 | 1.8 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 2796 | 53 | 20 | 3 | 30 | 3000000 | 4500000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
30 | Anmoore, Town of | Harrison | Water System Improvements | This Preliminary Application is to replace existing water line in the Town of Anmoore with approximately 5.2 miles (27,380 LF) of 8" thru 2” water line, approximately 1.5 miles of service line (8,080 LF) and approximately 456 new radio read meters. | 2021W-1970 | 27.53 | 33.76 | 45.71 | 2.08 | Yes | 0.5%, Admin. Waived, 30 yrs., Principal Forgiveness | 951 | 50 | 10 | 10 | 30 | 2300000 | 3300000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
31 | Marlinton, Town of | Pocahontas | Phase II Water System Improvements | This project is Phase 2 for Marlinton’s water distribution system improvements. The project will replace approximately 1.9 miles of existing 4-inch water mains with 6- inch water line and replace approximately 1.9 miles of existing 1.25-inch water line with 2-inch water line. Also included will be to installation of 41 valves, 20 fire hydrants, 10 leak detector meters, replace 300 meters/wells/setters, and all other necessary valves and appurtenances. | 2022W-2077 | 29.83 | 66.81 | 75.11 | 3.15 | Yes | 0.5%, Admin. Waived, 40 yrs., Principal Forgiveness | 1362 | 50 | 10 | 10 | 30 | 3500000 | 4500000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
32 | Cowen PSD | Webster | Ph III Water System Rehabilitation Project | Project will remove and replace approx. 17,050 lf of water lines ranging in size from 2" to 10" and rehabilitate the existing WTP and upgrade the capacity from 600 GPM to 1,200 GPM | 2022W-2120 | 30.3 | 43.65 | 53.39 | 2.15 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 3372 | 50 | 10 | 10 | 30 | 2580000 | 11580000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
33 | Williamson, City of | Mingo | Water System Upgrade Project | This project will upgrade the water treatment, storage and distribution system. Upgrades will consist of the installation of (3) 2,500 GPM treatment high service pumps, approx. 2.86 miles of 24-inch and smaller diameter mains, a 500 GPM booster pump station, four new water storage tanks, rehab of existing tank, numerous pressure reducing stations, back up generators for TP and booster pump stations, telemetry, hydrants, valves, meters | 2015W-1587 | 29.95 | 24.75 | 49.4 | 2.11 | Yes | 0.5%, Admin. Waived, 30 yrs., Principal Forgiveness | 4183 | 50 | 10 | 10 | 30 | 12578000 | 12578000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
34 | McDowell County PSD | McDowell | Bradshaw | This project proposes that the Bradshaw water system will be connected to the McDowell County PSD Bartley water distribution system that runs through town, and the water will be supplied by the MCPSD Bartley WTP. In addition it will involve the decommissioning of the Bradshaw Water Treatment Plant and the Bradshaw water tank. This project will result in the consolidation of Bradshaw Water Works and McDowell Co. PSD – Bartley. | 2021W-1939 | 28.83 | 16 | 53.72 | 2.33 | Yes | Principal Forgiveness | 1854 | 50 | 10 | 10 | 30 | 100000 | 2000000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
35 | New Haven PSD | Fayette | Contract 18 - Sunday Rd./Confluence/Elliott Cutoff area. | Water line extension to Sunday Rd./Confluence/Elliot Cufoff area, including possible Stringtown connector & Clifty connector. Approximately 67 new customers. | 2018W-1761 | 37.81 | 49.24 | 52.93 | 1.75 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 4409 | 48 | 20 | 3 | 25 | 2493325 | 2933635 | DWSRF Base Program/Supplement al Funding | Project will be funded. | N/A | 0 |  |  | 376942 | 376942 |  |  |  | 376942
36 | New Haven PSD | Fayette | Contract 19 - Ramsey Extension | Water line extension to Cane Branch, Ramsey, Hawver Rd., South Miller Ridge, Arrowwood Rd., Dotson Ridge & Lower Dotson Ridge, Whispering Pines. Approximately 73 new customers. | 2018W-1760 | 37.81 | 49.24 | 58.22 | 1.92 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 4438 | 48 | 20 | 3 | 25 | 3927250 | 4841686 | DWSRF Base Program/Supplement al Funding | Project will be funded. | N/A | 0 |  |  | 752241 | 337600 |  |  |  | 752241
37 | Greenbrier County PSD #2 | Greenbrier | Ph II- Sam Black Water Line Extension | This project extends water service to approximately 475 new customers from Charmco to Rainelle and from Sam Black Church to Asbury in Greenbrier County. The project includes approximately 17 miles of 2-inch to 8-inch distribution line, two (2) booster stations, one (1) 100,000-gallon water storage tank, one (1) 300,000 gallon water storage tank, 50 gate valves, 40 fire hydrants, 30 flushing hydrants and other appurtenances. | 2020W-1898 | 41.4 | 54.65 | 62.29 | 1.88 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 2326 | 45 | 20 | 0 | 25 | 9000000 | 17000000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
38 | Lashmeet PSD (WVAWC) | Mercer | Mary Branch Water Extension | Extension of public water to the Mary Branch area of Mercer County, West Virginia. 4 miles. Approximately 42 new customers. | 2018W-1728 | 37.7 | 49.24 | 51.14 | 1.7 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 3794 | 40 | 20 | 0 | 20 | 971453 | 2146050 | DWSRF Base Program/Supplement al Funding | Project will be funded. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
39 | Hammond PSD | Brooke | Water System Improvements | This project includes system improvements to the distribution systems and the water treatment plant. This includes water main replacement, replacing exiting meters with new AMR meters, replacing shut off valves, pump station improvements and upgrades to existing water storage tanks. Water treatment plant improvements include replacing the sedimentation basin, filter media replacement, automatic valve installation, installation of a permanent generator and pump replacement. | 2021W-1955 | 48.14 | 40.21 | 67.39 | 1.75 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 2196 | 40 | 10 | 10 | 20 | 5674000 | 6174000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
40 | Kanawha Falls PSD | Fayette | Water System Improvements | This project will upgrade the existing water treatment plant from approximately 933 gpm to 1,300 gpm. | 2021W-2038 | 37.8 | 39.56 | 45.45 | 1.5 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 2410 | 40 | 10 | 10 | 20 | 9860500 | 9860500 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
41 | Craigsville PSD | Nicholas | Water Treatment Plant and Distribution System Upgrades | This project will upgrade the existing water treatment plant to 900 gpm and installing a dedicated waterline from the water treatment plant to existing elevated water storage tanks. The project will consist of a new raw water intake screen and hydroburst system, raw water pump station, flocculator, sedimentation basin, filter equipment, backwash solids pump station, chemical feed system, painting four (4) existing water tanks, approximately 4 miles of 10" water line, and all necessary appurtenances. | 2015W-1590 | 32.53 | 29.45 | 36.46 | 1.4 | Yes | 1%, 0.25% Admin., 30 years, Principal Forgiveness | 1813 | 35 | 10 | 10 | 15 | 3174000 | 11100000 | DWSRF Base Program/Supplement al Funding | Project will be funded. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
42 | Town of Nutter Fort | Harrison | Water System Improvements | This project will replace water line and add a new water storage tank in the Town of Nutter Fort. The project will consist of the installation of approximately 1.3 miles (7,110 LF) of 6" and 1.5 miles (7,850 LF) of 12" waterline and one (1) 270,000- gallon water storage tank with telemetry and all necessary valves and appurtenances. | 2021W-1973 | 41.33 | 36.58 | 54.21 | 1.64 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 1832 | 33 | 10 | 3 | 20 | 2000000 | 4300000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
43 | West Union, Town of | Doddridge | Water System Improvements | The proposed project will include improvements to the distribution system and a construction of a new 500 GPM water treatment plant. Improvements include 11,000 ft of new water line, two new water storage tanks, new telemetry and replacement of 16,200 ft of water line. | 2021W-2046 | 31.86 | 28.9 | 51.17 | 2.01 | Yes | 0.5%, Admin. Waived, 40 yrs., Principal Forgiveness | 1895 | 30 | 10 | 10 | 10 | 20995000 | 22995000 | DWSRF Base Program/Supplement al Funding | Project was returned at IJDC and has been requested to further evaluate alternatives. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
44 | City of Weirton | Hancock | Water Treatment Plant Refurbish & Expand | This project will upgrade and increase the Weirton Water Board’s 4.0 MGD Water Treatment Plant to an 8.0 MGD plant. Major new construction will consist of a pre- sedimentation basin with sludge removal equipment, a flocculation tank with plate settlers, a sludge thickener, a backwash filter tank, an emergency generator and the expansion of the existing filter building and clear well. The existing Raney Well will also be reconstructed. | 2019W-1795 | 41.49 | 24.96 | 41.84 | 1.27 | Yes | 1%, 0.25% Admin, 30 years | 24000 | 25 | 10 | 0 | 15 | 2000000 | 22470000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
45 | Bellwood Community Facilities | Fayette | Main Line Replacement | Project will replace 40 yr. old 2" galvanized supply line from pump house to tank reservoir, approx. 600 ft. | TBD | 37.8 | 20 | TBD | 0.66 | TBD | TBD | 113 | TBD | TBD | TBD | 5 | 5000 | 5000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
46 | Arthurdale Water Association | Preston | Water System Upgrades | Project consists of water treatment plant and distribution system upgrades. | TBD | 46.94 | 18.56 | TBD | 0.49 | TBD | TBD | 285 | TBD | TBD | TBD | 0 | 200000 | 200000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
47 | Valley Grove, Village of | Ohio | Water System Improvements | This project includes replacement of approx. 35,000 lf of water lines, construction of 2 new 100,000 gallon storage tanks, 250 new water meters, and water tank access road improvements. | TBD | 36.83 | 60.79 | TBD | 2.06 | Yes | 0.5%, Admin. Waived, 40 yrs., Principal Forgiveness | 686 | TBD | TBD | TBD | 30 | 6500000 | 7500000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
48 | Thomas, City of | Tucker | Water System Improvements | Project includes replacement of 35,000 lf of existing water lines, rehabilitation of 3 water storage tanks, replacement of 1 booster pump station, a new 350 gpm water treatment plant, replacement of 360 water meters, and 3,000 lf of new 8" water line. | TBD | 34.38 | 36.76 | TBD | 1.34 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 753 | TBD | TBD | TBD | 15 | 14300000 | 15300000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
49 | Summit Park PSD | Harrison | Water System Improvements | Project will replace all existing components of an aging water system with new line and lead free components. | TBD | 45.82 | 45.18 | TBD | 1.23 | TBD | TBD | 835 | TBD | TBD | TBD | 10 | 6000000 | 6000000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
50 | Rowlesburg, Town of | Preston | Water System Improvements | The project proposes to repair electrical issues and perform upgrades at the water treatment plant. The project also proposes to purchase and install new water meters within the system, purchase leak detection equipment, and upgrade aging water lines. | TBD | 31 | 38.19 | TBD | 1.54 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 892 | TBD | TBD | TBD | 20 | 1500000 | 2000000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
51 | Junior, Town of | Barbour | Water Tank Replacement Project | This project will replace a water storage tank that was constructed in 1970 and is in poor condition. | TBD | 33.56 | 53.2 | TBD | 1.98 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 987 | TBD | TBD | TBD | 25 | TBD | TBD | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
52 | Fountain PSD | Mineral | Parrill Hollow Water System ProjectTBD |  | TBD | 33.11 | 62.27 | TBD | 2.35 | Yes | 0.5%, Admin. Waived, 40 yrs., Principal Forgiveness | 1001 | TBD | TBD | TBD | 30 | 822630 | 2202800 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
53 | Mt. Zion PSD | Calhoun | Water System Improvements | Project includes water distribution and storage system improvements. | TBD | 37.05 | 59.36 | TBD | 2 | Yes | 0.5%, Admin. Waived, 40 yrs., Principal Forgiveness | 1009 | TBD | TBD | TBD | 30 | 1500000 | 2500000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
54 | Downs PSD | Marion | Waterline Extensions & System Upgrades | Project includes water line extensions along East Run and Plum Run Road, construction of a water storage tank and an interconnection with Monumental PSD to allow a secondary source to both utilities. | TBD | 44.96 | 45.81 | TBD | 1.27 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 1024 | TBD | TBD | TBD | TBD | 2400000 | 2400000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
55 | Belmont, City of | Pleasants | Water System Improvements | Project consists of distribution and storage system upgrades. | TBD | 41.02 | 35.7 | TBD | 1.09 | No | 2.5%, 0.25% Admin, 20 years | 1048 | TBD | TBD | TBD | 10 | 1000000 | 3500000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
56 | Richwood, City of | Nicholas | Water Tank Renovation and Meter Replacement | This project includes the engineering services necessary to renovate 4 finished water storage tanks, demolish 1 water storage tank, add a booster station, replace existing obsolete water meters, and construct a presedimentation basin. | TBD | 28.37 | 45.47 | TBD | 2 | Yes | 0.5%, Admin. Waived, 40 yrs., Principal Forgiveness | 1095 | TBD | TBD | TBD | 30 | 5000000 | 5000000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
57 | Ice's Run Rt 250 PSD | Marion | Water System Improvements PH II | This project includes replacement of 9,200 lf of existing water line, improvements to Goose Run booster pump station, new booster station, new water meters, water tank access road improvements, new control valve station and telemetry system upgrades. | TBD | 44.96 | 40.89 | TBD | 1.14 | TBD | TBD | 1130 | TBD | TBD | TBD | 10 | 2400000 | 2400000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
58 | Burnsville Public Utility Board | Braxton | Route 4 Water Line Extension | This project would extend public water service to approx. 100 customers from Curry Ridge along Route 4 to the Lewis County line. | TBD | 34.11 | 49.22 | TBD | 1.8 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 1140 | TBD | TBD | TBD | 25 | 6700000 | 6700000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
59 | Burnsville Public Utility Board | Braxton | Water System Rehab Project | Proposed water line extension and relocation project to provide water service to customers along Curry Ridge Rd. and remove the existing water line from the Corp of Engineers Burnsville Lake. | TBD | 34.11 | 49.22 | TBD | 1.8 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 1140 | TBD | TBD | TBD | 25 | 1200000 | 6000000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
60 | Pennsboro, City of | Ritchie | Phase II Water Line Extension | This project will extend public water to approx. 33 customers along Route 74. The project includes water lines, water meters, fire hydrants and all necessary appurtenances. | TBD | 30.25 | 60.07 | 60.07 | 2.48 | Yes | 0.5%, Admin. Waived, 40 yrs., Principal Forgiveness | 1291 | TBD | TBD | TBD | 30 | 4000000 | 5000000 | DWSRF Base Program/Supplement al Funding | Requesting Congressional Earmark Grant | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
61 | New Cumberland, City of | Hancock | New Well | This project includes development of a new well, repairing an existing well and replacement of approx. 30 valves. | TBD | 26.09 | 42.3 | TBD | 2.03 | Yes | 0.5%, Admin. Waived, 40 yrs., Principal Forgiveness | 1326 | TBD | TBD | TBD | 30 | 150000 | 150000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
62 | Big Bend PSD | Summers | Water System Improvements | Project consists of water line replacements under the Greenbrier River, installation of a generator and transfer switch at the Hillsdale booster station and WTP improvements. | TBD | 38.18 | 36.46 | TBD | 1.19 | TBD | 2.5%, 0.25% Admin, 20 years | 1338 | TBD | TBD | TBD | 10 | 2540000 | 2540000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
63 | Parsons, City of | Tucker | Water System Improvements | The project includes upgrades to existing potable water storage, replacement of remaining original sections of the water system, replacement of hydrants and valves, and upgrades to leak detection monitoring systems. | TBD | 36.93 | 43.11 | TBD | 1.46 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 1461 | TBD | TBD | TBD | 15 | 4500000 | 4500000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
64 | Lumberport, Town of | Harrison | Water System Improvements | This project evaluates potential secondary water sources, comprehensive leak detection and an automated radio read water meter system. | TBD | 40.36 | 49.19 | TBD | 1.52 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 1519 | TBD | TBD | TBD | 20 | 2000000 | 3000000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
65 | Gilbert, Town of | Mingo | Upper Gilbert Creek Water Project | This project will extend public water service to approx. 441 customers in the upper Gilbert Creek area of Mingo county. The project includes water lines, 2 booster stations and 2 tanks. | TBD | 34.6 | 49 | TBD | 1.77 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 1687 | TBD | TBD | TBD | 25 | 6000000 | 8600000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
66 | Gilbert, Town of | Mingo | Gilbert WTP Upgrade | WTP upgrade project to increase capacity from 200 gpm to 800 gpm and replace multiple worn components. Project also includes a new 600,000 gallon storage tank. | TBD | 34.6 | 49 | TBD | 1.77 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 1687 | TBD | TBD | TBD | 25 | 6000000 | 7500000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
67 | Norton Harding Jimtown PSD | Randolph | WTP and Water System Improvements | This project proposes the replacement/rehabilitation of critical water treatment plant and water distribution system components within the Norton Harding Jimtown PSD service area. Water treatment plant improvements consist of replacing the existing, aging 400GPM water treatment plant with a 500GPM water treatment plant. Water distribution system improvements consist of aging, existing tanks, booster stations and water line rehabilitations. | TBD | 41.1 | 39.59 | TBD | 1.2 | TBD | TBD | 1707 | TBD | TBD | TBD | 10 | 2500000 | 10000000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
68 | Monumental PSD | Marion | Water System Improvements PH II | This project is Phase II of replacing old and undersized water lines with new larger waterlines and appurtenances to improve distribution system hydraulics, provide fire flow, and improve reliability. | TBD | 44.96 | 41.04 | TBD | 1.14 | TBD | TBD | 1924 | TBD | TBD | TBD | 10 | 3950000 | 3950000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
69 | Tomlinson PSD | Hancock | Acquisition of Newell Water System | The proposed project will replace the majority of the existing water lines, valves and hydrants in the community of Newell and construct a new 800-gpm ground water treatment plant. | TBD | 41.62 | 41.95 | TBD | 1.26 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 2012 | TBD | TBD | TBD | 15 | 6500000 | 12500000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
70 | Elizabeth, Town of | Wirt | Rt. 14 Water Line Improvements Ph II | This project will consist of water line replacement along Rt. 14. | TBD | 33.01 | 55.2 | TBD | 2.09 | Yes | 0.5%, Admin. Waived, 40 yrs., Principal Forgiveness | 2072 | TBD | TBD | TBD | 30 | 1000000 | 2000000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
71 | Mountain Top PSD | Grant | Water Meter System Upgrades | This project will purchase and install a complete radio read meter system throughout the district to increase system efficiency and accountability. | TBD | 40.72 | 35.8 | TBD | 1.1 | TBD | TBD | 2072 | TBD | TBD | TBD | 10 | 600000 | 600000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
72 | Harpers Ferry Water Works | Jefferson | Water System Improvements | This project will upgrade the water distribution system in the Harpers Ferry Water Works service area using PSC approved plans not implemented in 2021 due to cost overruns. | TBD | 68.45 | 50.9 | TBD | 0.93 | No | 2.5%, 0.25% Admin, 20 years | 2122 | TBD | TBD | TBD | 5 | TBD | 9635200 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
73 | Greater Harrison Co PSD | Harrison | Water System Improvements PH II | This project will upgrade multiple sections of the entire water systems including replacement in McWorter, upsizing lines in Quiet Dell and Brushy Fork. The project also will extend public water service to residents on Hastings Run Rd. and Duck Creek Rd. Replacement of two existing water storage tanks is also included in the project scope. | TBD | 45.82 | 39 | TBD | 1.06 | TBD | TBD | 2159 | TBD | TBD | TBD | 10 | 4000000 | 7185000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
74 | Harrisville, Town of | Ritchie | Mellin Ridge Water Line Extension | This project will extend public water service west from the Washburn Pump Station along Gillespie Run Road and Mellin Ridge Road. The proposed extension will provide potable water service to approximately 60 new customers. The extension will consist of the installation of approximately 52,300 linear feet (LF) of new water pipe ranging in size from six (6) inches to two (2) inches in diameter. The existing Washburn pump station will also be upgraded with new pumps. a SCADA system. and other equipment to support the increased water distribution demand due to this project. | TBD | 42.6 | 35.56 | TBD | 1.04 | TBD | TBD | 2246 | TBD | TBD | TBD | 10 | 2200000 | 3200000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
75 | Mountain View Water Assoc. | Taylor | Water System Improvements | Project includes 16,000lf of water line extension, 55,100lf of failing water line replacement, a new booster pump station, and repair of an existing PRV. | TBD | 45.8 | 40.36 | TBD | 1.1 | TBD | TBD | 2263 | TBD | TBD | TBD | 10 | 6700000 | 6700000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
76 | Century Volga PSD | Barbour | Water System Improvements | Project includes replacing the liquid level indicator at 2 storage tanks, construction of one new 1,000 gallon storage tank, repair or replacment of two PRV stations and replacing approx. 1000 water meters. | TBD | 38.61 | 55.01 | TBD | 1.78 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 2492 | TBD | TBD | TBD | 25 | 1700000 | 2000000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
77 | Northern Jackson County PSD | Jackson | Sarvis Fork Extension | This project will provide public water service and fire protection to approx. 15 homes in the Sarvis Fork area. Project includes approx. 18,880 lf of 6 through 2 inch water line. | TBD | 33.35 | 39.72 | TBD | 1.49 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 2506 | TBD | TBD | TBD | 15 | 1575000 | 1575000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
78 | Sun Valley PSD | Harrison | Cherry Camp Extension to Rt 23 | This project proposes to extend public water service along State Routes 50/5, 50/4 and 50/43 to provide a water source to Doddridge county PSD. Sun Valley PSD will pick up approx. 65 new customers on the extension and would allow Doddridge county PSD to serve additional residents along Route 23. | TBD | 45.82 | 54.65 | TBD | 1.5 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 2657 | TBD | TBD | TBD | 20 | 4000000 | 8500000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
79 | Short Line PSD | Harrison | Water System Improvements | This project proposes to replace approximately 50,000 LF of water line ranging in size for 4" to 8" in the existing system. These sections of line have been prone to breaks and is causing severe operation and maintenance issues for the District. The District is also proposing to replace sections of valves, hydrants and upgrade their outdated meters to new radio read meters. The District is proposing to replace their existing booster pump station that has severely deteriorated and is at risk of catastrophic failure. | TBD | 45.82 | 40.8 | TBD | 1.11 | TBD | TBD | 2681 | TBD | TBD | TBD | 10 | 3000000 | 4950000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
80 | Branchland-Midkiff PSD | Lincoln | 14 Mile Creek Rd. Water Extension Project | Project will extend water service to 26 customers in the 14 Mile Creek Rd. area of Lincoln County. Project includes water lines, booster station and tank. Project would also establish an interconnection with the Logan County PSD. | TBD | 37.29 | 54.13 | 54.13 | 1.81 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 3278 | TBD | TBD | TBD | 25 | 2000000 | 2500000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
81 | Branchland-Midkiff PSD | Lincoln | Six Mile Creek Water Extension Project | Project will extend water service to 47 customers in the Six Mile Creek Rd. area of Lincoln County. Project includes water lines, booster station and tank. | TBD | 37.29 | 54.13 | 54.13 | 1.81 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 3278 | TBD | TBD | TBD | 25 | 2000000 | 3000000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
82 | Branchland-Midkiff PSD | Lincoln | Two Mile Creek Water Extension Project | Project will extend water service to 61 customers in the Two Mile Creek Rd. and Little Lural Creek areas of Lincoln County. Project includes water lines, booster station and tank. | TBD | 37.29 | 54.13 | 54.13 | 1.81 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 3278 | TBD | TBD | TBD | 25 | 2800000 | 3800000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
83 | Branchland-Midkiff PSD | Lincoln | Trace Fork and Hamlin Water Extension Project | Project will extend water service to 61 customers in the Trace Fork and the area between W. Hamlin and 4 Mile Creek. Project includes water lines and a booster station. Project will also eliminate a failing river crossing. | TBD | 37.29 | 54.13 | 54.13 | 1.81 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 3278 | TBD | TBD | TBD | 25 | 2400000 | 3400000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
84 | Crum PSD | Wayne | Crum WTP Project | This project will construct an new WTP to serve Crum PSD's 1,345 customers and possibly provide water to the Town of Kermit (524 customers) and the Town of Fort Gay (625 customers). This is a possible consolidation project. | TBD | 37.83 | 57.65 | TBD | 1.9 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 3437 | TBD | TBD | TBD | 25 | 8730000 | 8730000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
85 | Marshall Co PSD No. 1 | Marshall | Water System Upgrade Project Ph I | This project will replace water lines, upgrade a booster station, and replace all water meters in the district. This project will upgrade water service to 45 customers from Fort Clark Dr. to Oakwood Dr. in Marshall County. | TBD | 47.06 | 27.23 | TBD | 0.72 | TBD | TBD | 3463 | TBD | TBD | TBD | 5 | 4000000 | 5050000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
86 | Buffalo Creek PSD | Logan | Larado WTP Upgrade Project | Plant upgrade project to replace worn components, construct backwash basin, sludge handling, and convert backwash tank to clearwell. | TBD | 38.29 | 29.55 | TBD | 0.96 | TBD | TBD | 3464 | TBD | TBD | TBD | 5 | 3000000 | 3000000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
87 | Buffalo Creek PSD | Logan | South Man Water Upgrade Project | Project will replace distribution system in South Man, increase size of the connect between the PSD and former Town of Man and replace deteriorated water lines in two other locations. | TBD | 38.29 | 29.55 | TBD | 0.96 | TBD | TBD | 3464 | TBD | TBD | TBD | 5 | 3000000 | 4200000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
88 | Logan, City of | Logan | WTP Improvements | This project consists of miscellaneous improvements to the existing City of Logan WTP. | TBD | 30.95 | 22.33 | TBD | 0.9 | TBD | TBD | 3788 | TBD | TBD | TBD | 5 | 5000000 | 6100000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
89 | Lashmeet PSD (WVAWC) | Mercer | Brickyard Road Waterline Extension | This project will construct a water line extension into the Mercer Co. areas of Brickyard Rd. and a portion of Old Gardner Rd. in order to provide public water service and fire protection to the residents in these areas. This extension will allow for a future water line extension into the Rock Branch area. | 2022W-2111 | 37.7 | 0 | 51.14 | 1.7 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 3794 | TBD | TBD | TBD | TBD | 3973406 | 6978000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
90 | Lincoln PSD | Lincoln | Water System Upgrades | This project consists of removing and replacing approx. 35,000 lf of various sized existing lead jointed and transite water line throughout the water distribution system, preforming upgrades to the raw water intake and rehabilitation of two existing water storage tanks. | TBD | 37.29 | 44.49 | TBD | 1.5 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 3814 | TBD | TBD | TBD | 20 | 4500000 | 6000000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
91 | White Sulphur Springs, City of | Greenbrier | Mapledale Water Storage Tank | Project consists of upgrades to the existing booster station and construction of a new water storage tank and water line to improve water quality in the Town's distribution system. | TBD | 31.63 | 33.63 | TBD | 1.33 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 3845 | TBD | TBD | TBD | 10 | 1100000 | 1100000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
92 | White Sulphur Springs, City of | Greenbrier | Waterline Replacement Project | Project will replace old and deteriorated water lines in the cities water distribution system to alleviate leaks and water loss. | TBD | 31.63 | 33.63 | TBD | 1.33 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 3845 | TBD | TBD | TBD | 10 | 3000000 | 3000000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
93 | White Sulphur Springs, City of | Greenbrier | Water System Interconnection Project | Project will construct water lines, pump station and storage tank to allow for an emergency interconnection between White Sulphur Springs and Lewisburg. | TBD | 31.63 | 33.63 | TBD | 1.33 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 3845 | TBD | TBD | TBD | 10 | 3000000 | 3000000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
94 | White Sulphur Springs, City of | Greenbrier | WTP Improvements | Project consisting of upgrades to the existing water treatment plant to increase capacity and reduce run time. | TBD | 31.63 | 33.63 | TBD | 1.33 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 3845 | TBD | TBD | TBD | 10 | 3000000 | 3000000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
95 | Valley Falls PSD | Marion | Water System Replacements | This project includes replacement of approx. 91,000 lf of failing water line throughout the Valley Falls PSD's system. | TBD | 44.96 | 47.28 | TBD | 1.31 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 3991 | TBD | TBD | TBD | 15 | 8600000 | 8600000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
96 | Marshall Co PSD No. 4 | Marshall | Water System Upgrades | This project includes replacement of undersized water lines, booster pump station upgrades, valve replacements, upgrades to PRVS and various other system improvements. | TBD | 47.06 | 46.64 | TBD | 1.24 | TBD | TBD | 4063 | TBD | TBD | TBD | 10 | 3200000 | 3200000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
97 | Marshall County PSD No.3 | Marshall | Water System Improvements | This project includes removal and replacement of water lines in various areas of the system, rehabilitation of water storage tanks, water meter replacement, and installation of a new fixed point meter reading system. | TBD | 47.06 | 46.64 | TBD | 1.24 | TBD | TBD | 4063 | TBD | TBD | TBD | 10 | 2000000 | 2500000 | DWSRF Base Program/Supplement al Funding | Requesting earmark | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
98 | Hughes River Water Board | Ritchie | WTP Upgrades | This project will replace the sand filter media, filter air piping, raw water pumps and electrical check valves. The project will also rehabilitate the intake wet well, install SCADA and add VFDs for the high service pumps. | TBD | 39.2 | TBD | TBD | TBD | TBD | TBD | 4278 | TBD | TBD | TBD | TBD | 1100000 | 2200000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
99 | Spencer, City of | Roane | Water System Improvements | Project includes installation of approx. 1,800 lf of 8" water line, repainting two storage tanks, and modifications to the raw water pumping stations. | TBD | 23.39 | 44.92 | TBD | 2.4 | Yes | 0.5%, Admin. Waived, 40 yrs., Principal Forgiveness | 4393 | TBD | TBD | TBD | 30 | 1000000 | 1970000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
100 | New Haven PSD | Fayette | Lucas Road Extension | This project will extend public water service to approx. 33 customers along Lucas Rd. in northern Fayette county. The project will install 17,000 lf of 8" line and 11,000 lf of 6" line, 28 fire hydrants and all valves, meters, blowoffs and other appurtenances necessary. | TBD | 37.81 | 57.94 | 57.94 | 1.81 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 4409 | TBD | TBD | TBD | 25 | 1750000 | 3491000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
101 | New Haven PSD | Fayette | Old Gwinn Rd. Extension | This project will extend public water service to approx. 16 customers along Old Gwinn Rd. in northern Fayette county. The project will install 12,000 lf of 6" line, 8 fire hydrants and all valves, meters, blowoffs and other appurtenances necessary. | TBD | 37.81 | 57.94 | 57.94 | 1.81 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 4409 | TBD | TBD | TBD | 25 | 1500000 | 3283000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
102 | New Haven PSD | Fayette | Whispering Pines Extension | This project will extend public water service to approx. 6 customers along Whispering Pines Lane in northern Fayette county. The project will install 5,700 lf of 6" line, 5 fire hydrants and all valves, meters, blowoffs and other appurtenances necessary. | TBD | 37.81 | 57.94 | 57.94 | 1.81 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 4409 | TBD | TBD | TBD | 25 | 500000 | 750000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
103 | New Haven PSD | Fayette | White Road Extension | This project will extend public water service to approx. 62 customers along White Rd. in northern Fayette county. The project will install 22,000 lf of 8" line, 22,000 lf of 6" line, 22 fire hydrants and all valves, meters, blowoffs and other appurtenances necessary. | TBD | 37.81 | 57.94 | 57.94 | 1.81 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 4409 | TBD | TBD | TBD | 25 | 3500000 | 4952000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
104 | Wilderness PSD | Nicholas | Water System Improvements Phase II | Project includes water line replacements, cleaning and painting of water storage tanks, booster station upgrades, telemetry replacement and WTP improvements. | 2021W-1995 | 40.8 | 42.38 | TBD | 1.3 | Yes | 1%, 0.25% Admin, 30 years, Principal | 4475 | TBD | TBD | TBD | 10 | 4369000 | 4369000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
105 | Logan County PSD | Logan | Greenville WTP Upgrade Project | This project will upgrade the WTP to increase capacity from 700 gpm to 1,400 gpm and replace several worn components. Project also includes a 600,000 storage tank. | TBD | 38.29 | 41.05 | TBD | 1.34 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 4562 | TBD | TBD | TBD | 15 | 4000000 | 5700000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
106 | Huttonsville PSD | Randolph | Meter Replacement | This project will replace 1,000 water meters throughout the system. | TBD | 30.78 | 49.6 | TBD | 2.01 | Yes | 0.5%, Admin. Waived, 40 yrs., Principal Forgiveness | 4863 | TBD | TBD | TBD | 30 | 300000 | 300000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
107 | Keyser, City of | Mineral | WTP and Water System Improvements | This project proposes to construct a new WTP or upgrade the current WTP in the City of Keyser. The City has recently seen Cryptosporidium violations that will require upgrades to the WTP. The project will also make improvements to the Old Orchard pump station and install telemetry pump stations and tank sites. | TBD | 25.47 | 29.13 | TBD | 1.43 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 5202 | TBD | TBD | TBD | 15 | 2000000 | 10000000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
108 | Wayne, Town of | Wayne | Big Lynn Creek Water Extension Project | Water extension project to serve approx. 120 customers in the Big Lynn and Little Lynn Creek areas of Wayne county. Project would require a 100 gpm booster pump station and 140,000 gallon water storage tank. | TBD | 18.29 | 33.86 | TBD | 2.31 | Yes | 0.5%, Admin. Waived, 40 yrs., Principal Forgiveness | 5265 | TBD | TBD | TBD | 30 | 4500000 | 4500000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
109 | Red Sulphur PSD | Monroe | Water Line Replacement Project | The project consists of the replacement of approximately 13,400 linear feet (1.f.) of lead joint cast iron pipe installed in the 1930s. The project is expected to increase water accountability by replacing water line that has exceeded it useful life and is known to be a contributor of water loss in the RSPSD water distribution system. | TBD | 34.46 | 30.69 | TBD | 1 | TBD | TBD | 5352 | TBD | TBD | TBD | 10 | 4975300 | 4975300 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
110 | Milton, City of | Cabell | WTP Disinfection System Upgrade | This project includes design and construction of an ultraviolet disinfection system at the water treatment plant to address cryptosporidium. | TBD | 36.98 | 33.1 | TBD | 1.12 | TBD | TBD | 5520 | TBD | TBD | TBD | 10 | 500000 | 500000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
111 | Milton, City of | Cabell | WTP Upgrades | Improvements to the WTP including a new presedimentation basin, new pressure filters, sludge handling upgrades and upgrades to the electrical system. | TBD | 36.98 | 33.1 | TBD | 1.12 | TBD | TBD | 5520 | TBD | TBD | TBD | 10 | 5000000 | 7800000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
112 | Mingo County PSD | Wyoming | Rockhouse Branch-Western Wyoming Ph 5 | Water extension project to serve approx. 63 residences and businesses in the Rockhouse Branch/Lincoln area of western Wyoming County. Project would be supplied by the 150 gpm booster pump station and 400,000 gallon water storage tank constructed as part of the Hanover Ph 1 project. | TBD | 35.14 | 42.4 | TBD | 1.51 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 6324 | TBD | TBD | TBD | 20 | 3000000 | 3000000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
113 | Mingo County PSD | Wyoming | Ikes Fork-Western Wyoming Ph 4 Project | This project will extend public water service to approx. 192 residences and businesses in the Ikes Fork/Muzzle Creek area of western Wyoming County. Project will utilize 80 gpm booster pump station and 100,000 gallon water storage tank constructed as part of the Hanover Ph 1 project. | TBD | 35.14 | 42.4 | TBD | 1.51 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 6324 | TBD | TBD | TBD | 20 | 5300000 | 5300000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
114 | Mingo County PSD | Wyoming | North Spring-Western Wyoming Ph 3 | Water extension project to serve approx. 102 residences and businesses in the North Spring/Little Cub branch area of western Wyoming County. Project would be supplied by the 150 gpm booster pump station and 400,000 gallon water storage tank constructed as part of the Hanover Ph 1 project. | TBD | 35.14 | 42.4 | TBD | 1.51 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 6324 | TBD | TBD | TBD | 20 | 4100000 | 4100000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
115 | Mingo County PSD | Wyoming | Hanover-Western Wyoming Ph 1 | Water extension project to serve approx. 214 residences and businesses, the Huff Consolidated Middle School and the US Army Corps facility western Wyoming County. Project would require a 150 gpm booster pump station and 400,000 gallon water storage tank. | TBD | 35.14 | 42.4 | TBD | 1.51 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 6324 | TBD | TBD | TBD | 20 | 6800000 | 7800000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
116 | Mingo County PSD | Wyoming | Little Huff Creek-Western Wyoming Ph 2 | Water extension project to serve approx. 223 residences and businesses in the Little Huff Creek area of western Wyoming County. Project would be supplied by the 150 gpm booster pump station and 400,000 gallon water storage tank constructed as part of the Hanover Ph 1 project. | TBD | 35.14 | 42.4 | TBD | 1.51 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 6324 | TBD | TBD | TBD | 20 | 5500000 | 5500000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
117 | Grafton, City of | Taylor | Water System Improvements | This project will replace aging and failing water lines throughout the City. The project also proposes to replace the existing underground water storage tank with an above ground water storage tank. | TBD | 36.29 | 25.77 | TBD | 0.89 | TBD | TBD | 6577 | TBD | TBD | TBD | 5 | 2000000 | 4000000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
118 | Kingwood Water Works | Preston | Ph II Water System Improvements | Line replacement /upgrades and improvements to the distribution system as well as various upgrades to the WTP such as raw water intake improvements and clarifier modifications. | 2022W-2078 | 46.76 | 40.7 | TBD | 1.09 | TBD | TBD | 6656 | TBD | TBD | TBD | TBD | 4600000 | 4600000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
119 | Kingwood Water Works | Preston | Vista View Water Line Extension | Water line extension project to serve the Vista View Community along CR 52 and CR 52/3. This project includes approx. 7 miles of 6 through 2 inchwater lines, one booster station, two pressure reducing stations, and associated appurtunances. | TBD | 46.76 | 40.7 | TBD | 1.09 | TBD | TBD | 6656 | TBD | TBD | TBD | 10 | 4300000 | 4300000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
120 | Frankfort PSD | Mineral | Water System Rehabilitation Project | This project consists of various rehabilitations to the water system. | TBD | 33.11 | 38.24 | TBD | 1.44 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 6747 | TBD | TBD | TBD | 10 | 466690 | 736000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
121 | Raleigh County PSD | Raleigh | Storage and Distribution Upgrade | This project includes approx. 6 miles of various size water line replacement, approx. 4 miles of various size new water line installation, repainting 6 water storage tanks, replacing 2 existing water storage tanks and appurtenances. | TBD | 42.74 | 33.08 | TBD | 0.97 | TBD | TBD | 7180 | TBD | TBD | TBD | 5 | 11000000 | 11000000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
122 | Preston County PSD No. 4 | Preston | WTP Expansion | This project will add an additional 1.5 MGD of capacity to the exisitng WTP, drill and develop additional raw water source wells, and add storage tanks. | TBD | 46.94 | 29.24 | TBD | 0.78 | TBD | TBD | 8721 | TBD | TBD | TBD | 5 | 10000000 | 15000000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
123 | Logan County PSD | Logan | Justice Addition-Mitchell Heights Water Project | This project will extend water service to approx. 380 customers in the communities of Justice Addition and Mitchell Heights in Logan County. Project includes water lines and a booster station. | TBD | 38.29 | 41.05 | TBD | 1.34 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 16949 | TBD | TBD | TBD | 15 | 3000000 | 4000000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
124 | Logan County PSD | Logan | Big Ugly Water Project-PH 1 | This project will extend public water service to approx. 65 customers in the Big Ugly Rd. and Ridgeview areas in Boone and Logan counties. Project will include water lines, 2 booster stations and 2 storage tanks. | TBD | 38.29 | 41.05 | TBD | 1.34 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 16949 | TBD | TBD | TBD | 15 | 2500000 | 3300000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
125 | Logan County PSD | Logan | Island Creek Water Project | This project will extend public water service to approx. 1,090 customers in multiple communities along Island Creek in Logan County. Project will include water lines, hydrants, valves, and other necessary appurtenances. | TBD | 38.29 | 41.05 | TBD | 1.34 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 16949 | TBD | TBD | TBD | 15 | 14000000 | 17500000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
126 | Logan County PSD | Logan | Stollings/McConnell Water Project | This project will extend public water service to approx. 135 customers in the communities of Stollings and McConnell in Logan County. The project includes water lines and a booster station. | TBD | 38.29 | 41.05 | TBD | 1.34 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 16949 | TBD | TBD | TBD | 15 | 2000000 | 3400000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
127 | Logan County PSD | Logan | Northern Regional WTP Upgrade Project | This project will upgrade the WTP to increase capacity from 2,800 gpm to 5,600 gpm and replace several worn components. Project also includes a 800,000 storage tank. | 2021W-2056 | 38.29 | 41.05 | TBD | 1.34 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 16949 | TBD | TBD | TBD | 15 | 7000000 | 8700000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
128 | Clarksburg Water Board | Harrison | Main Line Replacement | Project to replace selected water mains throughout the distribution system. | 2021W-2054 | 38.58 | 26.28 | TBD | TBD | Yes | TBD | 17686 | TBD | TBD | TBD | 5 | 24120000 | 24120000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
129 | Boone County PSD | Boone | Rock Creek Water Line Ext. Phase I | This project will extend water service to the Rock Creek Development Park site and surrounding areas. The project will consist of the installation of approximately 14,500 LF of 8" water line, one (1) booster station and a 250,000-gallon water storage tank with mixing and telemetry. | 2020W-1868 | 41.62 | 57.94 | 57.94 | 1.74 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 20000 | TBD | TBD | 0 | TBD | 600000 | 3400000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
130 | Berkeley County PSD | Berkeley | River WTP Expansion | This project will expand capcaity at the WTP from 6 MGD to 10 MGD. The plant is quickly appraching the capacity of the current WTP. | TBD | 57.54 | 33.29 | TBD | 0.72 | No | 2.5%, 0.25% Admin, 30 years | 27335 | TBD | TBD | TBD | 5 | 20000000 | 20000000 | DWSRF Base Program/Supplement al Funding | Requesting earmark | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
131 | Berkeley County PSD | Berkeley | Pikeside Water Main Replacement | This project will replace approx. 20,000 lf of water mains. The water mains are undersized and in poor condidition. | TBD | 57.54 | 33.29 | TBD | 0.72 | No | 2.5%, 0.25% Admin, 30 years | 27335 | TBD | TBD | TBD | 5 | 7500000 | 7500000 | DWSRF Base Program/Supplement al Funding | Requesting earmark | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
132 | Berkeley County PSD | Berkeley | Bunker Hill WTP | This project will construct a new WTP with an increased capacity. The District is experiencing significant growth and many of the facilities are undersized, antiquated and unable to support the continued growth in the area. | TBD | 57.54 | 33.29 | TBD | 0.72 | No | 2.5%, 0.25% Admin, 30 years | 34586 | TBD | TBD | TBD | 5 | 35000000 | 35000000 | DWSRF Base Program/Supplement al Funding | Requesting earmark | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
133 | Berkeley County PSD | Berkeley | Bunker Hill Water Main Replacement | This project will upsize and replace water mains in the immediate area of the new Bunker Hill WTP. The District is experiencing significant growth and many of the facilities are undersized, antiquated and unable to support the continued growth in the area. | TBD | 57.54 | 33.29 | TBD | 0.72 | No | 2.5%, 0.25% Admin, 30 years | 34586 | TBD | TBD | TBD | 5 | 3500000 | 3500000 | DWSRF Base Program/Supplement al Funding | Requesting earmark | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
134 | Berkeley County PSD | Berkeley | Industrial Zone Storage Upgrades | This project will construct an new storage tanks and water mains in the industrial zone area. The District is providing water service to many industrial and commercial companies with little to no redundancy in the storage tanks or water mains. | TBD | 57.54 | 33.29 | TBD | 0.72 | No | 2.5%, 0.25% Admin, 30 years | 34586 | TBD | TBD | TBD | 5 | 9500000 | 9500000 | DWSRF Base Program/Supplement al Funding | Requesting earmark | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
135 | Mercer County PSD | Mercer | Pocahontas Water Line Replacement | Project includes replacement and upgrade of existing water lines to significantly reduce water loss and allow for the installation of fire hydrants in the area. | TBD | 37.7 | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | TBD | 4059500 | 8119000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
136 | McDowell County PSD | McDowell | Elkhorn Ph IV | This is the final phase of the Elkhorn Creek water projects. This water project will provide public water service to approx. 375 customers from Keystone to Welch and remove antiquated and unreliable water systems along the route. | TBD | 28.83 | 53.72 | TBD | 2.33 | Yes | 0.5%, Admin. Waived, 30 yrs., Principal Forgiveness | TBD | TBD | TBD | TBD | 30 | 5610000 | 5610000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
137 | McDowell County PSD | McDowell | Jolo Ph V | This is the final phase of the Jolo water projects providing water service from the Town of Bradshaw the Virginia state line. This water project will provide public water service to 119 potential customers throughout four areas known as Rockridge, Panther Creek, Barker Ridge and Lex. | TBD | 28.83 | TBD | 53.72 | 2.33 | Yes | 0.5%, Admin. Waived, 30 yrs., Principal Forgiveness | TBD | TBD | TBD | TBD | 30 | 4253000 | 4253000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
138 | McDowell County PSD | McDowell | Anawalt Water System Upgrade | This project will replace antiquated and problematic water storage and distribution systems throughout the communities of Anawalt, Leckie, and Jenkinjones. The project will provide public water service to approx. 423 customers. | TBD | 28.83 | TBD | 53.72 | 2.33 | Yes | 0.5%, Admin. Waived, 30 yrs., Principal Forgiveness | TBD | TBD | TBD | TBD | 30 | 11640000 | 11640000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
139 | McDowell County PSD | McDowell | Bridge St. Stream Crossing Project | Proposed project to replace problematic water line stream crossing to provide reliable water and fire protection service to three residential and one commercial customer in the community of Keystone. | TBD | 28.83 | TBD | 53.72 | 2.33 | Yes | 0.5%, Admin. Waived, 30 yrs., Principal | TBD | TBD | TBD | TBD | 30 | 255000 | 255000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
140 | Triadelphia, Town of | Ohio | Water System Improvements | This project will include various improvemtns to the WTP and the distribution sysytem. | TBD | 30.27 | 45.69 | TBD | 1.88 | Yes | 1%, 0.25% Admin, 30 years, Principal | 1215 | TBD | TBD | TBD | 25 | 4010000 | 4510000 | DWSRF Base Program/Supplement al Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
NA
NA
1 | Parkersburg Utility Board | Wood | WTP PFAS Upgrades | This project will upgrade the water treatment plant to remove PFAS from the source | TBD | 33.21 | 33.26 | TBD | 1.21 | Yes | 1%, 0.25% Admin, 30 years, Principal Forgiveness | 38189 | TBD | TBD | TBD | 10 | 12000000 | 12000000 | DWSRF Emerging Contaminant Funding | Project will be funded. | N/A | 0 |  |  |  |  | 7403900 |  |  | 7403900
2 | Glen Dale, City of | Marshall | PFAS Filtration Upgrade | Project includes installation of granulated activated carbon filtration with all necessary piping and equipment. | TBD | 54.44 | 28.8 | TBD | 0.66 | No | TBD | 2495 | TBD | TBD | TBD | 5 | 2500000 | 2500000 | DWSRF Emerging Contaminant Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
NA
NA
1 | Clarksburg Water Board | Harrison | Lead Service Line Replacement | Project to replace lead service lines throughout the distribution system. | 2021W-2054 | 38.58 | 26.28 | TBD | TBD | Yes | 0%, Admin. Waived, 30 yrs., Principal Forgiveness | 17686 | 75 | 50 | 20 | 5 | 27025000 | 27025000 | Lead Service Line Replacement Funding | Project will be funded. | N/A | 0 | [5 empty] | 20757017 | 10276500 | 20757017
2 | Davy, Town of | McDowell | Lead Service Line Inventory | The project consists of the development of a lead service line inventory and GIS compatible surveying and mapping. | TBD | 24.65 | 40.8 | 40.8 | 2.07 | Yes | Principal Forgiveness | 552 | 70 | 30 | 10 | 30 | 500000 | 500000 | Lead Service Line Replacement Funding | Project will be funded. | N/A | 0 | [5 empty] | 500000 | 500000 | 500000
3 | Richwood, City of | Nicholas | Lead Service Line Inventory | The project includes the engineering services necessary to conduct an inventory of lead services and prepare engineering plans for the removal of lead service lines and joints in the City's water distribution system. | TBD | 28.37 | 45.47 | TBD | 2 | Yes | Principal Forgiveness | 1095 | 70 | 30 | 10 | 30 | 500000 | 500000 | Lead Service Line Replacement Funding | Project will be funded. | N/A | 0 | [5 empty] | 500000 | 500000 | 500000
4 | Alderson, Town of | Greenbrier | Lead Service Line Replacement | Replace lead service lines throughout the distribution system. | 2019W-1833 | 25.68 | 38.58 | 58.49 | 2.85 | Yes | Principal Forgiveness | 2458 | 70 | 30 | 10 | 30 | 615000 | 615000 | Lead Service Line Replacement Funding | Project will be funded. | N/A | 0 | [5 empty] | 615000 | 615000 | 615000
5 | Pineville Municipal Waterworks | Wyoming | Lead Service Line Inventory | The project includes the engineering services necessary to conduct an inventory of lead services and prepare engineering plans for the removal of lead service lines in the systems water distribution system, | TBD | 35.14 | 45 | 63.46 | 2.26 | Yes | Principal Forgiveness | 2945 | 70 | 30 | 10 | 30 | 250000 | 250000 | Lead Service Line Replacement Funding | Project will be funded. | N/A | 0 | [5 empty] | 250000 | 250000 | 250000
6 | Rainelle, Town of | Greenbrier | Lead Service Line Inventory | The project consists of the development of a lead service line inventory and GIS compatible surveying and mapping. | TBD | 26.04 | 29.75 | TBD | 1.43 | Yes | Principal Forgiveness | 1381 | 55 | 30 | 10 | 15 | 500000 | 500000 | Lead Service Line Replacement Funding | Project will be funded. | N/A | 0 | [5 empty] | 500000 | 500000 | 500000
7 | Gary, City of | McDowell | Lead Service Line Inventory | This project includes the engineering services necessary to conduct an inventory of lead services and prepare engineering plans for the removal of lead service lines in the City's distribution system. | TBD | 32.98 | 33.15 | 33.15 | 1.26 | Yes | Principal Forgiveness | 1633 | 55 | 30 | 10 | 15 | 500000 | 500000 | Lead Service Line Replacement Funding | Project will be funded. | N/A | 0 | [5 empty] | 500000 | 500000 | 500000
8 | Oakland PSD | Hancock | Lead Service Line Replacement | This project includes development of a lead service line inventory and replacing lead service lines throughout the distribution system. | TBD | 41.62 | 47.02 | TBD | 1.41 | Yes | Principal Forgiveness | 1846 | 55 | 30 | 10 | 15 | TBD | TBD | Lead Service Line Replacement Funding | Project will be funded. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
9 | Welch, City of | McDowell | Lead Service Line Inventory | The project includes the engineering services necessary to conduct an inventory of lead services and prepare engineering plans for the removal of lead service lines and joints in the City's water distribution system. | TBD | 29.28 | 33.55 | TBD | 1.43 | Yes | Principal Forgiveness | 2907 | 55 | 30 | 10 | 15 | 500000 | 500000 | Lead Service Line Replacement Funding | Project will be funded. | N/A | 0 | [5 empty] | 500000 | 500000 | 500000
10 | Mount Hope Water Assoc. | Upshur | Lead Service Line Inventory | Project to determine the service line material used from the meter to the customers structure. | TBD | 42.01 | 40.44 | TBD | 1.2 | No | TBD | 2870 | 50 | 30 | 10 | 10 | 200000 | 200000 | Lead Service Line Replacement Funding | TBD | N/A | 0 | [5 empty] | 200000 |  | 200000
11 | Athens, Town of | Mercer | Lead Service Line Inventory | Project to perform an inventory of lead service line in the system. Included in this inventory will also be a proposed plan for replacement of the lines and modified sampling locations according to what is discovered. | TBD | 34.94 | 28.8 | TBD | 1.03 | TBD | TBD | 4802 | 50 | 30 | 10 | 10 | 25000 | 25000 | Lead Service Line Replacement Funding | TBD | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
12 | Red Sulphur PSD | Monroe | Service Line Replacement Project | The project consists of the development of a lead service line inventory and GIS compatible surveying and mapping and the anticipated replacement of approx. 5,000 lf of lead service line replacement from the main to the home. | TBD | 34.46 | 30.69 | TBD | 1 | TBD | 0%, Admin. Waived, 30 yrs., | 5352 | 50 | 30 | 10 | 10 | 2277600 | 2277600 | Lead Service Line Replacement Funding | Project design has not started and is not ready for construction. | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
13 | Summersville, City of | Nicholas | Lead Service Line Inventory | This project includes the engineering services necessary to conduct an inventory of lead services and prepare engineering plans for the removal of lead service lines in the City's distribution system. | TBD | 36.38 | 30.56 | TBD | 1.05 | No | TBD | 5574 | 50 | 30 | 10 | 10 | 500000 | 500000 | Lead Service Line Replacement Funding | TBD | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
14 | Kingwood Water Works | Preston | Lead Service Line Replacement | Project includes removal and replacement of existing lead service lines in the downtown system. | TBD | 46.76 | 40.7 | TBD | 1.09 | TBD | TBD | 6656 | 50 | 30 | 10 | 10 | 500000 | 500000 | Lead Service Line Replacement Funding | TBD | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
15 | McMechen, City of | Marshall | Lead Service Line Inventory | Project to inventory the service lines throughout the City. Project will identify the lead pipes in order to determine the scope of a replacment project. | TBD | 42.71 | 32.32 | TBD | 0.95 | No | TBD | 2212 | 45 | 30 | 10 | 5 | TBD | TBD | Lead Service Line Replacement Funding | TBD | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA