## 46-Washington_Approved_PPL
Health Applicati on | Water System ID | Final Score | Applicant Name | Project | County | Population | Loan Request Amount | Loan Total w/ 1.0 % loan fee (if applicable) | Subsidy Award | Comments | Project Description
2021-4009 | 28970 | 113 | City of Grandview | Source Well Improvements and Rehabilitation | Yakima | 11010 | 3542900 | 3578329 | 0 | AI=1.0, does not qualify for subsidy. | This project is intended to address the City of Grandview’s source capacity reduction issue. The project includes drilling a new source well on City-owned property. The new source will draw water from the higher yielding Wanapum Basalt Aquifer (WBA) approximately 1,200 feet below grade level. The new source well improvements will include a new wellhouse building, well pump and VFD, chlorine disinfection equipment, all necessary apparatus to make the well functional, and piping to the existing distribution system. The project will also include rehabilitation of at least one of the City's wells in order to increase source capacity.
2021-3979 | 7610 | 85 | Boistfort Valley Water | Boistfort Surface Water Intake and Adna Water Treatment Plant | Lewis | 2389 | 3612972 | 3612972 | 1806486 | AI=3.2, qualifies for 30% principal forgiveness.** | Boistfort's existing Adna surface water treatment plant needs to be relocated out of the floodplain. This project will allow relocation of the treatment plant along with flood-proofing the facility. This treatment plant is vital to have on-line to allow Boistfort to meet maximum daily demands. Boistfort obtained a new surface water right withdrawal location on the Chehalis River to allow full utilization of the Adna surface water treatment plant. This project allows construction of the new intake and transmission main for the new water right withdrawal location
2021-3988 | 47150 | 71 | Liberty Lake Sewer and Water District No. 1 | Eastside Liberty Lake Consolidation Project, Phase 4 | Spokane | 10645 | 1075801 | 1075801 | 537900 | Consolidation project, qualifies for 50% principal forgiveness.* | This project includes replacement of 2,500 LF of deteriorated and undersized water mains in the Eastside Liberty Lake Improvement Club water system and is needed to facilitate the consolidation of Eastside Liberty Lake Improvement Club into the Liberty Lake Water and Sewer District. Some lead joint pipes are expected to be uncovered and will be replaced as part of this project.
2021-3997 | 66400 | 69 | City of Pasco | West Pasco Water Treatment Plant Improvements Phase 2 | Franklin | 77540 | 9656692 | 9753259 | 0 | AI=0.79, does not qualify for subsidy. | This project is intended to add resiliency to the City of Pasco’s West Pasco Water Treatment Plant. It will add a 6 MGD pump station, auxiliary power, modifications to the clearwell to allow for more operational flexibility, and relocation of the infiltration basin.
2021-3977 | 79500 | 68 | Public Utility District No. 1 of Skagit County | Judy Reservoir to Mount Vernon Transmission Line Phase II | Skagit | 82542 | 13000000 | 13130000 | 0 | AI=1.53 does not qualify for subsidy. | The Judy Reservoir is the only permanent water source for the Skagit County PUD #1’s Judy Reservoir system. This project will replace an aging and undersized transmission line 5.3 miles in length from the District's Water Treatment Plant (WTP) at Judy Reservoir to the City of Mount Vernon. Other improvements will also be installed in the open trench including new fiber optic conduit, new distribution lines within the Old Day Creek Road right of way, and a new source meter.
2021-4016 | 97650 | 67 | City of Bainbridge | Ferncliff Water Main Extension Consolidation | Kitsap | 12384 | 800000 | 800000 | 400000 | Consolidation project, qualifies for 50% principal forgiveness.* | This project is intended to facilitate system consolidation between an isolated City-owned water system known as Casey Street and the non-City owned Ferncliff Water Association Group A water system. This will be done through the construction of 2,200 linear feet of 8-inch water main from the City of Bainbridge’s service area to Casey Street and Ferncliff Water Systems.
2021-3998 | AB183 | 65 | Port of Walla Walla | Wallula Dodd Water System Consolidation | Walla Walla | 146 | 2500000 | 2525000 | 0 | AI=0 does not qualify for subsidy. | To support consolidation of the Wallula water service area, the Port needs a more sustainable source of supply. This will be done by drilling a new deep well and rehabilitating an existing shallow well to drinking water standards. The proposed project will also include installing approximately 16,850 linear feet of old 18-inch diameter distribution main connecting the existing reservoir to the distribution system.
2021-3989 | 23581 | 59 | Woodland Heights Maintenance Association | Woodland Heights Pump House and Water Distribution System upgrade | King | 108 | 560072 | 560072 | 280036 | AI=3.93, qualifies for 50% principal forgiveness.* | The entire system is deteriorated and causing reliability concerns. This loan is intended to revitalize the system by the replacement of the distribution system, pump house rehabilitation, storage tank rehabilitation, and the installation of backup power.
2021-3974 | 86294 | 55 | Pend Oreille Public Utility District | Sunvale Acres Distribution Replacement Project | Pend Oreille | 65 | 591282 | 591282 | 295641 | AI=3.53, qualifies for 50% principal forgiveness.* | This proposed project includes replacement of 4,620 LF of deteriorating and undersized distribution mains.
2021-3982 | 68900 | 55 | City of Port Orchard | Well 11 Development, Treatment, and Booster Pump Station | Kitsap | 2760 | 8000000 | 8080000 | 0 | AI=1.14 does not qualify for subsidy. | The project is intended to help with source reliability and includes bringing an existing drilled well up to drinking water standards. This includes construction of a pump house, booster pumps, chlorination, potential fluoridation, and any other treatment needed to meet drinking water quality standards. An estimated 500,000-gallon storage tank will be required to make an expected well production rate of 750 gpm functional for the utility.
2021-4017 | 66578 | 53 | City of Bainbridge | Reservoir 1 and 2 Seismic Upgrades | Kitsap | 12074 | 6763665 | 6831302 | 0 | AI=1.63 does not qualify for subsidy. | There are two reservoirs that act as the primary supply for the City’s water system and are critical for domestic water supply. A recent study indicated that both reservoirs are seismically deficient. This project will help the system be more resilient by replacing one reservoir and retrofitting the second with seismic upgrades. This project is partially funded by the Public Works Board.
2021-4008 | 95123 | 50 | Western Ranchettes | Western Ranchettes system repairs | Pierce | 250 | 1745267 | 1762720 | 0 | AI=0.78 does not qualify for subsidy. | This proposed project includes replacement of roughly 8,500 LF of deteriorating and undersized distribution mains within the entire Western Ranchettes distribution system.
2021-3984 | 94350 | 48 | City of Wenatchee | 2020 AC Main Replacement on 8th & 7th, Chelan Ave and 1st Street | Chelan | 27286 | 1317150 | 1330321 | 0 | AI=0.68 does not qualify for subsidy. | This proposed project includes replacement of roughly 3,000 LF of deteriorating and undersized asbestos distribution mains. Construction will include a full overlay of the roads for complete restoration.
2021-4001 | 43600 | 45 | Mason County PUD No. 1 | Lake Arrowhead Mainline Replacement | Mason | 330 | 2533340 | 2533340 | 1254129 | AI=3.82, qualifies for 50% principal forgiveness.* | This proposed project includes replacement of 24,000 LF of deteriorating and undersized distribution mains to replace the entire distribution system of the Lake Arrowhead water system.
2021-3983 | 83100 | 41 | City of Spokane | Thorpe Reservoir #2 | Spokane | 227509 | 7750000 | 7827500 | 0 | AI=1.23, project does not qualify for principal forgiveness. | This project is intended to provide redundancy in the Low-Pressure Zone and the SIA Pressure Zone. It includes the construction of a new 3.5-million-gallon water reservoir adjacent to the existing Thorpe Road tank in southwest Spokane.
2021-3999 | 72620 | 41 | Mason County PUD No. 1 | Ripplewood Mainline Replacement | Mason | 45 | 712820 | 712820 | 356410 | AI=3.68, qualifies for 50% principal forgiveness.* | This proposed project includes replacement of 6,300 LF of deteriorating and undersized distribution mains to replace the entire distribution system of the Ripplewood Tract Water System.
2021-4011 | 92430 | 40 | Port of Walla Walla | Walla Walla Airport Water System Improvements | Walla Walla | 280 | 1980000 | 1999800 | 0 | AI=0.0, project does not qualify for principal forgiveness | This proposed project includes replacement of approximately 10,550 LF of deteriorating and undersized distribution mains focused on the airport terminal and northern area of the water system.
TOTALS | [6 empty] | $68,807,81 5 | 69372686 | 6160371