## Priority List
Rank | Points | Project Title | Project Number | Benefited Population | Problem Description | Project Description | Applicant Name | County | Leg District | Cong District | W/S | PFA | Public/Private | System Size | Disadvantaged | Start Date | End Date | Total Cost ($) | Green Cost ($) | CD Code | Audit | Plan | Green(W) | Design Date | Project Type | Compliance | Requested Funding | PWSID
1 | 102 | CHESAPEAKE HEIGHTS WATER DISTRIBUTION SYSTEM REPLACEMENT | DW0008 | 705 | FREQUENT LEAKS/BREAKS OF 2" GALVANIZED WATER MAIN MAKE SYSTEM SUSCEPTIBLE TO BACKFLOW AND CONTAMINANTS | D/C REPLACEMENT OF 26,939 LF W/4"-8" C-900 PIPE, INC. NEW VALVES AND FIRE HYDRANTS | EMILY MATTHEWS, CALVERT COUNTY BOARD OF COUNTY COMMISSIONERS | Calvert | 27C | 5 | Y | 2 | PUBLIC | Small | 0 | 12/01/2021 | 12/31/2022 | 1100000 | 0 | 1 | Y |  |  | 03/01/2021 | TRANSMISSION/DISTRIBUTION |  | 1000000 | MD0040018
2 | 100 | HANCOCK WATER DISTRIBUTION SYSTEM IMPROVEMENTS, PHASE 1 | DW0027 | 4100 | FAILING WATER DISTRIBUTION MAINS AND UNSERVED ANNEXED PORTION OF TOWN (INC LANCO) ON PRIVATE WELL | D/C REPLACEMENT OF 19,200 LF DISTRIBUTION MAINS/METERS; 3600 LF EXT'N FOR WATER SERVICE TO ANNEXED PORTION OF TOWN | JOSEPH GILBERT, TOWN OF HANCOCK | Washington | 1C | 6 | Y | Y | PUBLIC | Small | 1 | 05/01/2022 | 05/31/2023 | 7630000 | 0 | 1 | Y |  |  | 04/01/2021 | TRANSMISSION/DISTRIBUTION |  | 7610000 | No Information
3 | 95 | CASCADE TOWN CENTER WATER SYSTEM IMPROVEMENTS | DW0028 | 650 | NEGLECTED WATER SYSTEM AT FORMER FORT RITCHIE BASE; INOPERATIONAL WELLS (#4 IS GWUDI) AND PUMPS | D/C UPGRADES TO REPLACE CONTROLS AND PUMPS AT WELL #5 AND #7 TO SUPPLY WATER TO HIGHFIELD/CASCADE/PEN MAR; ABANDON | MARK BRADSHAW, WASHINGTON COUNTY BOARD OF COUNTY COMMISSIONERS | Washington | 2A | 6 | Y | Y | PUBLIC | Small | 1 | 10/01/2021 | 12/31/2021 | 100000 | 0 | 1 | Y | Y |  | 10/01/2020 | SOURCE |  | 75000 | MD0210007
4 | 85 | TOWN OF VIENNA WATER TREATMENT PLANT REPLACEMENT | DW0016 | 600 | AGING WTP AT A DISTANCE FROM TOWN IMPACTS CHLORINATION/FLUORIDATION; CONTROL SYSTEMS CORRODING; IRON EXCEEDANCES | D/C NEW WTP ADJACENT TO EXISTING WATER TOWER W/SCADA AND CONTROL ROOM SEPARATE FROM TREATMENT | CINDY MCFARLANE, COMMISSIONERS OF VIENNA | Dorchester | 37B | 1 | Y | 2 | PUBLIC | Small | 1 | 11/01/2021 | 07/31/2022 | 525174 | 0 | 1 |  |  |  | 05/01/2021 | TREATMENT | Y | 512674 | MD0090008
5 | 82 | EDGEWATER BEACH WATER SYSTEM EXTENSION | DW0003 | 418 | COMMUNITY DEVELOPED ON PRIVATE WELLS AND OSDS; 3 WELLS HAVE ELEVATED NITRATES ABOVE STANDARDS | P/D/C WATER SYSTEM EXTENSION TO CONNECT 167 HOMES TO COUNTY-OWNED PUBLIC WATER SYSTEM | KIMBERLY CLUNEY, ANNE ARUNDEL COUNTY | Anne Arundel | 30B | 4 | Y | 5 | PUBLIC | Small | 0 | 11/01/2022 | 02/28/2024 | 5850902 | 0 | 1 | Y | Y |  | 03/01/2021 | TRANSMISSION/DISTRIBUTION |  | 5850902 | MD0020004
6 | 80 | SNOW HILL PURNELL STREET WATER IMPROVEMENTS | DW0037 | 133 | AGED 4" CAST IRON PIPING CREATES FLOW CONSTRICTIONS, AESTHETIC WATER QUALITY ISSUES, AND HIGH MAINTENANCE | D/C REPLACEMENT OF 2250 LF W/8" PVC LINE, SERVICE CONNECTIONS, AND METER PITS | GARY WEBER, TOWN OF SNOW HILL | Worcester | 28B | 1 | Y | Y | PUBLIC | Small | 1 | 07/01/2022 | 12/31/2022 | 792930 | 0 | 1 | Y | Y |  | 06/01/2021 | TRANSMISSION/DISTRIBUTION |  | 782930 | MD0230007
7 | 80 | MARTINGHAM WELL REPLACEMENT | DW0026 | 783 | AGING SOURCE WATER WELL (WELL #1) OPERATING AT 50% CAPACITY AND HAD DETERIORATED CASING | D/C REPLACEMENT WELL #1 IN AQUIA AQUIFER TO OPERATE IN CONJUNCTION WITH EXISTING WELL #2 | JAY FRENCH, MARTINGHAM UTILITIES COOPERATIVE | Talbot | 37B | 1 | Y | 2 | PRIVATE | Small | 1 | 03/01/2022 | 04/30/2022 | 199000 | 0 | 1 |  |  |  | 07/01/2021 | SOURCE |  | 170100 | MD0200004
8 | 80 | OAKLAND WATER PLANTS REHAB | DW0018 | 2500 | AGING PLANT COMPONENTS, PARTICULARLY AGING/FAILING VALVES AND RAW WATER PUMP STATION | P/D/C INSTALLATION OF REPLACEMENT INFLUENT, FILTER DRAIN, AND RAW WATER VALVES AS WELL AS SYSTEM CONTROLS AT PUMP STATION | GWEN M. EVANS, MAYOR AND TOWN COUNCIL OF OAKLAND | Garrett | 1A | 6 | Y | 2 | PUBLIC | Small | 1 | 10/01/2021 | 07/31/2022 | 365000 | 0 | 1 |  |  |  | 07/01/2021 | TREATMENT |  | 365000 | MD0110008
9 | 75 | MIDLAND/GILMORE RAW WATER STORAGE TANK | DW0001 | 4500 | HIGH HAZARD DAM THAT CREATES RAW DW IMPOUNDMENT BEING REMOVED (SEE CW0089/23) | P/D/C NEW 6 MG CONCRETE TANK AND RAW WATER PUMP STATION INTAKE IN ELK LICK RUN | TYLER RAYNER, TOWN OF LONACONING | Allegany | 1A | 6 | Y | 2 | PUBLIC | Small | 1 | 12/01/2022 | 04/30/2024 | 7935000 | 0 | 1 |  |  |  | 08/01/2021 | SOURCE |  | 7935000 | MD0010018
10 | 72 | BOWIE WATER TREATMENT PLANT FILTER SYSTEM UPGRADE | DW0020 | 25500 | AGING FACILITY, ISSUES, ESP. FILTRATION SYSTEM - MEDIA HEAVILY COATED W/METALS, IMPAIRED FUNCTION OF VALVES/INSTRUMENTS | D/C REPAIR/UPGRADE PORTIONS OF FILTRATION SYSTEM (CONTROLS, VALVES, MEDIA, BACKWASH FLOW METER TRANSMITTER), NEW VENTILATION | SAM KUMAR, CITY OF BOWIE | Prince George's | 23B | 5 | Y | Y | PUBLIC | Large | 0 | 10/01/2022 | 05/31/2024 | 1850000 | 0 | 1 | Y | Y |  | 06/01/2021 | TREATMENT |  | 1850000 | MD0160002
11 | 70 | GREEN MEADOWS WATER COMPANY WATER SYSTEM RESTORATION - DISTRIBUTION | DW0012 | 83 | AGING PRIVATE WATER SYSTEM IN NEED OF UPDATING | D/C REPLACEMENT OF 1320 3" IRON DUCTILE LINE, SIX MAIN SHUTOFF VALVES, 33 VALVES AND METERS AT HOMES | KENNETH BONECK, GREEN MEADOWS WATER COMPANY, INC. | Charles | 28 | 5 | Y | 2 | PRIVATE | Small | 0 | 10/01/2022 | 06/30/2023 | 180500 | 0 | 2 |  |  |  | 12/01/2021 | TRANSMISSION/DISTRIBUTION |  | 167143 | MD0080017
12 | 67 | TANEYTOWN ROBERTS MILL ROAD WATER MAIN REPLACEMENT | DW0011 | 7040 | FREQUENT BREAKS IN AGING 6" IRON AND ASBESTOS CEMENT WATER MAIN LEADING TO WATER LOSS | P/D/C REPLACEMENT OF 1650 LF W/ 8" DUCTILE IRON WATER MAIN AND COPPER LATERALS | JIM WIEPRECHT, CITY OF TANEYTOWN | Carroll | 51 |  | Y | Y | PUBLIC | Small | 0 | 05/01/2022 | 09/30/2022 | 611000 | 0 | 1 | Y | Y |  | 09/01/2021 | TRANSMISSION/DISTRIBUTION |  | 611000 | MD0060012
13 | 67 | BOWIE WATER MAIN RECAPITALIZATION | DW0019 | 25500 | SEVERELY TUBERCULATED WATER MAINS CAUSING DISCOLORED WATER W/HIGH IRON, LOW PRESSURE/WATER FLOW | D/C REPLACEMENT OF 7.5 MILES OF WATER MAIN OVER 10 ANNUAL PHASES OF CONSTRUCTION | PATRICK RUSH, CITY OF BOWIE | Prince George's | 23 | 5 | Y | Y | PUBLIC | Large | 0 | 12/01/2022 | 03/31/2027 | 14906580 | 0 | 1 | Y | Y |  | 02/01/2022 | TRANSMISSION/DISTRIBUTION |  | 7545400 | MD0160002
14 | 65 | SMITHSBURG EAST WATER STREET WATER MAIN UPGRADE | DW0029 | 315 | RESIDENTS EXPERIENCING LOW FLOW AND PRESSURE DUE TO 8" MAIN HAVING BEEN CONNECTED TO 6" MAIN | D/C ONE OF TWO OPTIONS (REPLACE 6" W/8" OR INSTALL NEW 8" ALONG NEW PATH AND LEAVE EXISTING 6" TO LOOP SYSTEM) | DEBRA SMITH, TOWN OF SMITHSBURG | Washington | 2A | 6 | Y | Y | PUBLIC | Small | 0 | 12/01/2021 | 04/30/2022 | 375750 | 0 | 1 | Y |  |  | 07/01/2021 | TRANSMISSION/DISTRIBUTION |  | 368500 | MD0210018
15 | 65 | TOWN OF VIENNA WELLS REPLACEMENT PROJECT | DW0017 | 600 | TASTE, ODOR, AND COLOR PROBLEMS FROM HIGH IRON AND MANGANESE IN RAW WATER (WELLS IN SHALLOW PLEISTOCENE AQUIFER) | D/C TWO NEW WELLS IN ONE OF FOUR DEEPER AQUIFERS (PINEY POINT, FREDERICA, FEDERALSBURG, OR CHESWOLD) | CINDY MCFARLANE, COMMISSIONERS OF VIENNA | Dorchester | 37B | 1 | Y | 2 | PUBLIC | Small | 1 | 09/01/2021 | 12/31/2021 | 1301063 | 0 | 1 |  |  |  | 05/01/2021 | SOURCE | Y | 1288563 | MD0090008
16 | 65 | SECRETARY WATER METER REPLACEMENT PROJECT | DW0015 | 605 | AGING MECHANICAL READ METERS CONTAIN LEAD AND PROVIDE NO LEAK DETECTION AND INACCURATE READINGS | P/D/C INSTALLATION OF REMOTE READ METERS | YVONNE PRITCHETT, SECRETARY TOWN COMMISSIONERS | Dorchester | 37B | 1 | Y | Y | PUBLIC | Small | 1 | 06/01/2022 | 12/31/2022 | 395000 | 395000 | 1 | Y | Y | Y | 09/01/2021 | TRANSMISSION/DISTRIBUTION |  | 395000 | MD0090007
17 | 62 | HERITAGE HARBOR WATER TAKEOVER SYSTEM IMPROVEMENTS PROJECT | DW0004 | 265 | PETITION FROM PRIVATELY-OWNED SYSTEM EXPERIENCING WATER SHORTAGE/PRESSURE LOSS FOR PUBLIC SERVICE | P/D/C 2830 LF 4" PVC MAIN TO CONNECT TO COUNTY-OWNED DW SYSTEM; REPLACE METERS | KIMBERLY CLUNEY, ANNE ARUNDEL COUNTY | Anne Arundel | 30B | 4 | Y | Y | PUBLIC | Large | 0 | 10/01/2021 | 10/31/2022 | 1872662 | 0 | 1 | Y | Y |  | 12/01/2017 | TRANSMISSION/DISTRIBUTION |  | 1872662 | MD0020004
18 | 62 | WC-1243 CROMWELL PUMPING STATION REHABILITATION | DW0006 | 1800000 | AGING PUMPING STATION NECESSARY PART OF SYSTEM TO PROVIDE SAFE/RELIABLE DRINKING WATER | CONSTRUCT REPAIR/REPLACE/REHAB OF EQUIPMENT, SYSTEMS, AND STRUCTURE INC. CHLORINATION SYSTEM | TROY BROGDEN, MAYOR AND CITY COUNCIL OF BALTIMORE | Baltimore City | 83 |  | Y | Y | PUBLIC | Large | 1 | 02/01/2022 | 12/31/2025 | 43917046 | 0 | 1 | Y | Y |  | 06/01/2015 | TRANSMISSION/DISTRIBUTION |  | 11907000 | MD300002
19 | 62 | WC-1243 CROMWELL PUMPING STATION REHABILITATION | DW0039 | ? | AGING PUMPING STATION NECESSARY PART OF SYSTEM TO PROVIDE SAFE/RELIABLE DRINKING WATER | CONSTRUCT REPAIR/REPLACE/REHAB OF EQUIPMENT, SYSTEMS, AND STRUCTURE INC. CHLORINATION SYSTEM | ROBERT J. BURROS, BALTIMORE COUNTY, MARYLAND | Baltimore County | 83 |  | Y | Y | PUBLIC | Large | 1 | 02/01/2022 | 12/31/2025 | 0 | 0 | 1 | Y | Y |  | 06/01/2015 | TRANSMISSION/DISTRIBUTION |  | 28546080 | MD3000002
20 | 60 | ROUTE 36 WATER LINE REPLACEMENT | DW0002 | 130 | AGING DUCTILE IRON LINE - ONLY LINE TO CUSTOMERS & EMERGENCY CONNECTION TO LONACONING - CORRODING/FAILING DUE TO ACIDIC SOILS | D/C REHAB/REPLACEMENT OF 15,000 LF OF LINE; LINE TO BE MAINTAINED BY COUNTY | JAMES L. WEBBER P.E., ALLEGANY COUNTY COMMISSIONERS | Allegany | 1B | 6 | Y | 2 | PUBLIC | Small | 1 | 03/01/2022 | 09/30/2022 | 1500000 | 0 | 1 |  |  |  | 05/01/2021 | TRANSMISSION/DISTRIBUTION |  | 1350000 | MD0010009
21 | 57 | TOWN CREEK WATER SYSTEM, PHASE 2 | DW0025 | 230 | AGING WATER DISTRIBUTION SYSTEM W/GALVANIZED LINES THAT ARE UNDERSIZED AND DETERIORATING | P/D/C NEW DISTRIBUTION SYSTEM OF 7500 LF OF 8" LINES, 92 SERVICE LINES, NEW VALVES, HYDRANTS AND RADIO READ METERS | JOY POTTER, ST. MARY'S COUNTY METROPOLITAN COMMISSION | St. Mary's | 29C | 5 | Y | Y | PUBLIC | Large | 0 | 01/01/2022 | 03/31/2022 | 3098991 | 0 | 1 | Y | Y |  | 06/01/2019 | TRANSMISSION/DISTRIBUTION |  | 3098991 | MD0180007
22 | 55 | SNOW HILL COULBOURNE LANE WELL BACKUP POWER | DW0036 | 2368 | TOWN'S LARGEST DRINKING WATER PRODUCTION WELL LACKS BACKUP POWER; LOSS OF POWER SIGNIFICANTLY AFFECTS SYSTEM FLOW/PRESSURE | D/C INSTALLATION OF AN EMERGENCY GENERATOR AND AUTOMATIC BACKUP SWITCH | GARY WEBER, TOWN OF SNOW HILL | Worcester | 28B | 1 | Y | Y | PUBLIC | Small | 1 | 06/01/2022 | 07/31/2022 | 202060 | 0 | 1 | Y | Y |  | 07/01/2021 | SOURCE |  | 197060 | MD0230007
23 | 52 | BOWIE WATER TREATMENT PLANT WELL REPLACEMENT | DW0024 | 25500 | WELL #6 HAS SEAM FAILURE, RESULTING IN SEDIMENT FILL AT THE BOTTOM | P/D/C REPLACEMENT OF WELL #6 OR REHAB OF WELL #5 | SAM KUMAR, CITY OF BOWIE | Prince George's | 23B | 5 | Y | Y | PUBLIC | Large | 0 | 11/01/2022 | 10/31/2023 | 1075000 | 0 | 1 | Y | Y |  | 11/01/2021 | TRANSMISSION/DISTRIBUTION |  | 1075000 | MD0160002
24 | 50 | GREEN MEADOWS WATER COMPANY WATER SYSTEM RESTORATION - STORAGE | DW0013 | 83 | AGING PRIVATE SYSTEM IN NEED OF UPDATING; CURRENT TANK OPERATING BEYOND NORMAL EXPECTED LIFE | D/C INSTALLATION OF NEW 5300 G HYDROPNEUMATIC STORAGE TANK, REPLACE PUMPHOUSE PLUMBING AND INSTALL NEW FLOW METERS | KENNETH BONECK, GREEN MEADOWS WATER COMPANY, INC. | Charles | 28 | 5 | Y | 2 | PRIVATE | Small | 0 | 07/01/2022 | 10/31/2023 | 150000 | 0 | 2 |  |  |  | 12/01/2021 | STORAGE | Y | 138900 | MD0080017
25 | 47 | TOWN OF FEDERALSBURG WATER METER UPGRADES | DW0010 | 2800 | AGING MANUAL READ METERS ARE INACCURATE | D/C REPLACE ALL ~1143 METERS WITH RADIO READ TO IMPROVE BILLING | LAWRENCE P. DIRE, MAYOR AND COUNCIL OF THE TOWN OF FEDERALSBURG | Caroline | 37B | 1 | Y | Y | PUBLIC | Small | 1 | 05/01/2022 | 12/31/2022 | 972834 | 942834 | 1 |  |  | Y | 06/01/2021 | TRANSMISSION/DISTRIBUTION |  | 942834 | MD0050002
26 | 47 | TOWN OF FEDERALSBURG WELL SCADA PROJECT | DW0009 | 2800 | TOWN HAS NO INTERNAL MONITORING THAT ALERTS TO BREAKS/SYSTEM ISSUES | P/D/C INSTALLATION OF SCADA SYSTEM TO IMPROVE OPERATIONAL EFFICIENCY/IMPROVE UNIFORMITY OF CHLORINE DOSING | LAWRENCE P. DIRE, MAYOR AND COUNCIL OF THE TOWN OF FEDERALSBURG | Caroline | 37B | 1 | Y | Y | PUBLIC | Small | 1 | 05/01/2022 | 09/30/2022 | 200160 | 200160 | 1 |  |  | Y | 06/01/2020 | TRANSMISSION/DISTRIBUTION |  | 200160 | MD0050002
27 | 47 | BOWIE LOW LIFT PUMP STATION UPGRADE | DW0022 | 25500 | AGING LOW LIFT PUMP STATION AT WATER TREATMENT PLANT | P/D/C UPGRADES OF COMPONENTS, INC. EMERGENCY STOP CONTROLS, PUMPS/MOTORS, CHECK VALVES, MOTOR CONTROL CENTER | SAM KUMAR, CITY OF BOWIE | Prince George's | 23B | 5 | Y | Y | PUBLIC | Large | 0 | 08/01/2022 | 10/31/2023 | 1300000 | 0 | 1 | Y | Y |  | 07/01/2021 | TREATMENT |  | 1300000 | MD0160002
28 | 45 | TOWN OF HEBRON WATER TREATMENT PLANT | DW0034 | 1575 | AGING/INEFFICIENT WTP NOT CONFIGURED TO WORK IN CONJUNCTION WITH PLANNED NEW WATER TOWER (SEE DW0033/23) | P/D/C NEW EFFICIENT WTP CONFIGURED TO WORK IN CONJUNCTION W/PLANNED NEW WATER TOWER | ROBERT D. RAUCH P.E., TOWN OF HEBRON | Wicomico | 37A | 1 | Y | Y | PUBLIC | Small | 1 | 11/01/2021 | 10/31/2022 | 611162 | 0 | 1 |  |  |  | 04/01/2021 | TREATMENT |  | 565036 | MD0220002
29 | 42 | BOWIE WATER TREATMENT PLANT SCADA IMPLEMENTATION | DW0023 | 25500 | FREQUENT PROCESS CONTROL COMMUNICATION ISSUES AT WTP | P/D/C SCALABLE SCADA SYSTEM | SAM KUMAR, CITY OF BOWIE | Prince George's | 23B | 5 | Y | Y | PUBLIC | Large | 0 | 07/01/2022 | 06/30/2024 | 400000 | 0 | 1 | Y | Y |  | 04/01/2021 | TREATMENT |  | 400000 | MD0160002
30 | 42 | WC-1229 VERNON PUMPING STATION REHABILITATION | DW0005 | 1800000 | AGING PUMPING STATION NECESSARY PART OF SYSTEM TO PROVIDE SAFE/RELIABLE DRINKING WATER | CONSTRUCT REPAIR/REPLACE/REHAB OF EQUIPMENT, SYSTEMS, AND STRUCTURE INC. INSTALLATION OF EMERGENCY GENERATOR | TROY BROGDEN, MAYOR & CITY COUNCIL OF BALTIMORE | Baltimore City | 43 | 7 | Y | Y | PUBLIC | Large | 1 | 02/01/2022 | 06/30/2025 | 56008270 | 0 | 1 | Y | Y |  | 08/01/2015 | TRANSMISSION/DISTRIBUTION |  | 26244000 | MD300002
31 | 42 | WC-1229 VERNON PUMPING STATION REHABILITATION | DW0038 | ? | AGING PUMPING STATION NECESSARY PART OF SYSTEM TO PROVIDE SAFE/RELIABLE DRINKING WATER | CONSTRUCT REPAIR/REPLACE/REHAB OF EQUIPMENT, SYSTEMS, AND STRUCTURE INC. INSTALLATION OF EMERGENCY GENERATOR | ROBERT J. BURROS, BALTIMORE COUNTY, MARYLAND | Baltimore County | 43 | 7 | Y | Y | PUBLIC | Large | 1 | 02/01/2022 | 06/30/2025 | 0 | 0 | 1 | Y | Y |  | 06/01/2015 | TRANSMISSION/DISTRIBUTION |  | 22403308 | MD3000002
32 | 40 | SMITHSBURG WATER METER REPLACEMENT/UPGRADE PROGRAM | DW0030 | 3000 | LARGE PORTION OF TOWN ON AGING MANUAL READ METERS | CONSTRUCT REPLACEMENT OF ~1200 WATER METERS TO FULLY AUTOMATIC METER READING SYSTEM, INC VAULTS, FOR IMPROVED EFFICIENCY | DEBRA SMITH, TOWN OF SMITHSBURG | Washington | 2A | 6 | Y | Y | PUBLIC | Small | 0 | 12/01/2021 | 06/30/2022 | 615000 | 615000 | 1 | Y |  | Y |  | TRANSMISSION/DISTRIBUTION |  | 615000 | MD0210018
33 | 40 | SALISBURY WATER METER CONVERSION AMR V.4 TO AMI V.5 | DW0031 | 36205 | EXISTING AMR V.4 METERS HAVE REACHED END OF 10-YEAR BATTERY LIFESPAN | CONSTRUCT REPLACEMENT OF 11,367 UNITS W/ AMR V.5 THAT HAVE ANALOG BACKUP, REPLACE BOXES W/ R900i REGISTERS & INSTALL ANTENNAS | CHARLES F. KULP, CITY OF SALISBURY | Wicomico | 38B | 1 | Y | 2 | PUBLIC | Large | 1 | 01/01/2022 | 12/31/2022 | 3377000 | 3377000 | 1 | Y | Y | Y | 07/01/2021 | TRANSMISSION/DISTRIBUTION |  | 3377000 | MD0220003
34 | 35 | TOWN OF HEBRON WELL PROJECT | DW0032 | 1575 | TWO ACTIVE PRODUCTION WELLS DO NOT PROVIDE ENOUGH VOLUME FOR NORMAL AND EXPECTED GROWTH | D/C A NEW WELL AND WATER DISINFECTION SYSTEM TO PUMP DIRECTLY TO NEW ELEVATED STORAGE TANK (SEE DW0033/23) | ROBERT D. RAUCH P.E., TOWN OF HEBRON | Wicomico | 37A | 1 | Y | Y | PUBLIC | Small | 1 | 11/30/2021 | 10/31/2022 | 240711 | 0 | 1 |  |  |  | 04/01/2021 | SOURCE |  | 222950 | MD0220002
35 | 32 | BOWIE WATER TREATMENT PLANT GENERATOR REPLACEMENT | DW0021 | 25500 | AGING EMERGENCY GENERATOR AT BOOSTER STATION EXPERIENCING COMPONENT FAILURES | CONSTRUCT REPLACEMENT OF GENERATOR, ASSOCIATED FUEL TANKS, AND AUTOMATIC TRANSFER SWITCH | SAM KUMAR, CITY OF BOWIE | Prince George's | 23B | 5 | Y | Y | PUBLIC | Large | 0 | 08/01/2022 | 11/30/2022 | 120000 | 0 | 1 | Y | Y |  | 11/01/2021 | TRANSMISSION/DISTRIBUTION |  | 120000 | MD0160002
36 | 30 | BERLIN SMART METER REPLACEMENT | DW0035 | 615 | AGED AND INACCURATE WATER METERS DO NOT PROVIDE RELIABLE READINGS FOR BILLING PURPOSES AND LEAK DETECTION | P/D/C INSTALLATION OF ADVANCED METERING INFRASTRUCTURE AND 2000 SMART METERS | JEFF FLEETWOOD, TOWN OF BERLIN | Worcester | 38C | 1 | Y | 2 | PUBLIC | Small | 1 | 11/01/2021 | 02/28/2022 | 1030575 | 1030575 | 1 |  |  | Y | 06/01/2021 | TRANSMISSION/DISTRIBUTION |  | 1030575 | MD0230001
37 | 30 | TOWN OF HEBRON WATER STORAGE TANK | DW0033 | 1575 | EXISTING 300,000 GALLON STORAGE TANK DOES NOT HAVE AN ADEQUATE BACKUP OR RESERVED CAPACITY STORAGE OPTION | P/D/C NEW 300,000 GALLON ELEVATED STORAGE TANK FOR SYSTEM REDUNDANCY, TO MEET DEMAND AND ACCOMMODATE PLANNED GROWTH | ROBERT D. RAUCH P.E., TOWN OF HEBRON | Wicomico | 37A | 1 | Y | Y | PUBLIC | Small | 1 | 11/01/2021 | 10/31/2022 | 1711872 | 0 | 1 |  |  |  | 04/01/2021 | STORAGE |  | 1587150 | MD0220002
38 | 15 | WESLEY STINNETT WATER EXTENSION | DW0007 | 6375 | SUBDIVISION AND AMERICAN LEGION POST SERVED BY PRIVATE WELL; LAST REMAINING PROPERTIES NOT SERVED BY PUBLIC WATER | D/C 3,400 LF PVC TO CONNECT TO TOWN'S WATER SUPPLY; INC. WATER METERS AND HYDRANTS | HOLLY WAHL, TOWN OF CHESAPEAKE BEACH | Calvert | 27C | 5 | Y | Y | PUBLIC | Small | 0 | 04/01/2022 | 12/31/2022 | 1380000 | 0 | 1 |  |  |  | 08/01/2021 | TRANSMISSION/DISTRIBUTION |  | 1360000 | MD0040003
39 | 10 | GREEN MEADOWS WATER COMPANY WATER SYSTEM RESTORATION - TREATMENT | DW0014 | 83 | AGING PRIVATE SYSTEM IN NEED OF UPDATING | D/C NEW WATER TREATMENT SYSTEM THAT INTEGRATES WITH UPGRADED WATER STORAGE TANK SYSTEM | KENNETH BONECK, GREEN MEADOWS WATER COMPANY, INC. | Charles | 28 | 5 | Y | 2 | PRIVATE | Small | 0 | 07/01/2022 | 09/30/2022 | 12500 | 0 | 2 |  |  |  | 12/01/2021 | TREATMENT |  | 11575 | MD0080017