## PPL FY2022 SFY2024
Rank | Points | Project Title | Project Number | Benefited Population | Problem Description | Project Description | Applicant Name | County | Leg District | Cong District | W/S | PFA | Public/Private | System Size | Disadvantaged | Start Date | End Date | Total Cost ($) | Green Cost ($) | MDE Funding Requested ($) | CD Code | Loan Interest | Audit | Plan | Green Type | Design Date | Project Type | Compliance | pwsid | requested_funding
1 | 117 | NEW WINTERS RUN WATER TREATMENT FACILITY | DW0016 | 15500 | 70-YEAR OLD PLANT SITUATED IN 100-YR FLOOD PLAIN + TREATMENT REQUIRED FOR CRYPTOSPORIDIUM IN SUPPLY | CONSTRUCT NEW 2 MGD WATER TREATMENT PLANT IN STAGES TO REPLACE AGING PLANT | BARRY L. SUITS, MARYLAND AMERICAN WATER | Harford | 34B | 1 | N | 3 | PRIVATE | Large | 0 | 09/01/2022 | 06/30/2024 | 18000000 | 9000000 | 9000000 | 1 | Y | Y | Y |  | 06/01/2021 | TREATMENT |  | MD0120003 | 9000000
2 | 110 | POCOMOKE CITY WIIN-CIPP LINING MARKET STREET MAINS - PHASE I | DW0004 | 4075 | HIGH RUST AND CONTAMINANTS IN WATER SYSTEM | RELINE WATER MAINS USING CIPP LINING PROCESS | LINDA MCNEIL, POCOMOKE CITY | Worcester | 38A | 1 | Y | 2 | PUBLIC | Small | 1 | 05/01/2023 | 05/31/2024 | 2256700 | 843923 | 0 | 1 |  | Y |  |  | 06/01/2022 | TRANSMISSION/DISTRIBUTION | Y | MD023006 | 843923
3 | 100 | BRIERCREST APARTMENTS WATER SERVICE | DW0017 | 60 | CONTAMINATED DRINKING WATER SOURCE SERVING 24 APARTMENT UNITS | CONSTRUCT 94 LF OF 8-IN WATER MAIN TO CONNECT APARTMENTS TO FREDERICK CO CAMBRIDGE FARMS WATER SYSTEM (PWS MD 0100033) | RODNEY WINEBRENNER, FREDERICK COUNTY | Frederick | 3B | 6 | Y | Y | PRIVATE | Small | 0 | 10/01/2023 | 12/31/2023 | 121178 | 121178 | 121178 | 1 | Y |  |  |  | 01/01/2023 | TRANSMISSION/DISTRIBUTION | Y | MD0100004 | 121178
4 | 97 | WINCHESTER ROAD WATER LINE REPLACEMENT (LAVALE) | DW0025 | 6218 | AGING AND FAILING WATER MAIN REQUIRES REPLACEMENT | REPLACE ~15,000 LF WATER TRANSMISSION MAIN ALONG WINCHESTER ROAD IN LAVALE | DAVID S. WENDT, LAVALE SANITARY DISTRICT | Allegany | 1B | 6 | Y | Y | PUBLIC | Small | 1 | 06/01/2023 | 12/31/2024 | 5072800 | 4602800 | 4602800 | 1 | Y | Y | Y |  | 02/01/2022 | TRANSMISSION/DISTRIBUTION |  | MD0010016 | 4602800
5 | 97 | SPRINGFIELD WELLS / FAIRHAVEN WELL HOUSE | DW0015 | 32673 | PROVIDE A RELIABLE SUPPLEMENTAL AND BACKUP GROUNDWATER SUPPLY TO LIBERTY RESERVOIR | DRILL 2 ADDITIONAL WELLS AND RESTORE FAIRHAVEN WELL AND WELLHOUSE TO OPERATING ORDER | JEFFREY D. CASTONGUAY, BOARD OF CARROLL CO COMMISSIONERS | Carroll | 9A | 8 | N | Y | PUBLIC | Large | 0 | 03/01/2023 | 05/31/2024 | 4030000 | 1000000 | 0 | 1 |  | Y |  |  | 03/01/2021 | SOURCE |  | MD006002 | 1000000
6 | 95 | SPRINGVIEW MOBILE HOME PARK WATER SERVICE | DW0021 | 93 | SOURCE DRINKING WATER CONTAMINATED WITH PFOA AND PFOS | INSTALL 1,321 LF 8-IN WATER MAIN + 2-IN CONNECTION ETC TO CONNECT TO NEW DESIGN WATER SYS IN FRED CO | RODNEY WINEBRENNER, FREDERICK COUNTY | Frederick | 3B | 8 | Y | Y | PUBLIC | Large | 0 | 11/01/2023 | 03/31/2024 | 632772 | 632772 | 632772 | 1 | Y |  |  |  | 01/01/2023 | TRANSMISSION/DISTRIBUTION | Y | MD0100030 | 632772
7 | 90 | COULBOURNE LANE WELL BACKUP POWER | DW0002 | 2150 | NO BACKUP POWER TO LARGEST PRODUCING WELL FOR WATER SYSTEM | FURNISH AND INSTALL EMERGENCY GENERATOR AND AUTOMATIC TRANSFER SWITCH TO TOWN'S LARGEST PRODUCTION WELL | RICK POLLITT, TOWN OF SNOW HILL | Worcester | 38B | 1 | Y | Y | PUBLIC | Small | 1 | 06/01/2023 | 07/31/2023 | 223064 | 218064 | 218064 | 1 | Y |  |  |  | 07/01/2022 | SOURCE |  | MD0230007 | 218064
8 | 90 | EMMITSBURG NORTH SETON AVENUE WATER LINE REPLACEMENT | DW0018 | 2770 | WATER PRESSURE COMPLIANCE AND RESOLVE WATER QUALITY COMPLAINTS | REPLACE 1,584 LF OF DETERIORATING 6-IN AND 4-IN UNLINED CAST IRON PIPING WITH NEW 8-IN DUCTILE IRON PIPE ALONG N. SETON AV | CATHY WILLETS, TOWN OF EMMITSBURG | Frederick | 4 | 8 | Y | Y | PUBLIC | Small | 0 | 10/01/2023 | 01/31/2024 | 1170552 | 1145552 | 1145552 | 1 | Y | Y |  | G | 09/01/2022 | TRANSMISSION/DISTRIBUTION |  | MD0100010 | 1145552
9 | 90 | EMMITSBURG DEPAUL STREET WATER LINE REPLACEMENT | DW0019 | 6925 | WATER PRESSURE COMPLIANCE AND RESOLVE WATER QUALITY COMPLAINTS | REPLACE 1,850 LF 6-IN AND 4-IN UNLINED CAST IRON PIPING WITH 8-IN DUCTILE IRON PIPE | CATHY WILLETS, TOWN OF EMMITSBURG | Frederick | 4 | 8 | Y | Y | PUBLIC | Small | 0 | 10/01/2023 | 01/31/2024 | 1135000 | 1110000 | 1110000 | 1 | Y | Y |  |  | 09/01/2022 | TRANSMISSION/DISTRIBUTION |  | MD0100010 | 1110000
10 | 90 | MACK WATER STORAGE TANK REPLACEMENT | DW0034 | 25580 | TANK HAS EXCEEDED USEFUL LIFE AND DEVELOPS LEAKS. EXTENDED REPAIRS LEAVE FIRE PROTECTION VULNERABLE. | REPLACE 50+ YEAR OLD 1M GAL GROUND STORAGE TANK | WILLIAM LUHN, CITY OF HAGERSTOWN -- UTILITIES DEPARTMENT | Washington | 2C | 6 | Y | 2 | PUBLIC | Large | 1 | 05/01/2023 | 12/31/2023 | 4600000 | 4000000 | 4000000 | 1 | Y | Y | Y |  | 07/01/2022 | STORAGE |  | MD0210010 | 4000000
11 | 87 | POWHATAN STREET WATER MAIN REPLACEMENT | DW0042 | 573 | BARE CAST IRON MAINS WITH TUBERCULATION AND BREAKS | REPLACE 1.85 MI SMALL DIA 4-IN, 8-IN, 10-IN & 12-IN WATER MAINS IN NEW CARROLLTON | CAVILLE STANBURY-WOOLERY, WASHINGTON SUBURBAN SANITARY COMMISSION | WSSC | 22 | 5 | Y | Y | PUBLIC | Large | 1 | 06/01/2023 | 07/31/2024 | 2461000 | 2461000 | 2461000 | 1 | Y | Y | Y |  | 10/01/2017 | TRANSMISSION/DISTRIBUTION |  | MD0150005 | 2461000
12 | 80 | HORIZON WAY WATER MAIN REPLACEMENT | DW0041 | 610 | BARE CAST IRON MAINS WITH TUBERCULATION AND BREAKS | REPLACE 2.30 MI SMALL DIA 4-IN, 8-IN & 10-IN WATER MAINS IN FORESTVILLE AND DISTRICT HGTS | CAVILLE STANBURY-WOOLERY, WASHINGTON SUBURBAN SANITARY COMMISSION | WSSC | 25 | 4 | Y | Y | PUBLIC | Large | 1 | 06/01/2023 | 10/31/2024 | 3400000 | 3400000 | 3400000 | 1 | Y | Y | Y |  | 04/01/2018 | TRANSMISSION/DISTRIBUTION |  | MD0150005 | 3400000
13 | 80 | TOWN OF GRANTSVILLE CHESTNUT RIDGE WATER SYSTEM | DW0030 | 920 | AREA NOT SERVED BY PUBLIC WATER EXPERIENCING EXCESS SALT IN WELLS FROM RT 40 | CONSTRUCT NEW PUBLIC WATER SYSTEM FOR CHESTNUT RIDGE COMMUNITY, INCL 12-IN MAIN, NEW WTP, NEW WELL, & NEW 470,000 GAL TANK | ROBIN JONES, TOWN OF GRANTSVILLE | Garrett | 1A | 6 | Y | Y | PUBLIC | Small | 1 | 05/01/2023 | 08/31/2024 | 8064990 | 8035000 | 8035000 | 1 | Y | Y |  |  | 03/01/2022 | OTHER |  | MD | 8035000
14 | 75 | BOONSBORO DRINKING WATER RESERVOIR REPLACEMENT | DW0036 | 7528 | 1.5M GAL DRINKING WATER RESERVOIR LEAKS 15,000-25,000 GPD | REPLACE LEAKING DRINKING WATER IMPOUNDMENT WITH PRESTRESSED CONCRETE SPLIT-TANK RESERVOIR | PAUL MANTELLO, TOWN OF BOONSBORO | Washington | 2A | 6 | Y | 2 | PUBLIC | Small | 0 | 01/01/2023 | 12/31/2023 | 4100000 | 1000000 | 0 | 1 |  | Y | Y | W | 02/01/2022 | STORAGE |  | MD0210002 | 1000000
15 | 72 | MONTGOMERY KNOLLS WATER MAIN REPLACEMENT | DW0040 | 388 | BARE CAST IRON MAINS WITH TUBERCULATION AND BREAKS | REPLACE 2.77 MI SMALL DIA 8-IN & 10-IN WATER MAINS | CAVILLE STANBURY-WOOLERY, WASHINGTON SUBURBAN SANITARY COMMISSION | WSSC | 20 | 8 | Y | Y | PUBLIC | Large | 0 | 03/01/2023 | 10/31/2024 | 4416000 | 4416000 | 4416000 | 1 | Y | Y | Y |  | 10/01/2019 | TRANSMISSION/DISTRIBUTION |  | MD0150005 | 4416000
16 | 72 | WC-1199 ASHBURTON PUMPING STATION REHABILITATION | DW0007 | 1800000 | PUMP STATION FOR ASHBURTON RESERVOIR IS AGING/UNRELIABLE | CONSTRUCT MAJOR MODS TO HYDRAULIC, MECHANICAL, AND ELECTRICAL SYSTEMS AS WELL AS THE STRUCTURE | AARON MOORE, MAYOR AND CITY COUNCIL OF BALTIMORE | Baltimore City | 41 | 7 | Y | Y | PUBLIC | Large | 1 | 07/01/2023 | 07/31/2027 | 67964878 | 27818640 | 27818640 | 1 | Y | Y | Y |  | 07/01/2014 | TRANSMISSION/DISTRIBUTION |  | MD0300002 | 27818640
17 | 72 | WC-1199 ASHBURTON PUMPING STATION REHABILITATION | DW0022 | ? | PUMP STATION FOR ASHBURTON RESERVOIR IS AGING/UNRELIABLE | CONSTRUCT MAJOR MODS TO HYDRAULIC, MECHANICAL, AND ELECTRICAL SYSTEMS AS WELL AS THE STRUCTURE | ROBERT BURROS, BALTIMORE COUNTY, MARYLAND | Baltimore County | 41 | 7 | Y | Y | PUBLIC | Large | 0 | 07/01/2023 | 07/31/2027 | 0 | 31943493 | 31943493 | 1 | Y | Y | Y |  | 07/01/2014 | TRANSMISSION/DISTRIBUTION |  | MD0300002 | 31943493
18 | 70 | YOURTEE SPRINGS WATER DISTRIBUTION | DW0020 | 2363 | FREQUENT BREAKS - 85-YEAR-OLD WATER LINE SUPPLIES 20% OF DRINKING WATER TO CITY OF BRUNSWICK - OUTAGES AND CONTAMINATION | RE-LINE THE ENTIRE 8-MILE YOURTEE DISTRIBUTION LINE | DAVID DUNN, MAYOR & COUNCIL CITY OF BRUNSWICK | Frederick | 4/6 | 6 | Y | 2 | PUBLIC | Small | 0 | 12/01/2022 | 12/31/2023 | 5000000 | 4200000 | 0 | 1 |  | Y |  |  | 02/01/2022 | TRANSMISSION/DISTRIBUTION | Y | MD0100005 | 4200000
19 | 70 | TOWN OF WESTERNPORT - WATER DISTRIBUTION SYSTEM IMPROVEMENTS - PHASES 5-7 | DW0038 | 2448 | FAILING WATER MAINS OVER 100 YR OLD. CONTINUATION OF REPLACEMENTS. | REPLACE 53,000 LF WATER MAINS, 2 PUMP STATIONS, 2 GROUND-MOUNTED WATER STORAGE TANKS, VALVES, HYDRANTS, & APPURTENANCES | AARON LATTANZIA, TOWN OF WESTERNPORT | Allegany | 1A | 6 | Y | Y | PUBLIC | Small | 1 | 12/01/2023 | 12/31/2024 | 18192000 | 18162000 | 18162000 | 1 | Y |  |  | W | 07/01/2019 | TRANSMISSION/DISTRIBUTION |  | MD0010033 | 18162000
20 | 70 | TRANSMISSION MAINS REPLACEMENT-HAGERSTOWN | DW0033 | 108600 | DETERIORATED 90+ YEAR OLD TRANSMISSION MAIN PIPING WITH INCREASING FAILURES | PHASE 2 OF MULTI-PHASE PROJ. REPLACE 6,000 LF OF 2 PARALLEL 24-IN MAINS WITH DUCTILE IRON 36-IN MAINS | WILLIAM LUHN, CITY OF HAGERSTOWN -- UTILITIES DEPARTMENT | Washington | 2C | 6 | Y | 2 | PUBLIC | Large | 1 | 10/01/2023 | 12/31/2026 | 17250000 | 15000000 | 15000000 | 1 | Y | Y | Y |  | 07/01/2022 | TRANSMISSION/DISTRIBUTION |  | MD210010 | 15000000
21 | 65 | FRANKLIN AVENUE WELL REPLACEMENT | DW0003 | 5045 | WELL #2 IS 58 YEARS OLD AND HAS OUTLIVED ITS USEFUL LIFE - REPLACEMENT NEEDED FOR REDUNDANT WATER SUPPLY TO SYSTEM | BUILD TEST WELL AND REPLACE WELL #2 | JEFF FLEETWOOD, TOWN OF BERLIN | Worcester | 38C | 1 | Y | Y | PUBLIC | Small | 1 | 06/01/2023 | 08/31/2023 | 160000 | 130000 | 130000 | 1 | Y | Y |  |  | 07/01/2022 | SOURCE |  | MD0230001 | 130000
22 | 65 | TOWN OF GRANTSVILLE WATER IMPROVEMENT PROJECT | DW0031 | 9200 | GRANTSVILLE WATER LEAKS, SERVICE SPRINGS GO DRY IN SUMMER, AGING INFRASTRUCTURE FROM 1930S | CONSOLIDATE GRANTSVILLE WTP AND GREEN WTP, ABANDON GRANTSVILLE WTP, EXPAND GREEN WTP CAPACITY + ADD 420,000-GAL TANK AT GREEN | ROBIN JONES, TOWN OF GRANTSVILLE | Garrett | 1A | 6 | N | Y | PUBLIC | Small | 1 | 05/01/2023 | 08/31/2024 | 9182990 | 9153000 | 9153000 | 1 | Y | Y |  |  | 03/01/2022 | OTHER |  | MD | 9153000
23 | 60 | MOUNTAIN LAKE PARK & LOCH LYNN HEIGHTS WATER LINE REPLACEMENT PROJECT | DW0029 | 3275 | DETERIORATING PIPES LEAKING >40% INTO SURROUNDING AREA. AREAS OF LOW WATER PRESSURE AND LOW FIRE FLOW | REPLACE 133,075 LF WATER LINE WITH ADEQUATELY SIZED PIPES | BOBBY WITT, GARRETT COUNTY SANITARY DISTRICT | Garrett | 1A | 6 | Y | Y | PUBLIC | Small | 1 | 08/01/2023 | 09/30/2028 | 1602274 | 1587274 | 1587274 | 1 | Y | Y | Y |  | 07/01/2022 | TRANSMISSION/DISTRIBUTION |  | MD0110007 | 1587274
24 | 60 | MIDLAND/GILMORE RAW WATER STORAGE TANK | DW0027 | 4500 | DAM INSPECTION CLASSIFIED A HIGH HAZARD POTENTIAL AND RATED UNSAFE | DECOMMISSION EXISTING MIDLAND GILMORE RESERVOIR, RESTORE ELK LICK RUN, AND CONSTRUCT 6 MG RAW WATER STORAGE TANK | TYLER RAYNER, TOWN OF LONACONING | Allegany | 1A | 6 | Y | 2 | PUBLIC | Small | 1 | 10/01/2023 | 11/30/2024 | 9904840 | 9904840 | 9904840 | 1 | Y |  |  |  | 07/01/2022 | STORAGE | Y | MD0010018 | 9904840
25 | 55 | DEHAVEN/MASON ROAD WATER PROJECT | DW0026 | 95 | 50+ YR OLD WATER LINES CANNOT BE MAINTAINED BY 2 PVT WATER COMPANIES. TAKEOVER BY ALLEGANY CO WILL ENABLE TECH/MGRL COMPLIANCE | REPLACE ~8,000 FT NEW WATER LINE + 35 WATER CONNECTIONS AND APPURTENANCES | JIM WEBBER, ALLEGANY COUNTY COMMISSIONERS | Allegany | 1B | 6 | Y | 3 | PUBLIC | Small | 1 | 01/01/2023 | 12/31/2023 | 1000000 | 1000000 | 1000000 | 2 | Y |  |  |  | 06/01/2022 | TRANSMISSION/DISTRIBUTION |  | MD | 1000000
26 | 55 | NEW WINDSOR MD ROUTE 31 WATER MAIN IMPROVEMENTS | DW0014 | 163 | AGING AND INADEQUATE SUPPLY LINES THAT DO NOT MEET CURRENT CODE | CONSTRUCT NEW PARALLEL WATER DISTRIB SYSTEM - 3900 FT 12-IN + 400 FT 8-IN + 450 FT 6-IN WATER PIPES + APPURTENANCES | GARY P. DYE JR., TOWN OF NEW WINDSOR | Carroll | 5 | 8 | Y | Y | PUBLIC | Small | 0 | 08/01/2022 | 08/31/2023 | 4277748 | 1960000 | 1960000 | 1 | Y |  |  |  | 06/01/2017 | TRANSMISSION/DISTRIBUTION |  | MD0060008 | 1960000
27 | 55 | SHARPSBURG WATER METER CRADLE REPLACEMENT | DW0032 | 1500 | CURRENT WATER METERS AND CRADLES CONTAIN LEAD | REPLACE EXISTING WATER METERS AND CRADLES | MARK BRADSHAW, WASHINGTON COUNTY BOARD OF COUNTY COMMISSIONERS | Washington | 2A | 6 | Y | 2 | PUBLIC | Small | 0 | 06/01/2023 | 01/31/2024 | 1000000 | 700000 | 700000 | 1 | Y | Y |  |  | 05/01/2022 | OTHER |  | MD0210017 | 700000
28 | 52 | SOUTH END WATER MAIN REPLACEMENT PROJECT (NO. 2-22-W) | DW0028 | 1325 | CAST IRON WATER MAINS, MOST OVER 120 YR OLD, FREQUENT BREAKS | REPLACE 7,000 LF 12-IN AND 5,000 LF 6-IN WATER MAINS | ROBERT SMITH, MAYOR AND CITY COUNCIL OF CUMBERLAND | Allegany | 1 | 6 | Y | Y | PUBLIC | Large | 1 | 08/01/2024 | 05/31/2025 | 4114000 | 4114000 | 4114000 | 1 | Y | Y | Y |  | 01/01/2023 | TRANSMISSION/DISTRIBUTION |  | MD0010008 | 4114000
29 | 52 | WC-1243 CROMWELL PUMPING STATION REHABILITATION | DW0006 | 1800000 | AGING PUMPING STATION NECESSARY PART OF SYSTEM TO PROVIDE SAFE/RELIABLE DRINKING WATER | CONSTRUCT REPAIR/REPLACE/REHAB OF EQUIPMENT, SYSTEMS, AND STRUCTURE INC. CHLORINATION SYSTEM | AARON MOORE, MAYOR AND CITY COUNCIL OF BALTIMORE | Baltimore City | 8 | 3 | Y | Y | PUBLIC | Large | 1 | 07/01/2022 | 07/31/2026 | 63352661 | 17654544 | 17654544 | 1 | Y | Y | Y |  | 07/01/2015 | TRANSMISSION/DISTRIBUTION |  | MD0300002 | 17654544
30 | 52 | WC-1243 CROMWELL PUMPING STATION REHABILITATION | DW0024 | ? | AGING PUMPING STATION NECESSARY PART OF SYSTEM TO PROVIDE SAFE/RELIABLE DRINKING WATER | CONSTRUCT REPAIR/REPLACE/REHAB OF EQUIPMENT, SYSTEMS, AND STRUCTURE INC. CHLORINATION SYSTEM | ROBERT BURROS, BALTIMORE COUNTY, MARYLAND | Baltimore County | 8 | 3 | Y | Y | PUBLIC | Large | 0 | 07/01/2022 | 07/31/2026 | 0 | 29775751 | 29775751 | 1 | Y | Y | Y |  | 07/01/2015 | TRANSMISSION/DISTRIBUTION |  | MD0300002 | 29775751
31 | 45 | RC WILLSON WTP CHEMICAL UPGRADE | DW0035 | 108600 | WTP CANNOT RECEIVE CHEMICAL DELIVERIES DURING HIGH WATER EVENTS | EXPAND STORAGE CAPACITY OF PRIMARY COAGULANT POLYMER TANKS + INSTALL CHLORINE SCRUBBER TO NEUTRALIZE CHLORINE LEAK OF 2,000LB | WILLIAM LUHN, CITY OF HAGERSTOWN -- UTILITIES DEPARTMENT | Washington | 2C | 6 | Y | 2 | PUBLIC | Large | 1 | 05/01/2023 | 12/31/2023 | 1150000 | 1000000 | 1000000 | 1 | Y | Y | Y |  | 07/01/2022 | TREATMENT |  | MD210010 | 1000000
32 | 42 | WC-1281 SOUTH ST & VICINITY (DOWNTOWN) WATER MAIN REPLACEMENT | DW0009 | 600000 | DETERIORATION OF UNLINED CAST IRON PIPE PAST ITS USEFUL LIFE | REPLACE 11,761 LF 3-IN THROUGH 20-IN DIA PIPE IN 1ST PRESSURE ZONE | AARON MOORE, MAYOR AND CITY COUNCIL OF BALTIMORE | Baltimore City | 46 | 7 | Y | Y | PUBLIC | Large | 1 | 11/01/2023 | 11/30/2024 | 10484177 | 10484177 | 10484177 | 1 | Y | Y | Y |  | 08/01/2022 | TRANSMISSION/DISTRIBUTION |  | MD3000002 | 10484177
33 | 42 | WC-1318 DOWNTOWN, BOLTON HILL, GUILFORD NEIGHBORHOODS & VICINITY WATER MAIN REPL | DW0011 | 600000 | DETERIORATION OF UNLINED CAST IRON PIPE PAST ITS USEFUL LIFE | REPLACE 30,995 LF 3-IN THROUGH 20-IN DIA PIPE IN 1ST, 2ND AND 3RD E PRESSURE ZONES | AARON MOORE, MAYOR AND CITY COUNCIL OF BALTIMORE | Baltimore City | REG | 7 | Y | Y | PUBLIC | Large | 1 | 09/01/2023 | 03/31/2026 | 24232901 | 24232901 | 24232901 | 1 | Y | Y | Y |  | 06/01/2022 | TRANSMISSION/DISTRIBUTION |  | MD300002 | 24232901
34 | 42 | WC-1322 BELAIR RD NEIGHBORHOOD AND VICINITY WM REPLACEMENTS | DW0013 | 600000 | DETERIORATION OF UNLINED CAST IRON PIPE PAST ITS USEFUL LIFE | REPLACE 19,202 LF 6-IN THROUGH 16-IN DIA PIPE IN 2ND PRESSURE ZONE | AARON MOORE, MAYOR AND CITY COUNCIL OF BALTIMORE | Baltimore City | 45 | 3,7 | Y | Y | PUBLIC | Large | 1 | 11/01/2023 | 11/30/2025 | 14327306 | 14327306 | 14327306 | 1 | Y | Y | Y |  | 08/01/2022 | TRANSMISSION/DISTRIBUTION |  | MD300002 | 14327306
35 | 42 | WC-1229 VERNON PUMPING STATION REHABILITATION | DW0005 | 1800000 | AGING PUMPING STATION NECESSARY PART OF SYSTEM TO PROVIDE SAFE/RELIABLE DRINKING WATER | CONSTRUCT REPAIR/REPLACE/REHAB OF EQUIPMENT, SYSTEMS AND STRUCTURE INC. INSTALLATION OF EMERGENCY GENERATOR | AARON MOORE, MAYOR AND CITY COUNCIL OF BALTIMORE | Baltimore City | 43 | 7 | Y | Y | PUBLIC | Large | 1 | 07/01/2022 | 07/31/2025 | 72118232 | 33949188 | 33949188 | 1 | Y | Y | Y |  | 08/01/2015 | TRANSMISSION/DISTRIBUTION |  | MD0300002 | 33949188
36 | 42 | WC-1229 VERNON PUMPING STATION REHABILITATION | DW0023 | ? | AGING PUMPING STATION NECESSARY PART OF SYSTEM TO PROVIDE SAFE/RELIABLE DRINKING WATER | CONSTRUCT REPAIR/REPLACE/REHAB OF EQUIPMENT, SYSTEMS AND STRUCTURE INC. INSTALLATION OF EMERGENCY GENERATOR | ROBERT BURROS, BALTIMORE COUNTY, MARYLAND | Baltimore County | 43 | 7 | Y | Y | PUBLIC | Large | 0 | 07/01/2022 | 07/31/2025 | 0 | 28847293 | 28847293 | 1 | Y | Y | Y |  | 08/01/2015 | TRANSMISSION/DISTRIBUTION |  | MD0300002 | 28847293
37 | 40 | SMITHSBURG WATER STREET WATER LINE REPLACEMENT PROJECT | DW0037 | 4478 | LACK OF WATER PRESSURE, ESPECIALLY IN THE EVENT OF FIRE SUPPRESSION. REMOVE CAST IRON PIPES AND LEAD JOINTS. | REPLACE ALL WATER LINES, SEWER LINES, AND UPDATE STORM WATER MANAGEMENT AT STREET LEVEL | CHAD ROONEY, TOWN OF SMITHSBURG | Washington | 2A | 6 | Y | Y | PUBLIC | Small | 0 | 10/01/2023 | 03/31/2024 | 1653123 | 1002100 | 1002100 | 1 | Y |  |  |  | 08/01/2023 | TRANSMISSION/DISTRIBUTION |  | MD0210018 | 1002100
38 | 40 | ANACOSTIA DEPOT RECONFIGURATION | DW0043 | 2100000 | IMPROVE EFFICIENCY OF OPERATIONS, FLOODPLAIN VULNERABILITIES OF LARGEST WSSC WATER DEPOT | RECONFIGURATION OF ANACOSTIA DEPOT LAYOUT, INCL ACCESS, CIRCULATION, AND RENOVATION OF BLDGS UP TO CURRENT CODE | BRIAN HALLORAN, WASHINGTON SUBURBAN SANITARY COMMISSION | WSSC | 47A | 4 | Y | Y | PUBLIC | Large | 0 | 01/01/2023 | 12/31/2026 | 42838000 | 21414000 | 21414000 | 1 | Y | Y | Y |  | 07/01/2021 | OTHER |  | MD0150005 | 21414000
39 | 37 | WC-1279 DISTRIBUTION WATER MAIN REPLACEMENT & REHAB SEFTON AREA & VICINITY | DW0008 | 1585 | DETERIORATION OF UNLINED CAST IRON PIPE PAST ITS USEFUL LIFE | REPLACE 19,420 LF 6-IN THROUGH 12-IN DIA PIPE IN 3RD E PRESSURE ZONE | AARON MOORE, MAYOR AND CITY COUNCIL OF BALTIMORE | Baltimore City | 45 | 3 | Y | Y | PUBLIC | Large | 1 | 03/01/2023 | 09/30/2024 | 119423360 | 11942336 | 11942336 | 1 | Y | Y | Y |  | 12/01/2021 | TRANSMISSION/DISTRIBUTION |  | MD300002 | 11942336
40 | 37 | WC-1313 UPPER FELLS POINT & WEST CANTON | DW0010 | 1585 | DETERIORATION OF UNLINED CAST IRON PIPE PAST ITS USEFUL LIFE | REPLACE 25,924 LF 4-IN THROUGH 20-IN+30-IN+40-IN DIA PIPE IN 1ST AND 2ND PRESSURE ZONE | AARON MOORE, MAYOR AND CITY COUNCIL OF BALTIMORE | Baltimore City | 46 | 1 | Y | Y | PUBLIC | Large | 1 | 05/01/2023 | 11/30/2024 | 16002796 | 16002796 | 16002796 | 1 | Y | Y | Y |  | 02/01/2022 | TRANSMISSION/DISTRIBUTION |  | MD300002 | 16002796
41 | 37 | WC-1319 KESWICK ROAD, WEST 36TH STREET & YORK ROAD WATER MAIN REPL | DW0012 | 1628 | DETERIORATION OF UNLINED CAST IRON PIPE PAST ITS USEFUL LIFE | REPLACE 12,171 LF 4-IN THROUGH 20-IN DIA PIPE IN 2ND AND 3RD E PRESSURE ZONES | AARON MOORE, MAYOR AND CITY COUNCIL OF BALTIMORE | Baltimore City | REG | REG | Y | Y | PUBLIC | Large | 1 | 08/01/2023 | 08/31/2024 | 13900478 | 13900478 | 13900478 | 1 | Y | Y | Y |  | 04/01/2022 | TRANSMISSION/DISTRIBUTION |  | MD300002 | 13900478
42 | 35 | BEACHES WATER CO-OP (BWC) REDUCING LEAD IN DRINKING WATER SERVICE LINE REPL | DW0039 | 2010 | AGED PIPING AND FITTINGS WITH LEAD CONTAMINATION | REPLACE 2-IN OD OR LESS SECONDARY SERVICE LINES AND FITTINGS UP TO EACH RESIDENTIAL METER | DENNIS DIBELLO, BEACHES WATER CO-OP | Calvert | 2C | 5 | ? | ? | PUBLIC | Small | 0 | 09/01/2023 | 09/30/2025 | 1500000 | 1500000 | 1500000 | 1 | Y |  |  |  | 06/01/2023 | TRANSMISSION/DISTRIBUTION |  | MD | 1500000
43 | 25 | MARTINGHAM SMART WATER METER | DW0001 | 770 | REPLACE OLD, INACCURATE, DIFFICULT-TO-READ WATER METERS WITH SMART METERS | INSTALLATION OF SMART METER FOR 313 RESIDENTIAL PROPERTIES + 2 COMMERCIAL PROPERTIES | JAY T. FRENCH, MARTINGHAM UTILITIES COOPERATIVE | Talbot | 37B | 1 | Y | 2 | PRIVATE | Small | 1 | 04/01/2023 | 07/31/2023 | 141378 | 141378 | 141378 | 1 | Y |  |  | G | 09/01/2022 | OTHER |  | MD0200004 | 141378
580457198