## PPL FY2023 SFY2025
Rank | Points | Project Title | Project Number | Benefited Population | Problem Description | Project Description | Applicant Name | County | Leg District | Cong District | W/S | PFA | Public/Private | System Size | Disadvantaged | Special Flag | Start Date | End Date | Total Cost ($) | Green Cost ($) | CD Code | Audit | Plan | Green Type | Design Date | Project Type | Compliance | PWSID | PFAS/EC | LSL | Total Cost ($) | MDE Requested Funding ($)
1 | 125 | ROOP'S MEADOW SPRING WATER TREATMENT FACILITY | DW0035 | 2055 | ROOP'S MEADOW SPRING OFFLINE DUE TO GWUDI NONCOMPLIANCE. REQUIRES TREATMENT TO BRING INTO COMPLIANCE. | CONSTRUCT WATER TREATMENT FACILITY FOR SOURCE WATER FROM ROOP'S MEADOW SPRING | GARY P. DYE JR., TOWN OF NEW WINDSOR | Carroll | 05 | 2 | Y | Y | PUBLIC | Small | 0 |  | 09/01/2024 | 06/30/2025 | 2376000 | 0 | 1 |  |  |  | 05/01/2023 | TREATMENT |  | MD0060008 |  |  | 2376000 | 2376000
2 | 125 | RISING SUN PLUMPTON PARK ZOO | DW0046 | 3500 | MULTIPLE NITRATE MCL VIOLATIONS | INSTALL APPROX 3,150 LF 8-IN WATER LINE TO PLUMPTON ZOO PARK | CALVIN A BONENBERGER JR, TOWN OF RISING SUN | Cecil | 35B | 1 | N | Y | PUBLIC | Small | 0 |  | 07/01/2024 |  | 747500 | 0 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION | Y | MD0070021 |  |  | 747565 | 671565
3 | 115 | HAMPSTEAD PFAS TREATMENT/CENTRALIZATION PROJECT | DW0033 | 7180 | HIGH PFAS CONCENTRATIONS. WELLS 24 & 25 TAKEN OUT OF SERVICE. | DESIGN AND CONSTRUCTION OF 4 WATER TREATMENT FACILITIES FOR DILUTION AND/OR GRANULAR ACTIVATED CARBON TREATMENT FOR PFAS | TAMMI LEDLEY, TOWN OF HAMPSTEAD | Carroll | 42C | 2 | Y | Y | PUBLIC | Small | 0 | PFAS/EC | 07/01/2024 | 03/31/2026 | 19787500 | 0 | 1 | Y | Y |  | 06/01/2023 | TREATMENT |  | MD0060003 | Y |  | 19787500 | 19500000
4 | 105 | BRIERCREST APARTMENTS WATER SERVICE | DW0122 | 60 | CONTAMINATED DRINKING WATER SOURCE SERVING 24 APARTMENT UNITS | CONSTRUCT 94 LF OF 8-IN WATER MAIN TO CONNECT APARTMENTS TO FREDERICK CO CAMBRIDGE FARMS WATER SYSTEM | RODNEY WINEBRENNER, FREDERICK CO MD | Frederick | 46 |  | Y | 2 | PUBLIC | Large | 0 | PFAS/EC | 10/01/2023 | 12/31/2023 | 121100 | 0 | 1 |  |  |  | 01/01/2023 | TRANSMISSION/DISTRIBUTION |  | MD0100004 | Y |  | 121178 | 121178
5 | 100 | SPRINGVIEW AND GILBERT MOBILE HOME PARKS WATER SERVICE | DW0121 | 150 | MOBILE HOME PARKS WITH PFAS CONTAMINATION EACH SERVED BY SINGLE WELL TO BE CONNECTED TO PUBLIC WATER | DESIGN AND CONSTRUCT APX 2,700 LF OF 8-IN WATER MAIN TO CONNECT TO FREDERICK CO NEW DESIGN WATER SYS | RODNEY WINEBRENNER, FREDERICK COUNTY | Frederick | 03 | 8 | Y | Y | PUBLIC | Large | 0 | PFAS/EC | 02/01/2024 | 11/30/2024 | 1195000 | 0 | 1 |  |  |  | 04/01/2023 | TRANSMISSION/DISTRIBUTION |  | MD0100030 | Y |  | 1195000 | 1195000
6 | 100 | CHESTERTOWN WTP UPGRADE 2023 | DW0062 | 5900 | CONTAMINANTS IN WELL WATER, DAMAGE TO ELECTRICAL DISTRIB BLDG, AND SHALLOW WELLS SUBJECT TO WATER INTRUSION | INSTALL TREATMENT FOR PFAS, RELOCATE ELECTRICAL DISTRIB BLDG, REHAB SHALLOW WELLS | ROBERT SIPES, TOWN OF CHESTERTOWN | Kent | 36 | 1 | Y | 2 | PUBLIC | Small | 0 | PFAS/EC | 04/01/2024 | 04/30/2025 | 7825000 | 1600000 | 1 | Y |  | G | 12/01/2021 | TREATMENT |  | MD0140002 | Y |  | 7825000 | 7825000
7 | 100 | NORTH EAST WATER QUALITY IMPROVEMENTS - TREATMENT AT ROLLING MILL WTP | DW0044 | 10738 | PAC IS MESSY AND HIGHLY COMBUSTIBLE | INSTALL A PERMANENT POWDER ACTIVATED CARBON (PAC) STORAGE AND FEED SYSTEM AT ROLLING MILL WTP | MELISSA MACKENZIE, TOWN OF NORTH EAST | Cecil | 35B | 1 | Y | Y | PUBLIC | Small | 1 |  | 11/01/2023 | 06/30/2024 | 250000 | 0 | 1 |  |  |  | 01/01/2023 | TREATMENT | Y | MD0070016 |  |  | 250000 | 172950
8 | 100 | NORTH EAST WATER QUALITY IMPROVEMENTS - TREATMENT AT LESLIE WTP | DW0043 | 10963 | PAC IS MESSY AND HIGHLY COMBUSTIBLE | INSTALL A PERMANENT POWDER ACTIVATED CARBON (PAC) STORAGE AND FEED SYSTEM AT LESLIE WTP | MELISSA MACKENZIE, TOWN OF NORTH EAST | Cecil | 35B | 1 | Y | Y | PUBLIC | Small | 1 |  | 11/01/2023 | 06/30/2024 | 330000 | 0 | 1 |  |  |  | 01/01/2023 | TREATMENT | Y | MD0070016 |  |  | 330000 | 250033
9 | 100 | NAYLOR MILL MHP WATER SYSTEM EXTENSION AND PFAS REMEDIATION | DW0098 | 39233 | ELEVATED PFAS LEVELS AT NAYLOR MILL MHP | EXTEND SALISBURY WATER SYSTEM TO NAYLOR MILL MHP TO PROVIDE WATER BELOW EPA HAL | CORI CAMERON, CITY OF SALISBURY | Wicomico | 37A | 1 | Y | 5 | PRIVATE | Large | 0 | PFAS/EC | 10/01/2024 | 04/30/2025 | 5079100 | 0 | 1 | Y | Y |  | 09/01/2023 | TRANSMISSION/DISTRIBUTION |  | MD0220004 | Y |  | 5079189 | 4874910
10 | 95 | PFAS PFOA MITIGATION WOODBINE VILLAGE MHP | DW0034 | 130 | PFAS PRESENT IN ALL 5 SUPPLY WELLS | TREAT WATER SUPPLY FROM EACH WELL WITH GRANULAR ACTIVATED CARBON TO REMOVE/REMEDIATE PFAS CONTAMINATION | JIANSUN DONG, WOODBINE VILLAGE LLC | Carroll | 05 | 3 | Y | 2 | PRIVATE | Small | 0 | PFAS/EC | 01/01/2024 | 12/31/2024 | 750000 | 0 | 1 |  | Y |  | 06/01/2023 | TREATMENT |  | MD0060203 | Y |  | 750000 | 750000
11 | 95 | NEWBURG DRIVE WATER MAIN REPLACEMENT | DW0074 | 518 | 58+ YEAR OLD CAST IRON MAINS WITH TUBERCULATION, WATER DISCOLORATION. FREQUENT BREAKS - EJ | REPLACE/REHAB 1.62 MI OF SMALL DIA (4-IN TO 12-IN) WATER MAINS | CAVILLE STANBURY-WOOLERY, WASHINGTON SUBURBAN SANITARY COMMISSION | Prince George's | 22 | 4 | Y | Y | PUBLIC | Large | 1 |  | 08/01/2024 | 02/28/2026 | 5773000 | 0 | 1 | Y | Y |  | 04/01/2018 | TRANSMISSION/DISTRIBUTION |  | MD0150005 |  |  | 5773000 | 5773000
12 | 95 | CITY OF ABERDEEN WATER TREATMENT PLANT-PFAS | DW0060 | 19200 | EXISTENCE OF SEVERAL REGULATED AND UNREGULATED CONTAMINANTS IN DRINKING WATER INCL PFAS - EJ | CONSTRUCT PFAS TREATMENT WITH GAC ABSORPTION AND MANGANESE GREENSAND FILTRATION | KYLE TORSTER, CITY OF ABERDEEN | Harford | 34A | 1 | Y | Y | PUBLIC | Large | 0 | PFAS/EC | 08/01/2024 | 01/31/2026 | 13972000 | 0 | 1 |  |  |  | 03/01/2023 | TREATMENT |  | MD0120001 | Y |  | 13972000 | 13972000
13 | 90 | KARLA LANE WATER MAIN REPLACEMENT | DW0073 | 253 | 80+ YEAR OLD CAST IRON MAINS WITH TUBERCULATION, WATER DISCOLORATION. FREQUENT BREAKS - EJ | REPLACE/REHAB 1.47 MI OF SMALL DIA (4-IN TO 8-IN) WATER MAINS | CAVILLE STANBURY-WOOLERY, WASHINGTON SUBURBAN SANITARY COMMISSION | Prince George's | 26 | 4 | Y | Y | PUBLIC | Large | 1 |  | 08/01/2024 | 08/31/2026 | 5280000 | 0 | 1 | Y | Y |  | 03/01/2020 | TRANSMISSION/DISTRIBUTION |  | MD0150005 |  |  | 5280000 | 5280000
14 | 90 | VILLAGE IN THE WOODS WATER MAIN REPLACEMENT | DW0075 | 560 | CAST IRON MAINS WITH TUBERCULATION, WATER DISCOLORATION. FREQUENT BREAKS BEYOND EXPECTED LIFE - EJ | REPLACE/REHAB 2.71 MI OF UNDERSIZED SMALL DIA (< 16-IN) WATER MAINS | CAVILLE STANBURY-WOOLERY, WASHINGTON SUBURBAN SANITARY COMMISSION | Prince George's | REG | 4 | Y | Y | PUBLIC | Large | 1 |  | 10/01/2024 | 09/30/2025 | 9623000 | 0 | 1 | Y | Y |  | 01/01/2019 | TRANSMISSION/DISTRIBUTION |  | MD0150005 |  |  | 9623000 | 9623000
15 | 90 | TOWN OF UNION BRIDGE PFAS EMERGING CONTAMINANT REMEDIATION | DW0037 | 1000 | TESTING INDICATES ELEVATED LEVELS OF PFAS | DESIGN AND IMPLEMENT A GRANULAR ACTIVATED CARBON PFAS TREATMENT | MIKE REYNOLDS, TOWN OF UNION BRIDGE | Carroll | 56 |  | Y | Y | PUBLIC | Small | 1 | PFAS/EC | 04/01/2024 | 01/31/2025 | 700000 | 0 | 1 | Y |  |  | 12/01/2022 | TREATMENT |  | MD0060013 | Y |  | 700000 | 675000
16 | 90 | TOWN OF HEBRON WATER STORAGE PROJECT | DW0102 | 1200 | REDUNDANCY NEEDED; NO BACKUP FOR EXISTING STORAGE TANK; GROWTH LIMITED | P/D/C 300,000 GAL ELEVATED STORAGE TANK, WITH DISINFECTION SYSTEM AND TWO WELLS (ONE FOR REDUNDANCY) | ROBERT D. RAUCH, COMMISSIONERS OF HEBRON | Wicomico | 37A | 1 | N | Y | PUBLIC | Small | 1 |  | 10/01/2023 | 04/30/2024 | 5230000 | 0 | 1 |  |  |  | 10/01/2022 | STORAGE |  | MD0220000 |  |  | 5230053 | 3888053
17 | 90 | BWC REDUCING LEAD IN DRINKING WATER SERVICE LINE REPLACEMENT | DW0026 | 2000 | GALVANIZED PIPING WITH BRASS FITTINGS THAT ARE 50-70 YEARS OLD | REPLACE APPROX 48,000 LF OF 2-IN OR LESS GALVANIZED SECONDARY SERVICE LINES UP TO EACH RESIDENTIAL WATER METER | JAMES STONE, BEACHES WATER CO-OP | Calvert | 27c | 5 | Y | Y | PRIVATE | Small | 0 |  | 09/01/2024 | 09/30/2026 | 1500000 | 0 | 1 | Y | Y |  | 06/01/2024 | TRANSMISSION/DISTRIBUTION |  | MD0040009 |  |  | 1500000 | 1500000
18 | 90 | SE ROCKVILLE WATER MAIN REHAB AND IMPROVEMENT - DISADVANTAGED COMMUNITIES | DW0066 | 5175 | AGING WATER SYSTEM - EJ | PLAN, DESIGN, AND CONSTRUCT APPROX 6,000 LF OF WATER MAINS WITHIN SOUTHEAST ROCKVILLE | MATTHEW BREW, CITY OF ROCKVILLE | Montgomery | 17 | 8 | Y | Y | PUBLIC | Large | 1 |  | 07/01/2024 | 10/31/2025 | 3000000 | 0 | 1 | Y | Y |  | 05/01/2023 | TRANSMISSION/DISTRIBUTION |  | MD0150003 |  |  | 3000000 | 3000000
19 | 90 | NORTH EAST WATER QUALITY IMPROVEMENT - SOURCE | DW0042 | 8600 | RAW WATER POND AT LESLIE WTP HAS ACCUMULATED SEDIMENT FROM NORTH EAST CREEK & NOT BEEN CLEANED FOR OVER 38 YEARS | DEWATER POND, EXCAVATE, LOAD, AND HAUL OFF ACCUMULATED SEDIMENT - INELIGIBLE FOR DWSRF | MELISSA MACKENZIE, TOWN OF NORTH EAST | Cecil | 35B | 1 | Y | Y | PUBLIC | Small | 1 |  | 09/01/2023 | 12/31/2023 | 830000 | 0 | 0 |  |  |  | 01/01/2023 | SOURCE |  | MD0070016 |  |  | 830000 | 665800
20 | 90 | CHERRY HILL WATER SERVICE-PFAS | DW0041 | 9703 | PFAS DETECTED IN STREAMS AND EXISTING DOMESTIC WELLS IN CHERRY HILL AREA | EXTEND ARTESIAN WATER MD DRINKING WATER TO ADJACENT PROPERTIES CONTAMINATED WITH PFAS | ADAM GOULD, ARTESIAN WATER MARYLAND INC | Cecil | 36 | 1 | Y | 3 | PRIVATE | Small | 1 | PFAS/EC | 12/01/2023 | 04/30/2024 | 2500000 | 0 | 1 |  |  |  | 04/01/2023 | TRANSMISSION/DISTRIBUTION |  | MD0070015 | Y |  | 2500000 | 2500000
21 | 85 | TWIN ARCH PARK LLC-PFAS | DW0038 | 20 | PFAS IN DRINKING WATER | INSTALL IX RESIN PFAS TREATMENT, BUILD NEW WATER PLANT BLDG & INSTALL WATER METERS ON HOMES TO REDUCE WATER CONSUMPTION | DANIEL SHIELDS, TWIN ARCH PARK LLC | Carroll | 05 | 3 | Y | Y | PRIVATE | Small | 0 | PFAS/EC | 08/01/2023 | 08/31/2024 | 249500 | 0 | 1 |  |  |  | 02/01/2023 | TREATMENT |  | MD0060218 | Y |  | 249500 | 249500
22 | 85 | PARKWOOD WATER MAIN REPLACEMENT PHASE I | DW0064 | 900 | 80+ YEAR OLD CAST IRON MAINS, TUBERCULATION IN SMALL DIA 8-IN & 10-IN MAINS | CONSTRUCT APPROX 3.09 MI OF SMALL DIA WATER MAINS AND HOUSE CONNECTIONS | CAVILLE STANBURY-WOOLERY, WASHINGTON SUBURBAN SANITARY COMMISSION | Montgomery | 18 | 8 | Y | Y | PUBLIC | Large | 0 |  | 11/01/2024 | 08/31/2026 | 11098000 | 0 | 1 | Y | Y |  | 11/01/2021 | TRANSMISSION/DISTRIBUTION |  | MD0150005 |  |  | 11098000 | 11098000
23 | 85 | WHITAKER WOODS WATER DISTRIBUTION SYSTEM | DW0045 | 1400 | PRIVATE WELLS ARE RUNNING DRY | EXTEND ARTESIAN WATER MD DRINKING WATER TO WHITAKER WOODS COMMUNITY | ADAM GOULD, ARTESIAN WATER MARYLAND INC. | Cecil | 35B | 1 | Y | Y | PRIVATE | Small | 1 |  | 05/01/2024 | 12/31/2024 | 2218000 | 0 | 1 |  |  |  | 01/01/2024 | TRANSMISSION/DISTRIBUTION |  | MD0070034 |  |  | 2218000 | 2218000
24 | 85 | MOUNTAIN LAKE PARK & LOCH LYNN HEIGHTS WATERLINE REPLACEMENT PROJECT | DW0058 | 3275 | 100+ YEAR OLD SYSTEM ADDED TO OVER TIME WITH NO STANDARDIZATION. SMALL DIAMETER PIPES. FREQUENT LEAKS. | REPLACE APPROX 133,075 LF OF WATER MAINS IN 5 PHASES | BOBBY WITT, GARRETT COUNTY SANITARY DISTRICT INC. | Garrett | 01A | 6 | Y | Y | PUBLIC | Small | 1 |  | 08/01/2023 | 09/30/2028 | 38134500 | 0 | 1 | Y | Y |  | 07/01/2022 | TRANSMISSION/DISTRIBUTION |  | MD0110007 |  |  | 38134549 | 38119549
25 | 85 | ROUTE 346 WATER SUPPLY AND TREATMENT PROJECT | DW0111 | 5025 | FRANKLIN AVE WELL INSTALLED IN 1948 HAS LOW YIELD | NEW WATER SUPPLY WELL AND TREATMENT SYSTEM AT EXISTING ELEV STORAGE TANK PROPERTY | MARY BOHLEN, TOWN OF BERLIN | Worcester | 38C | 1 | Y | Y | PUBLIC | Small | 1 |  | 11/01/2024 | 05/31/2025 | 867600 | 0 | 1 | Y | Y |  | 09/01/2023 | SOURCE |  | MD0230001 |  |  | 867640 | 867640
26 | 85 | THURMONT HUNTING CREEK FACILITY & WELL 7/8 FACILITY - GAC FILTERS FOR PFAS | DW0054 | 7700 | HUNTING CREEK AND WELL 7&8 FACILITY BOTH NEED GAC TREATMENT | DESIGN & CONSTRUCT GRANULAR ACTIVATED CARBON (GAC) FILTRATION SYSTEMS AT BOTH FACILITIES | HAROLD LAWSON, TOWN OF THURMONT | Frederick | 02A | 6 | Y | Y | PUBLIC | Small | 0 | PFAS/EC | 05/01/2024 | 06/30/2024 | 2380800 | 0 | 1 | Y |  |  | 07/01/2023 | TREATMENT |  | MD0100023 | Y |  | 2380850 | 2280850
27 | 80 | 827 MAYO ROAD LP | DW0007 | 35 | PFAS CONTAMINATION IN DRINKING WATER | DRILL NEW WELL OR EXTEND DEPTH OF CURRENT WELL | JACK HENLEY, 827 MAYO ROAD LP | Anne Arundel | 30A | 3 | Y | Y | PRIVATE | Small | 0 | PFAS/EC | 06/01/2024 | 12/31/2024 | 45000 | 0 | 1 |  |  |  | 01/01/2023 | SOURCE |  | MD1021462 | Y |  | 45000 | 45000
28 | 80 | CITY OF TANEYTOWN PFAS FUNDING | DW0032 | 10000 | HIGH PFAS IN WELL WATER. WELL #11 SHUT DOWN DUE TO PFAS. WELL #12 ALSO CONTAMINATED. | PFAS REMEDIATION | RANDY MYERS, CITY OF TANEYTOWN | Carroll | 05 | 2 | Y | Y | PUBLIC | Small | 0 | PFAS/EC |  |  | 2275000 | 0 | 1 | Y | Y |  |  | SOURCE |  | MD0060012 | Y |  | 2275000 | 2275000
29 | 80 | WATER MAIN REHAB AND IMPROVEMENT - ROCKVILLE | DW0068 | 65700 | OBSERVED AND MEASURED RESTRICTIONS IN FLOW RATES AND WATER MAIN BREAKS | PLAN, DESIGN, CONSTRUCT APPROX 21,000 LF WATER MAINS AT 16 SEPARATE LOCATIONS | MATTHEW BREW, CITY OF ROCKVILLE | Montgomery | 17 | 8 | Y | Y | PUBLIC | Large | 0 |  | 03/01/2024 | 10/31/2024 | 7950000 | 0 | 1 | Y | Y |  | 05/01/2022 | TRANSMISSION/DISTRIBUTION |  | MD0150003 |  |  | 7950000 | 7950000
30 | 75 | EASTON UTILITIES WELL NO. 14 | DW0084 | 20000 | LACK OF SYSTEM REDUNDANCY AND RESERVE CAPACITY | CONSTRUCT NEW PRODUCTION WELL | DOUG ABBOTT, EASTON UTILITIES | Talbot | 37B | 1 | Y | Y | PUBLIC | Large | 1 |  | 06/01/2024 | 06/30/2026 | 2490000 | 2445000 | 1 | Y | Y | E | 10/01/2022 | SOURCE |  |  |  |  | 2490000 | 2445000
31 | 75 | WESTMINSTER PFAS REMEDIATION | DW0040 | 38000 | NON-COMPLIANT WELL IS OFFLINE | DEVELOP PILOT PLAN AND CONSTRUCT PILOT TO TREAT 11 WELLS FOR PFAS | SARA IMHULSE, CITY OF WESTMINSTER | Carroll | 05 | 2 | Y | 2 | PUBLIC | Large | 1 | PFAS/EC | 09/01/2024 | 12/31/2024 | 4500000 | 0 | 1 | Y | Y |  | 10/01/2023 | SOURCE |  | MD0060015 | Y |  | 4500000 | 4500000
32 | 75 | WC-1199 ASHBURTON PUMPING STATION REHABILITATION | DW0113 | 1800000 | CONTINUED RELIABLE OPERATION OF AGING PUMPING STATION IN SUPPORT OF FINISHED WATER STORAGE | MODIFY PUMPING STATION TO SUPPORT WC-1211 UNDER ADMINISTRATIVE ORDER | ROBERT BURROS, BALTIMORE COUNTY | Baltimore City | 41 | 7 | Y | Y | PUBLIC | Large | 0 |  | 07/01/2024 | 08/31/2026 | 0 | 0 | 1 | Y | Y |  | 07/01/2014 | TRANSMISSION/DISTRIBUTION | Y | MD0300002 |  |  |  | 27144793
33 | 75 | WC-1199 ASHBURTON PUMPING STATION REHABILITATION | DW0012 | 1800000 | CONTINUED RELIABLE OPERATION OF AGING PUMPING STATION IN SUPPORT OF FINISHED WATER STORAGE REQUIREMENTS | MODIFY PUMPING STATION TO SUPPORT WC-1211 UNDER ADMINISTRATIVE ORDER | RICHARD LUNA, MAYOR AND CITY COUNCIL OF BALTIMORE | Baltimore City | 41 | 7 | Y | Y | PUBLIC | Large | 1 |  | 07/01/2024 | 08/31/2026 | 57754800 | 0 | 1 | Y | Y |  | 07/01/2014 | TRANSMISSION/DISTRIBUTION | Y | MD0300002 |  |  | 57754878 | 2010330
34 | 70 | DEHAVEN/MASON ROAD WATER PROJECT | DW0002 | 95 | 50+ YEAR OLD, SMALL DIA FAILING WATER LINES OF 2 SMALL PRIVATE WATER COMPANIES | REPLACE APPROX 8,000 FT WATER LINE + 35 WATER SERVICES & APPURTENANCES AND CONNECT TO ALLEGANY CO EAST REGION DISTRIB SYS | JAMES L. WEBBER, ALLEGANY COUNTY COMMISSIONERS | Allegany | 01B | 6 | Y | 5 | PUBLIC | Small | 1 |  | 11/01/2023 | 11/30/2024 | 1500000 | 0 | 1 |  |  |  | 08/01/2022 | TRANSMISSION/DISTRIBUTION |  | MD0010005 |  |  | 1500000 | 1500000
35 | 70 | RIDDLE FARM ELEVATED TANK REHAB | DW0110 | 1475 | ELEV STORAGE TANK NEEDS TO BE LOWERED, OPER PRESSURE REDUCED, WTP EFFLUENT PUMPS MODIFIED | REHAB AND UPGRADE EXISTING RIDDLE FARM ELEVATED STORAGE TANK | DALLAS BAKER JR., WORCESTER COUNTY | Worcester | 38C | 1 | Y | 2 | PUBLIC | Small | 0 |  | 12/01/2024 | 12/31/2025 | 2029400 | 0 | 1 |  |  |  | 09/01/2023 | STORAGE |  | MD0230019 |  |  | 2029490 | 2029490
36 | 70 | MYERSVILLE DEERWOODS FACILITY GAC FILTER FOR PFAS | DW0053 | 2800 | PFAS DETECTED IN WELL SAMPLE BY MDE | PILOT TEST, ACQUIRE, INSTALL GRANULAR ACTIVATED CARBON (GAC) FILTER TO DEERWOODS WELL | KRISTIN ALESHIRE, TOWN OF MYERSVILLE | Frederick | 04 | 6 | Y | Y | PUBLIC | Small | 0 | PFAS/EC | 05/01/2024 | 06/30/2024 | 781400 | 0 | 1 | Y |  |  | 07/01/2023 | TREATMENT |  | MD0100020 | Y |  | 781440 | 781440
37 | 70 | PRINCESS ANNE WATER SUPPLY AND TREATMENT IMPROVEMENTS | DW0080 | 3300 | DISCOLORED WATER, STAINING OF CLOTHES, FOUL ODORS, SKIN IRRITATION FROM WATER SUPPLY | INSTALL CARBON FILTERS AT WELL SITES, NEW SCADA, RADIOS, AND BACK-UP GENERATOR | ANTHONY STOCKUS, SOMERSET COUNTY SANITARY DISTRICT | Somerset | 38A | 1 | Y | 2 | PUBLIC | Small | 1 |  | 10/01/2024 | 06/30/2024 | 8279700 | 0 | 1 |  |  |  | 09/01/2023 | SOURCE |  | MD0190002 |  |  | 8279700 | 8249700
38 | 70 | MIDLAND GILMORE RAW WATER STORAGE TANK | DW0005 | 4500 | DAM IS RATED UNSAFE BY MDE DAM SAFETY | DECOMMISSION MIDLAND GILMORE RESERVOIR, RESTORE ELK LICK RUN STREAM, CONSTRUCT 6-MILLION GAL RAW WATER TANK | TYLER RAYNER, TOWN OF LONACONING | Allegany | 01A | 6 | Y | 2 | PUBLIC | Small | 1 |  | 10/01/2024 | 10/31/2026 | 11281500 | 0 | 1 |  |  |  | 08/01/2023 | STORAGE | Y | MD0010018 |  |  | 11281562 | 11281562
39 | 70 | MYSTIC HARBOUR WATER PLANT & BUILDING REHAB | DW0109 | 8458 | PLANT OVER 50 YEARS OLD WITH OUTDATED CONTROLS, NO AUTOMATION | REHAB BOTH WTP EQUIPMENT AND BUILDING TO IMPROVE OPERATIONS, CONDITIONS, & RELIABILITY | DALLAS BAKER JR., WORCESTER COUNTY | Worcester | 38C | 1 | Y | 2 | PUBLIC | Small | 0 |  | 11/01/2024 | 11/30/2025 | 2160400 | 0 | 1 |  |  |  | 06/01/2023 | OTHER |  | MD0230011 |  |  | 2160450 | 2148850
40 | 70 | COMMERCE WATER TREATMENT PLANT | DW0083 | 20000 | GLEBE WTP AT END OF USEFUL LIFE | ABANDON GLEBE WTP. MOVE TREATMENT TO NEW COMMERCE WTP | DOUG ABBOTT, EASTON UTILITIES | Talbot | 37B | 1 | Y | Y | PUBLIC | Large | 1 |  | 06/01/2024 | 06/30/2026 | 12025000 | 12025000 | 1 | Y | Y | E | 04/01/2021 | TREATMENT |  | MD0200003 |  |  | 12025000 | 12025000
41 | 65 | TOWN OF SMITHSBURG WATERLINE LOOP | DW0094 | 315 | LOW WATER FLOW AND PRESSURE ON E WATER ST | INSTALL 1,400 LF WATER LINE FROM S MAIN ST, ACROSS TOWN, TO E WATER ST | BRIAN BRANDT, TOWN OF SMITHSBURG | Washington | 02A | 6 | Y | Y | PUBLIC | Small | 0 |  | 01/01/2024 | 02/28/2024 | 408000 | 0 | 1 |  |  |  | 02/01/2023 | TRANSMISSION/DISTRIBUTION |  |  |  |  | 408000 | 408000
42 | 65 | CRESPATOWN WATER IMPROVEMENTS | DW0001 | 820 | 50+ YEAR OLD, SMALL, LEAKING WATER LINES AT END OF USEFUL LIFE | REPLACE APPROX 13,000 FT OF WATER LINE + 125 WATER SERVICES & APPURTENANCES WITH NEW WATER LINES AND LOOPED SYSTEMS WHERE POSSIBLE | JAMES L. WEBBER, ALLEGANY COUNTY COMMISSIONERS | Allegany | 01A | 6 | Y | 2 | PUBLIC | Small | 1 |  | 04/01/2024 | 12/31/2024 | 1600000 | 0 | 1 |  |  |  | 09/01/2023 | TRANSMISSION/DISTRIBUTION |  | MD0010005 |  |  | 1600000 | 1600000
43 | 65 | TOWN OF GRANTSVILLE WATER IMPROVEMENT PROJECT | DW0059 | 920 | APPROX 90 YEAR OLD AGING SYSTEM. FREQUENT BREAKS. POOR VALVES | CONSOLIDATE GRANTSVILLE WTP INTO GREEN WTP SITE, TREAT FOR IRON & MANGANESE, REPLACE MAINS, INSTALL SCADA | ROBIN JONES, TOWN OF GRANTSVILLE | Garrett | 01A | 6 | Y | Y | PUBLIC | Small | 1 |  | 08/01/2024 | 02/28/2025 | 11948600 | 0 | 1 | Y |  |  | 03/01/2023 | TREATMENT |  | MD0110005 |  |  | 11948600 | 8035000
44 | 65 | TOWN OF MT AIRY PFAS REMEDIATION PROJECT | DW0036 | 6365 | ALL 3 WATER STATIONS (MULTIPLE WELLS) SHOW PFAS CONTAMINATION | INSTALL ADDITIONAL TREATMENT TECHNOLOGIES TO REMOVE/REDUCE PFAS CONTAMINATION | BERNARD QUINN, TOWN OF MOUNT AIRY | Carroll | 05 | 3 | Y | Y | PUBLIC | Small | 0 | PFAS/EC | 03/01/2024 | 11/30/2024 | 6174000 | 0 | 1 |  |  |  | 06/01/2023 | TREATMENT |  | MD0060007 | Y |  | 6174000 | 6174000
45 | 65 | WC-1243 CROMWELL PUMPING STATION REHABILITATION | DW0013 | 1800000 | SAFE AND RELIABLE SERVICE TO WATER DISTRIBUTION SYSTEM - EJ | REPAIR, REPLACE, REHABILITATE EQUIPMENT AND SYSTEMS OF AGING PUMPING STATION | RICHARD LUNA, MAYOR AND CITY COUNCIL OF BALTIMORE | Baltimore County | 08 | 3 | Y | Y | PUBLIC | Large | 1 |  | 07/01/2024 | 03/31/2026 | 63617000 | 0 | 1 | Y | Y |  | 06/01/2015 | TRANSMISSION/DISTRIBUTION |  | MD0300002 |  |  | 63617046 | 9486000
46 | 65 | WC-1243 CROMWELL PUMPING STATION REHABILITATION | DW0115 | 1800000 | SAFE AND RELIABLE SERVICE TO WATER DISTRIBUTION SYSTEM - EJ | REPAIR, REPLACE, REHABILITATE EQUIPMENT AND SYSTEMS OF AGING PUMPING STATION | ROBERT BURROS, BALTIMORE COUNTY | Baltimore County | 08 | 3 | Y | Y | PUBLIC | Large | 0 |  | 07/01/2024 | 03/31/2026 | 0 | 0 | 1 | Y | Y |  | 06/01/2015 | TRANSMISSION/DISTRIBUTION |  | MD0300002 |  |  |  | 40714909
47 | 60 | FRIENDSVILLE WATER IMPROVEMENT PROJECT PHASE 1 WELLS | DW0055 | 623 | RAW WATER INTAKE FROM YOUGHIOGHENY RIVER DOES NOT MEET MDE REQUIREMENTS FOR SCREENING | CONSTRUCT NEW WELLS TO REPLACE EXISTING RIVER WATER INTAKE | BOBBY WITT, GARRETT COUNTY SANITARY DISTRICT INC. | Garrett | 01A | 6 | N | Y | PUBLIC | Small | 1 |  | 03/01/2024 | 07/31/2024 | 584200 | 0 | 1 |  |  |  | 07/01/2023 | STORAGE |  | MD0110000 |  |  | 584200 | 522100
48 | 60 | WELL #2 & #3 PFAS REMEDIATION | DW0070 | 6500 | ELEVATED LEVELS OF PFAS IN 2 WELLS | PILOT TEST ACTIVATED CARBON FILTRATION-WELL #3. PLAN, DESIGN, CONSTRUCT ACTIVATED CARBON FILTRATION-BOTH CONTAMINATED WELLS | WADE YOST, TOWN OF POOLESVILLE | Montgomery | 15 | 6 | Y | Y | PUBLIC | Small | 0 | PFAS/EC | 04/01/2024 | 06/30/2024 | 300000 | 0 | 1 | Y |  |  | 07/01/2023 | TREATMENT |  | MD0150002 | Y |  | 300000 | 300000
49 | 60 | TOWN OF BOONSBORO ALT 40 WATER LOOPING PROJECT | DW0091 | 7298 | DEAD END MAINS TO RESIDENTS RESULTS IN STAGNATION-NEEDS TO BE FLUSHED DAILY-NOT COST EFFECTIVE | CONSTRUCT LOOP FOR WATER LINE BACK INTO DISTRIBUTION SYSTEM TO PREVENT STAGNATION & LOSS OF FREE CHLORINE | PAUL MANTELLO, TOWN OF BOONSBORO | Washington | 02A | 6 | Y | 3 | PUBLIC | Small | 1 |  | 11/01/2024 | 07/31/2025 | 28000000 | 0 | 1 | Y | Y |  | 06/01/2024 | TRANSMISSION/DISTRIBUTION |  | MD0210002 |  |  | 28000000 | 26000000
50 | 55 | DEPOT STREET WATER PROJECT | DW0003 | 28 | 50+ YEAR OLD, FAILING, POORLY MAINTAINED SMALL DIAMETER (2 IN) WATER LINE OF SMALL PRIVATE WATER CO | REPLACE APPROX 3,000 FT NEW WATER LINE + 10 WATER SERVICES AND APPURTENANCES AND CONNECT TO ALLEGANY CO WEST REGION DISTRIB SYS | JAMES L. WEBBER, ALLEGANY COUNTY COMMISSIONERS | Allegany | 01B | 6 | Y | 2 | PUBLIC | Small | 1 |  | 03/01/2024 | 09/30/2024 | 600000 | 0 | 1 |  |  |  | 07/01/2023 | TRANSMISSION/DISTRIBUTION |  | MD0010009 |  |  | 600000 | 600000
51 | 55 | RISING SUN 274/273 INTERCONNECTION LOOP | DW0047 | 175 | PRIVATE WELLS WITH FAILING SEPTICS | INSTALL APPROX 5,800 LF 8-IN WATER MAIN TO HOMES WITH FAILING SEPTICS | CALVIN A BONENBERGER JR, TOWN OF RISING SUN | Cecil | 35B | 1 | N | 3 | PUBLIC | Small | 0 |  | 06/01/2024 |  | 1442000 | 0 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | MD0070021 |  |  | 1442040 | 1362040
52 | 55 | JONES CREEK WATERMAIN CROSSING | DW0081 | 188 | EXPOSED DUCTILE IRON RUNNING THROUGH STORM WATER CULVERTS, UNDER ROUTE 13, AND RR TRACKS-SUBJECT TO FREEZING/FAILURE | DESIGN, CONSTRUCT REPLACEMENT WATERMAIN CROSSING UNDER US ROUTE 13 & JONES CREEK MEETING CURRENT STANDARDS | ANTHONY STOCKUS, SOMERSET COUNTY SANITARY DISTRICT | Somerset | 38A | 1 | Y | Y | PUBLIC | Small | 1 |  | 08/01/2024 | 11/30/2024 | 310900 | 0 | 1 |  |  |  | 09/01/2023 | TRANSMISSION/DISTRIBUTION |  | MD0190002 |  |  | 310900 | 300900
53 | 55 | LCRR COMPLIANCE PROGRAM - INVENTORY - CITY OF BALTIMORE | DW0009 | 1600000 | IDENTIFY LEAD SERVICE LINES - EJ | PREPARE INVENTORY FOR ALL SERVICE LINES TO COMPLY WITH EPA LCRR REQUIREMENTS | RICHARD LUNA, MAYOR AND CITY COUNCIL OF BALTIMORE | Baltimore City | 46 | 7 | Y | Y | PUBLIC | Large | 1 | LSL | 06/01/2023 | 10/31/2024 | 30900000 | 0 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | MD0300002 |  | Y | 30900000 | 30900000
54 | 55 | LCRR COMPLIANCE PROGRAM - PROACTIVE REPLACEMENT - CITY OF BALTIMORE | DW0010 | 1600000 | REPLACE LEAD SERVICE LINES AS CONFIRMED BY FIELD INVESTIGATION - EJ | REPLACE LEAD SERVICE LINES FOR RESIDENTS AS UNCOVERED | RICHARD LUNA, MAYOR AND CITY COUNCIL OF BALTIMORE | Baltimore City | 46 | 7 | Y | Y | PUBLIC | Large | 1 | LSL | 06/01/2023 | 10/31/2024 | 25600000 | 0 | 1 |  |  |  | 01/01/2022 | TRANSMISSION/DISTRIBUTION |  | MD0300002 |  | Y | 25600000 | 25600000
55 | 55 | WC-1229 VERNON PUMPING STATION REHABILITATION | DW0011 | 1800000 | NEED TO REHABILITATE PUMPING STATION BUILT IN 1931 - EJ | REPAIR, REPLACE, REHABILITATE EQUIPMENT & SYSTEMS AT VERNON PUMPING STATION | RICHARD LUNA, MAYOR AND CITY COUNCIL OF BALTIMORE | Baltimore City | 43A | 7 | Y | Y | PUBLIC | Large | 1 |  | 09/01/2023 | 12/31/2024 | 76963800 | 0 | 1 | Y | Y |  | 09/01/2015 | TRANSMISSION/DISTRIBUTION |  | MD0300002 |  |  | 76963895 | 19209150
56 | 55 | WC-1229 VERNON PUMPING STATION REHABILITATION | DW0114 | 1800000 | NEED TO REHABILITATE PUMPING STATION BUILT IN 1931 - EJ | REPAIR, REPLACE, REHABILITATE EQUIPMENT & SYSTEMS AT VERNON PUMPING STATION | ROBERT BURROS, BALTIMORE COUNTY | Baltimore City | 43A | 7 | Y | Y | PUBLIC | Large | 0 |  | 09/01/2023 | 12/31/2024 | 0 | 0 | 1 | Y | Y |  | 09/01/2015 | TRANSMISSION/DISTRIBUTION |  | MD0300002 |  |  |  | 30785558
57 | 50 | GORMAN WATER SOURCE PROJECT | DW0056 | 368 | COLLAPSE OF PREVIOUS PRODUCTION WELL | CONSTRUCT NEW WELL TO REPLACE #2 THAT COLLAPSED, AND CONNECT TO EXISTING WATER TREATMENT | BOBBY WITT, GARRETT COUNTY SANITARY DISTRICT INC. | Garrett | 01A | 6 | Y | 2 | PUBLIC | Small | 0 |  | 09/01/2023 | 12/31/2024 | 2180400 | 0 | 1 |  |  |  | 04/01/2023 | SOURCE |  | MD0110012 |  |  | 2180486 | 2000000
58 | 50 | WC-1418 YALE HEIGHTS WATER MAIN REPLACEMENT | DW0023 | 763 | ENCRUSTED AND TUBERCULATED UNLINED CAST IRON PIPES - EJ | REPLACE AND REHAB APPROX 8,620 LF OF 6-IN TO 16-IN DIA WATER MAINS | RICHARD LUNA, MAYOR AND CITY COUNCIL OF BALTIMORE | Baltimore City | 41 | 7 | Y | Y | PUBLIC | Large | 1 |  | 10/01/2024 | 10/31/2025 | 7066600 | 0 | 1 | Y | Y |  | 09/01/2022 | TRANSMISSION/DISTRIBUTION |  | MD0300002 |  |  | 7066612 | 7066612
59 | 50 | WC-1282 WATER MAIN REPLACEMENT & REHABILITATION AT FRANKLIN SQUARE NEIGHBORHOOD | DW0014 | 1190 | ENCRUSTATION AND TUBERCULATION OF UNLINED CAST IRON PIPES - EJ | REPLACE AND REHAB APPROX 15,484 LF 4-IN TO 6-IN WATER MAINS | RICHARD LUNA, MAYOR AND CITY COUNCIL OF BALTIMORE | Baltimore City | 40 | 7 | Y | Y | PUBLIC | Large | 1 |  | 02/01/2024 | 03/31/2025 | 14944500 | 0 | 1 | Y | Y |  | 06/01/2022 | TRANSMISSION/DISTRIBUTION |  | MD0300002 |  |  | 14944599 | 14944599
60 | 50 | WC-1283 BALTIMORE ST & SMALLWOOD ST & REISTERSTOWN RD VICINITY WATER MAIN | DW0015 | 1308 | ENCRUSTATION AND TUBERCULATION OF UNLINED CAST IRON PIPES - EJ | REPLACE, REHABILITATE APPROX 17,379 LF OF 6-IN TO 12-IN DIA DW MAINS | RICHARD LUNA, MAYOR AND CITY COUNCIL OF BALTIMORE | Baltimore City | 40 | 7 | Y | Y | PUBLIC | Large | 1 |  | 03/01/2024 | 04/30/2025 | 12583300 | 0 | 1 | Y | Y |  | 07/01/2022 | TRANSMISSION/DISTRIBUTION |  | MD0300002 |  |  | 12583367 | 12583367
61 | 50 | SHARPSBURG WATER METER CRADLE REPLACEMENT | DW0090 | 1500 | WATER METERS AND CRADLES CONTAIN LEAD, NEW METERS IMPROVE ACCURACY | REPLACE WATER METERS AND CRADLES BECAUSE THEY CONTAIN LEAD | JOSEPH MOSS, WASHINGTON COUNTY BOARD OF COUNTY COMMISSIONERS | Washington | 02A | 6 | Y | 2 | PUBLIC | Small | 0 |  | 09/01/2023 | 03/31/2023 | 1000000 | 0 | 1 | Y | Y |  | 05/01/2022 | TRANSMISSION/DISTRIBUTION |  | MD0210017 |  |  | 1000000 | 700000
62 | 50 | TOWN OF HANCOCK WATERLINE REPLACEMENT | DW0092 | 2100 | OLD SERVICE MAINS AT END OF SERVICE LIFE WITH POTENTIAL LEAD SERVICE LATERALS | REPLACE 55,000 LF WATER MAIN + 1,320 LF EXTENSION TO CHEESE FACTORY, UPSIZE NEIGHBORING STS TO 6-IN MIN + APPURTENANCES | MICHAEL FAITH, TOWN OF HANCOCK | Washington | 01C | 6 | Y | Y | PUBLIC | Small | 1 |  | 08/01/2024 | 08/31/2025 | 22480000 | 0 | 1 | Y |  |  | 03/01/2023 | TRANSMISSION/DISTRIBUTION |  | MD0210012 |  |  | 22480000 | 22460000
63 | 50 | HURLOCK WELL #3 CONSTRUCTION | DW0049 | 2225 | ADDITIONAL SUPPLY CAPACITY FOR HURLOCK GROWTH AND SYSTEM REDUNDANCY | DRILL ADDITIONAL WELL TO SUPPLEMENT WATER SUPPLY TO HURLOCK | JOHN AVERY, TOWN OF HURLOCK | Dorchester | 37A | 1 | Y | 2 | PUBLIC | Small | 1 |  | 02/01/2024 | 09/30/2024 | 504900 | 0 | 1 |  |  |  | 06/01/2023 | SOURCE |  | MD0090005 |  |  | 504931 | 504931
64 | 50 | EMMITSBURG TRANSMISSION MAIN REPLACEMENT | DW0052 | 2770 | RUST, CORROSION, DISCOLORED WATER IN AGING CAST IRON WATER MAIN | REPLACE APPROX 12,700 LF OF 10-IN CAST IRON WITH 16-IN DUCTILE IRON PIPE | CATHY WILLETS, TOWN OF EMMITSBURG | Frederick | 02A | 6 | Y | 2 | PUBLIC | Small | 0 |  | 10/01/2024 | 07/31/2025 | 5865000 | 0 | 1 | Y |  |  | 10/01/2023 | TRANSMISSION/DISTRIBUTION |  | MD0100010 |  |  | 5865000 | 5840000
65 | 50 | DELMAR LEAD SERVICE LINE INVENTORY | DW0097 | 5825 | NO COMPREHENSIVE INVENTORY OF SERVICES COMPLIANT WITH EPA LCRR | COMPLETE LSL INVENTORY FOR WATER DISTRIBUTION SYSTEM | JEFF FLEETWOOD, TOWN OF DELMAR | Wicomico | 38B | 1 | Y | 2 | PUBLIC | Small | 0 | LSL | 03/01/2023 | 10/31/2024 | 362900 | 0 | 1 |  | Y |  |  | TRANSMISSION/DISTRIBUTION |  | MD0220001 |  | Y | 362984 | 362984
66 | 50 | BOONSBORO WATER DISTRIBUTION SYSTEM LEAD COMPONENT REPLACEMENT | DW0085 | 7830 | REPLACE KNOWN LSL MAINS TO HELP TOWN WITH EPA REQUIRED LCRR | REPLACE 5,000 LF KNOWN CAST IRON SERVICE MAINS & CONNECTORS | PAUL MANTELLO, TOWN OF BOONSBORO | Washington | 02A | 6 | Y | 2 | PUBLIC | Small | 1 |  | 11/01/2024 | 06/30/2025 | 1097000 | 0 | 1 | Y | Y |  | 06/01/2021 | TRANSMISSION/DISTRIBUTION |  | MD0210002 |  |  | 1097000 | 1000000
67 | 50 | WATER STORAGE FACILITY REHABILITATION PROGRAM | DW0076 | 1002795 | PAINTING, STRUCTURAL, ELECTRICAL & INSTRUMENTATION, MECHANICAL POOR CONDITION | REPAIR/REPLACE STRUCTURAL COMPONENTS, UPGRADE STRUCTURAL & MECHANICAL @ ANDREWS, GREENBELT, N WOODSIDE | THEON GROJEAN, WASHINGTON SUBURBAN SANITARY COMMISSION | Prince George's | 21 | 4 | Y | Y | PUBLIC | Large | 1 |  | 05/01/2024 | 05/31/2026 | 14850000 | 0 | 1 | Y | Y |  | 12/01/2022 | STORAGE |  | MD0150005 |  |  | 14850000 | 14850000
68 | 50 | WC-1396 MONTEBELLO PLANT 2 SEDIMENTATION BASINS STRUCTURAL REPAIR | DW0020 | 1800000 | DETERIORATION OF STRUCTURES CAUSING DAMAGE OR BLOCKAGE TO EQUIPMENT DRIVE AND UNSAFE WORKING CONDITIONS | REHAB & REPAIR CONCRETE & STRUCTURE OF SEDIMENTATION BASINS 5, 6, & 7 AT MONTEBELLO PLANT 2 | RICHARD LUNA, MAYOR AND CITY COUNCIL OF BALTIMORE | Baltimore City | 43A | 7 | Y | Y | PUBLIC | Large | 1 |  | 01/01/2024 | 12/31/2025 | 158603200 | 0 | 1 | Y | Y |  | 11/01/2018 | TREATMENT |  | MD0300002 |  |  | 158603227 | 7780050
69 | 50 | WC-1396 MONTEBELLO PLANT 2 SEDIMENTATION BASINS STRUCTURAL REPAIR | DW0118 | 1800000 | DETERIORATION OF STRUCTURES CAUSING DAMAGE OR BLOCKAGE TO EQUIPMENT DRIVE AND UNSAFE WORKING CONDITIONS | REHAB AND REPAIR CONCRETE & STRUCTURE OF SEDIMENTATION BASINS 5, 6, & 7 AT MONTEBELLO PLANT 2 | ROBERT BURROS, BALTIMORE COUNTY | Baltimore City | 43A | 7 | Y | Y | PUBLIC | Large | 0 |  | 01/01/2024 | 12/31/2025 | 0 | 0 | 1 | Y | Y |  | 11/01/2018 | TREATMENT |  | MD0300002 |  |  |  | 6344131
70 | 45 | WC-1317 PULASKI HWY CONKLING ST & VICINITY WATER MAIN REPLACEMENT & REHAB | DW0017 | 500 | ENCRUSTATION AND TUBERCULATION OF UNLINED CAST IRON PIPES - EJ | REPLACE AND REHABILITATE APPROX 12,111 LF OF 4-IN TO 16-IN DIA WATER MAINS | RICHARD LUNA, MAYOR AND COUNCIL OF BALTIMORE CITY | Baltimore City | 46 | 7 | Y | Y | PUBLIC | Large | 1 |  | 05/01/2024 | 12/31/2025 | 10414400 | 0 | 1 | Y | Y |  | 08/01/2022 | TRANSMISSION/DISTRIBUTION |  | MD0300002 |  |  | 10414481 | 5310894
71 | 45 | CLEAR SPRING WATER METERS | DW0087 | 1100 | FAULTY METERS, 26.8% WATER LOSS FROM 2021 AUDIT | REPLACE 277 WATER METERS WITH RADIO READ METERS | JUANITA K. GRIMM, TOWN OF CLEAR SPRING | Washington | 01C | 6 | Y | 2 | PUBLIC | Small | 1 |  | 10/01/2024 | 06/30/2024 | 364200 | 0 | 1 | Y |  |  | 12/01/2023 | TRANSMISSION/DISTRIBUTION |  | MD0210005 |  |  | 364266 | 364266
72 | 45 | WC-1316R BARCLAY NEIGHBORHOOD & VICINITY WATER MAIN REPLACEMENTS | DW0016 | 1398 | ENCRUSTATION AND TUBERCULATION OF UNLINED CAST IRON PIPES - EJ | REPLACE AND REHABILITATE APPROX 28,297 LF OF 4-IN TO 20-IN DIA WATER MAINS | RICHARD LUND, MAYOR AND CITY COUNCIL OF BALTIMORE | Baltimore City | 43A | 7 | Y | Y | PUBLIC | Large | 1 |  | 05/01/2024 | 12/31/2025 | 21931600 | 0 | 1 | Y | Y |  | 03/01/2022 | TRANSMISSION/DISTRIBUTION |  | MD0300002 |  |  | 21931644 | 21931644
73 | 45 | WATER MAIN REPLACEMENT-FUNKSTOWN | DW0095 | 1600 | HIGHLY DEGRADED WATER MAIN. MANY FAILURES, MORE FREQUENT REPAIRS. | REPLACE 905 LF 6-IN WITH 8-IN WATER MAIN & REMOVE GALVANIZED EQUIP | BRENDA HAYNE, TOWN OF FUNKSTOWN | Washington | 02A | 6 | Y | Y | PUBLIC | Small | 1 |  | 04/01/2024 | 06/30/2024 | 392400 | 0 | 1 |  |  |  | 01/01/2023 | TRANSMISSION/DISTRIBUTION |  | MD0210008 |  |  | 392464 | 322364
74 | 45 | WESTERNPORT LEAD SERVICE LINES | DW0006 | 2500 | INVENTORY SERVICE LINES AND IDENTIFY LEAD SERVICE LINES | HIRE CONTRACTOR TO DEVELOP AND MAINTAIN SERVICE LINE INVENTORIES | AARON LATTANZIA, TOWN OF WESTERNPORT | Allegany | 01A | 6 | Y | 2 | PUBLIC | Small | 1 | LSL | 08/01/2023 | 07/31/2024 | 388800 | 0 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | MD0010033 |  | Y | 388800 | 388800
75 | 45 | SE ROCKVILLE WATER METER REPLACEMENT AND AMI IMPLEMENTATION - DAC COMMUNITIES | DW0067 | 4140 | METERS ON WATER MAINS REACHING END OF USEFUL LIFE - EJ | REPLACE 10 LARGE (3-IN+) & 27 COMPOUND (2-IN) WATER METERS WITH AMI COMPLIANT METERS | MATTHEW BREW, CITY OF ROCKVILLE | Montgomery | 17 | 8 | Y | Y | PUBLIC | Large | 1 |  | 02/01/2024 | 10/31/2025 | 2080000 | 0 | 1 | Y | Y |  | 05/01/2023 | TRANSMISSION/DISTRIBUTION |  | MD0150003 |  |  | 2080000 | 2080000
76 | 45 | LONACONING LEAD SERVICE LINES INVENTORY | DW0004 | 4500 | NEED TO IDENTIFY LEAD SERVICE LINES TO TARGET LINES TO BE REPLACED | HIRE COMPANY TO DEVELOP AND MAINTAIN SERVICE LINE INVENTORIES PER EPA LEAD & COPPER RULE REVISIONS | TYLER RAYNER, TOWN OF LONACONING | Allegany | 01A | 6 | Y | 2 | PUBLIC | Small | 1 | LSL | 08/01/2023 | 07/31/2024 | 388800 | 0 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | MD0010018 |  | Y | 388800 | 388800
77 | 45 | BERLIN LEAD SERVICE LINE INVENTORY | DW0106 | 5025 | NO EXISTING CATALOG OF WATER SERVICES TO COMPLY WITH EPA LCRR | CATALOG ALL WATER SERVICES WITHIN WATER DISTRIBUTION SYSTEM | MARY BOHLEN, TOWN OF BERLIN | Worcester | 38A | 1 | Y | 2 | PUBLIC | Small | 1 | LSL | 03/01/2023 | 10/31/2024 | 172000 | 0 | 1 | Y |  |  |  | TRANSMISSION/DISTRIBUTION |  | MD0230001 |  | Y | 172040 | 172040
78 | 45 | BERLIN LEAD SERVICE LINE REPLACEMENT PHASE I | DW0107 | 5025 | KNOWN LEAD SERVICE LINES - FIRST PHASE OF REPLACEMENTS | REPLACE APPROX 241 LEAD SERVICE LINES ALONG WILLIAM ST, BROAD ST, MAIN ST, & BAY ST | MARY BOHLEN, TOWN OF BERLIN | Worcester | 38A | 1 | Y | 2 | PUBLIC | Small | 1 | LSL | 11/01/2024 | 04/30/2025 | 1126400 | 0 | 1 | Y |  |  | 10/01/2023 | TRANSMISSION/DISTRIBUTION |  | MD0230001 |  | Y | 1126400 | 1126400
79 | 45 | BRUNSWICK WATER TREATMENT PLANT UPGRADES - CHAIN & FLIGHT | DW0124 | 11268 | MECHANICAL PRETREATMENT NOT PART OF CURRENT PROCESS WHICH CAUSES WEAR/TEAR ON EQUIPMENT | CONSTRUCT CHAIN AND FLIGHT SLUDGE REMOVAL AND COLLECTION SYSTEM IN THE CLARIFIER TO REMOVE SOLIDS | ABIGAIL INGRAM, CITY OF BRUNSWICK | Frederick | 04 | 6 | Y | Y | PUBLIC | Small | 1 |  | 05/01/2024 | 09/30/2024 | 1290000 | 0 | 1 |  |  |  | 11/01/2023 | TREATMENT |  | MD0100005 |  |  | 1290000 | 1290000
80 | 45 | BRUNSWICK WATER TREATMENT UPGRADES - SHORE INTAKE | DW0050 | 11268 | EXISTING INTAKE IN CENTER CHANNEL OF POTOMAC R; REQUIRES CLEANING BY DIVER 3X/YR BUT MORE OFTEN WHEN ALGAE LEVELS RISE | CONSTRUCT A NEW INTAKE ALONG THE SHORELINE | ABIGAIL INGRAM, CITY OF BRUNSWICK | Frederick | 04 | 6 | Y | Y | PUBLIC | Small | 1 |  | 05/01/2024 | 09/30/2024 | 3520000 | 0 | 1 |  |  |  | 11/01/2023 | SOURCE |  | MD0100005 |  |  | 3520000 | 3520000
81 | 45 | CITY OF BRUNSWICK LEAD LINE INVENTORY | DW0051 | 11268 | MAP OF BRUNSWICK WATERLINES IDENTIFIED WITH POTENTIALLY LEAD NECKS | EMPLOY 3RD PARTY TO HELP IDENTIFY AREAS THAT MAY HAVE LEAD SERVICE LINES OR LEAD PARTS | MATTHEW CAMPBELL, MAYOR AND COUNCIL OF BRUNSWICK | Frederick | 02A | 2 | Y | 2 | PUBLIC | Small | 1 | LSL | 07/01/2024 | 10/31/2024 | 60000 | 0 | 1 | Y |  |  |  | TRANSMISSION/DISTRIBUTION |  | MD0100005 |  | Y | 60000 | 60000
82 | 45 | WC-1377 ASHBURTON WFP LOW LIFT PUMP CONTROLS & POWER UPGRADE | DW0018 | 1800000 | TRANSFORMER AND SWITCHGEAR OVER 30 YEARS OLD AND SEVERAL COMPONENTS IN POOR CONDITION | UPGRADE POWER SUPPLY AND CONTROLS FOR LOW LIFT PUMP SYSTEM AT ASHBURTON WFP | RICHARD LUNA, MAYOR AND CITY COUNCIL OF BALTIMORE | Baltimore City | 41 | 7 | Y | Y | PUBLIC | Large | 1 |  | 09/01/2025 | 11/30/2026 | 13814500 | 0 | 1 | Y | Y |  | 11/01/2022 | TREATMENT |  | MD0300002 |  |  | 13814500 | 6082621
83 | 45 | WC-1377 ASHBURTON WFP LOW LIFT PUMP CONTROLS & POWER UPGRADE | DW0116 | 1800000 | TRANSFORMER AND SWITCHGEAR OVER 30 YEARS OLD AND SEVERAL COMPONENTS IN POOR CONDITION | UPGRADE POWER SUPPLY AND CONTROLS FOR LOW LIFT PUMP SYSTEM AT ASHBURTON WFP | ROBERT BURROS, BALTIMORE COUNTY | Baltimore City | 41 | 7 | Y | Y | PUBLIC | Large | 0 |  | 09/01/2025 | 11/30/2026 | 0 | 0 | 1 | Y | Y |  | 11/01/2022 | TREATMENT |  | MD0300002 |  |  |  | 5510604
84 | 40 | TOWN OF QUEENSTOWN WATER SERVICE LINE INVENTORY | DW0078 | 913 | HIGH LIKELIHOOD OF LEAD PIPE AND FITTINGS | INVENTORY LEAD SERVICE LINES TO COMPLY WITH EPA LCRR | ROBERT D. RAUCH, COMMISSIONERS OF QUEENSTOWN | Queen Anne's | 36 | 1 | Y | 2 | PUBLIC | Small | 0 | LSL | 09/01/2023 | 09/30/2024 | 431600 | 0 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | MD0170003 |  | Y | 431636 | 431636
85 | 40 | TOWN OF RIDGELY WATER TOWER REDUNDANCY PROJECT - TANK | DW0028 | 1875 | POTENTIAL WATER STORAGE DEFICIT, INC. FOR FIRE FLOW | CONSTRUCT AN ADDITIONAL WATER STORAGE TOWER TO INCREASE CAPACITY AND ALLOW EXISTING TANK TO BE MAINTAINED | STEPHANIE BERKEY, COMMISSIONERS OF RIDGELY | Caroline | 36 | 1 | Y | Y | PUBLIC | Small | 1 |  | 07/01/2024 | 07/31/2025 | 4665400 | 0 | 1 |  |  |  | 09/01/2023 | STORAGE |  | MD0050006 |  |  | 4665415 | 4665415
86 | 40 | TOWN OF RIDGELY WATER TOWER REDUNDANCY PROJECT - TREATMENT | DW0029 | 1900 | NEW INFRASTRUCTURE NEEDED TO MEET WATER SYSTEM STANDARDS OF OPERATION | CONSTRUCT NEW TREATMENT PLANT TO SERVE NEW WATER TOWER (DW0028/25) | STEPHANIE BERKEY, COMMISSIONERS OF RIDGELY | Caroline | 36 | 1 | Y | Y | PUBLIC | Small | 1 |  | 07/01/2024 | 07/31/2025 | 245100 | 0 | 1 |  |  |  | 09/01/2023 | TREATMENT |  | MD0050006 |  |  | 245121 | 245121
87 | 40 | TOWN OF RIDGELY WATER TOWER REDUNDANCY PROJECT - WELL | DW0031 | 1900 | NEW INFRASTRUCTURE NEEDED TO MEET WATER SYSTEM STANDARDS OF OPERATION | CONSTRUCT NEW WELL TO CONNECT TO NEW WATER TOWER (DW0028/25) | STEPHANIE BERKEY, COMMISSIONERS OF RIDGELY | Caroline | 36 | 1 | Y | Y | PUBLIC | Small | 1 |  | 07/01/2024 | 07/31/2025 | 133200 | 0 | 1 |  |  |  | 09/01/2023 | SOURCE |  | MD0050006 |  |  | 133248 | 133248
88 | 40 | WSSC LEAD SERVICE LINE INVENTORY | DW0071 | 9500 | TUBE-LOY (A 99.7% LEAD ALLOY) USED DURING 1940S FOR SERVICE LINES | DEVELOP LEAD SERVICE LINE INVENTORY TO COMPLY WITH LCRR | JIN SHIN, WASHINGTON SUBURBAN SANITARY COMMISSION | WSSC | REG | 4 | Y | Y | PUBLIC | Large | 0 | LSL | 07/01/2023 | 12/31/2023 | 1080000 | 0 | 1 | Y | Y |  |  | TRANSMISSION/DISTRIBUTION |  | MD0150005 |  | Y | 1080000 | 1080000
89 | 40 | WSSC LEAD SERVICE LINE REPLACEMENT PROGRAM | DW0072 | 9500 | TUBE-LOY (A 99.7% LEAD ALLOY) USED DURING 1940S FOR SERVICE LINES. APPROX 2,000 PRIVATE LINES MAY NEED REPLACEMENT | REPLACE LEAD SERVICE LINES IDENTIFIED BY LEAD SERVICE LINE INVENTORY | JIN SHIN, WASHINGTON SUBURBAN SANITARY COMMISSION | WSSC | REG | REG | Y | Y | PUBLIC | Large | 0 | LSL | 01/01/2024 | 12/31/2028 | 30240000 | 0 | 1 | Y | Y |  | 02/01/2023 | TRANSMISSION/DISTRIBUTION |  | MD0150005 |  | Y | 30240000 | 30240000
90 | 40 | BRUNSWICK WATER TREATMENT PLANT UPGRADES - CLEAR WELL | DW0125 | 11268 | EXISTING CLEAR WELL IS IN LOWER LEVEL OF WTP BUILDING AND NEAR END OF USEFUL LIFE | CONSTRUCT NEW CLEAR WELL TO THE WEST OF THE WTP | ABIGAIL INGRAM, CITY OF BRUNSWICK | Frederick | 04 | 6 | Y | Y | PUBLIC | Small | 1 |  | 05/01/2024 | 09/30/2024 | 740000 | 0 | 1 |  |  |  | 11/01/2023 | STORAGE |  | MD0100005 |  |  | 740000 | 740000
91 | 40 | SERVICE LINE INVENTORY DESIGN-CITY OF ABERDEEN | DW0061 | 19200 | DEVELOP INITIAL INVENTORY OF LEAD SERVICES LINES UNDER LCRR | RESEARCH HISTORICAL RECORDS TO DEVELOP LEAD SERVICE LINE INVENTORY | COSTA MAISTROS, CITY OF ABERDEEN | Harford | 34A | 1 | Y | 2 | PUBLIC | Large | 0 | LSL | 01/01/2023 | 07/01/2024 | 150000 | 0 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | MD0120001 |  | Y | 150000 | 150000
92 | 40 | BALTIMORE COUNTY LEAD SERVICE LINE INVENTORY PROGRAM-DISADVANTAGED COMM | DW0025 | 257083 | RECORDS REVIEW INDICATES APPROX 90% OF WATER DISTRIB LINES INSTALLED PRIOR TO 03/30/1989 | DEVELOP LEAD SERVICE LINE INVENTORY TO COMPLY WITH LCRR WITHIN DISADVANTAGED COMMUNITIES BOUNDARIES | ERIN MCKENNA-STREYLE, BALTIMORE COUNTY | Baltimore County | 44B | 2 | Y | 2 | PUBLIC | Large | 1 | LSL | 12/01/2022 | 04/30/2025 | 6509000 | 0 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | MD0300002 |  | Y | 6509000 | 6509000
93 | 40 | BALTIMORE COUNTY LEAD SERVICE LINE INVENTORY PROGRAM | DW0024 | 504188 | RECORDS REVIEW INDICATES APPROX 73% OF WATER DISTRIB LINES INSTALLED PRIOR TO 03/30/1989 | DEVELOP LEAD SERVICE LINE INVENTORY TO COMPLY WITH LCRR | ERIN MCKENNA-STREYLE, BALTIMORE COUNTY | Baltimore County | 42B | 3 | Y | 2 | PUBLIC | Large | 0 | LSL | 12/01/2022 | 04/30/2025 | 30419000 | 0 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | MD0300002 |  | Y | 30419000 | 30419000
94 | 35 | TOWN OF PRESTON LEAD SERVICE LINE INVENTORY | DW0027 | 400 | DEFINE AND EXECUTE A PLAN TO COMPLY WITH LCRR | INVENTORY OF LEAD SERVICE LINES | AMBER KORELL, TOWN OF PRESTON | Caroline | 37b | 1 | Y | Y | PUBLIC | Small | 0 | LSL | 03/01/2023 | 10/31/2024 | 30000 | 0 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | MD0050005 |  | Y | 30000 | 30000
95 | 35 | SHARPTOWN LEAD SERVICE LINE INVENTORY | DW0105 | 625 | COMPLETE INVENTORY TO COMPLY WITH EPA LCRR | CATALOG ALL WATER SERVICES WITHIN THE WATER DISTRIBUTION SYSTEM | P. DOUGLAS GOSNELL, COMMISSIONERS OF SHARPTOWN | Wicomico | 37B | 1 | Y | Y | PUBLIC | Small | 0 | LSL | 03/01/2023 | 10/31/2024 | 60000 | 0 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | MD0220005 |  | Y | 60000 | 60000
96 | 35 | ROCK HALL LEAD SERVICE LINE INVENTORY | DW0063 | 1050 | NO COMPREHENSIVE MAP SHOWING LEAD SERVICE LINES | CONTRACT TO DEVELOP AND MAINTAIN SERVICE LINE INVENTORIES TO COMPLY WITH EPA LCRR | ROBERT RESELE, TOWN OF ROCK HALL | Kent | 36 | 1 | Y | 2 | PUBLIC | Small | 1 | LSL | 08/01/2023 | 10/31/2024 | 545000 | 0 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  |  |  | Y | 545000 | 545000
97 | 35 | CLEAR SPRING LEAD SERVICE INVENTORY | DW0086 | 1100 | NO SERVICE LINE INVENTORY TO COMPLY WITH EPA LCRR | HIRE OUTSOURCED COMPANY TO DEVELOP & MAINTAIN SERVICE LINE INVENTORY | JUANITA K. GRIMM, TOWN OF CLEAR SPRING | Washington | 01C | 6 | Y | 2 | PUBLIC | Small | 1 | LSL | 10/01/2023 | 10/31/2024 | 98700 | 0 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | MD0210005 |  | Y | 98712 | 98712
98 | 35 | TOWN OF HEBRON WATER STORAGE - WATER MAIN | DW0101 | 1200 | SYSTEM LACKS REDUNDANCY; NEW INFRASTRUCTURE NEEDED TO MEET WATER SYSTEM STANDARD OF OPERATION | NEW WATER MAIN TO CONNECT NEW TOWER TO EXISTING WATER SYSTEM | ROBERT D. RAUCH, COMMISSIONERS OF HEBRON | Wicomico | 37A | 1 | N | Y | PUBLIC | Small | 1 |  | 10/01/2023 | 04/30/2024 | 260900 | 0 | 1 |  |  |  | 10/01/2022 | TRANSMISSION/DISTRIBUTION |  | MD0220002 |  |  | 260944 | 260944
99 | 35 | PITTSVILLE LEAD SERVICE LINE INVENTORY | DW0100 | 1500 | COMPREHENSIVE INVENTORY OF SERVICES COMPLIANT WITH EPA LCRR | COMPLETE LEAD SERVICE LINE INVENTORY | JOSEPH MANGINI, TOWN OF PITTSVILLE | Wicomico | 38C | 1 | Y | Y | PUBLIC | Small | 0 | LSL | 03/01/2023 | 10/31/2024 | 100000 | 0 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | MD0220009 |  | Y | 100000 | 100000
100 | 35 | TOWN OF CENTREVILLE LEAD & COPPER LINE INVENTORY | DW0077 | 2125 | SOME MAINS AND SERVICES INSTALLED PRIOR TO 1913 | PREPARE LEAD SERVICE LINE INVENTORY TO COMPLY WITH LCRR | CLIFFORD MATTHEWS, CENTREVILLE TOWN COUNCIL | Queen Anne's | 36 | 1 | Y | Y | PUBLIC | Small | 0 | LSL | 02/01/2023 | 10/31/2024 | 52000 | 0 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | MD0170001 |  | Y | 52074 | 52074
101 | 35 | HURLOCK LEAD SERVICE LINE INVENTORY | DW0048 | 2150 | CATALOG ALL WATER SERVICE IN HURLOCK TO COMPLY WITH EPA LCRR | PREPARE LEAD SERVICE LINE INVENTORY FOR TOWN OF HURLOCK | JOHN AVERY, TOWN OF HURLOCK | Dorchester | 37A | 1 | Y | 2 | PUBLIC | Small | 1 | LSL | 03/01/2023 | 12/31/2024 | 93200 | 0 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | MD0090005 |  | Y | 93250 | 93250
102 | 35 | SNOW HILL LEAD SERVICE LINE INVENTORY | DW0112 | 2410 | NO EXISTING CATALOG OF EXISTING WATER SERVICES TO MEET EPA LCRR | CATALOG OF ALL WATER SERVICES WITHIN SYSTEM | RICK POLLITT, TOWN OF SNOW HILL | Worcester | 38A | 1 | Y | 2 | PUBLIC | Small | 1 | LSL | 03/01/2023 | 10/31/2024 | 258400 | 0 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | MD0230007 |  | Y | 258484 | 258484
103 | 35 | TOWN OF SMITHSBURG WATER STREET WATER PROJECT | DW0093 | 3250 | AGING WATER INFRASTRUCTURE | REPLACE APPROX 1 MI WATER LINE E WATER ST FROM SMITHSBURG CAR WASH TO MD 64 | BRIAN BRANDT, TOWN OF SMITHSBURG | Washington | 02A | 6 | Y | Y | PUBLIC | Small | 0 |  | 09/01/2024 | 09/30/2025 | 1342000 | 0 | 1 |  |  |  | 07/01/2023 | TRANSMISSION/DISTRIBUTION |  | MD0210018 |  |  | 1342000 | 842000
104 | 35 | CRISFIELD LEAD SERVICE LINE INVENTORY | DW0079 | 3928 | AT LEAST 75% OF HOUSING IN CRISFIELD BUILT BEFORE 1986 | PREPARE LEAD SERVICE LINE INVENTORY THROUGH USE OF OUTSIDE CONTRACTOR | JENNIFER MERRITT, CITY OF CRISFIELD | Somerset | 38A | 1 | Y | 2 | PUBLIC | Small | 1 | LSL | 10/01/2023 | 10/31/2024 | 80000 | 0 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | MD0190001 |  | Y | 80000 | 80000
105 | 35 | LEAD SERVICE LINE INVENTORY FOR GARRETT COUNTY | DW0057 | 5043 | NO COMPREHENSIVE INVENTORY OF GARRETT COUNTY LEAD SERVICE LINES | SURVEY AND UPDATE COMPREHENSIVE INVENTORY OF LEAD SERVICE LINES IN GARRETT COUNTY | DALE BAKER, GARRETT COUNTY SANITARY DISTRICT INC. | Garrett | 01A | 6 | Y | 2 | PUBLIC | Small | 1 | LSL | 01/01/2023 | 10/31/2024 | 154500 | 0 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | MDREG |  | Y | 154550 | 77275
106 | 35 | CITY OF POCOMOKE SERVICE LINE INVENTORIES AND LEAD SERVICE LINE REPLACEMENTS | DW0108 | 6900 | NO COMPLETE INVENTORY OF LEAD SERVICE LINES IN THE CITY | TO INVENTORY LEAD SERVICE LINES FOR COMPLIANCE WITH EPA LCRR | JEREMY MASON, CITY OF POCOMOKE | Worcester | 38 | 1 | Y | 2 | PUBLIC | Small | 1 | LSL | 02/01/2023 | 10/31/2024 | 25000 | 0 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | MD0230006 |  | Y | 25000 | 25000
107 | 35 | SOMERSET COUNTY SANITARY DISTRICT LEAD SERVICE LINE INVENTORY | DW0082 | 7500 | NO COMPREHENSIVE INVENTORY OF WATER SERVICES | COMPLETE LEAD SERVICE INVENTORY FOR SOMERSET COUNTY SANITARY DISTRICT TO COMPLY WITH EPA LCRR | ANTHONY STOCKUS, SOMERSET COUNTY SANITARY DISTRICT | Somerset | 38A | 1 | Y | 2 | PUBLIC | Small | 1 | LSL | 03/01/2023 | 12/31/2024 | 826600 | 0 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | MD0190002 |  | Y | 826660 | 826660
108 | 35 | ROCKVILLE WATER METER REPLACEMENT AND AMI IMPLEMENTATION | DW0069 | 15600 | METERS REACHING END OF USEFUL LIFE | INSTALL 3,300 ULTRASONIC WATER METERS WITH AMI AND AMI INFRASTRUCTURE | MATTHEW BREW, CITY OF ROCKVILLE | Montgomery | 17 | 8 | Y | Y | PUBLIC | Large | 0 |  | 04/01/2023 | 08/31/2027 | 3490000 | 0 | 1 | Y | Y |  | 04/01/2024 | TRANSMISSION/DISTRIBUTION |  | MD0150003 |  |  | 3490000 | 3490000
109 | 35 | WESTMINSTER MD 140 PARALLEL WATER MAIN | DW0039 | 38000 | REPAIRING A MAIN BREAK 18 FT BELOW MD 140 WOULD BE TREACHEROUS TO STAFF AND COMPLETELY SHUT DOWN MD 140 | INSTALL APPROX 1,150 LF NEW 12-IN CLASS 52 DUCTILE IRON PIPE BELOW MD 140 TO REPLACE 14-IN CAST IRON MAIN FEED | SARA IMHULSE, CITY OF WESTMINSTER | Carroll | 05 | 2 | Y | Y | PUBLIC | Large | 1 |  | 09/01/2024 | 06/30/2025 | 1650000 | 0 | 1 | Y | Y |  | 10/01/2023 | TRANSMISSION/DISTRIBUTION |  | MD0060015 |  |  | 1650000 | 1500000
110 | 35 | LEAD AND COPPER RULE REVISION PROGRAM-CITY OF HAGERSTOWN | DW0089 | 108600 | COMPLY WITH EPA LCRR | HIRE PROFESSIONAL ENGR FIRM TO DEVELOP, MANAGE, IMPLEMENT LCRR | NANCY HAUSRATH, CITY OF HAGERSTOWN | Washington | 02B | 6 | Y | 2 | PUBLIC | Large | 1 | LSL | 07/01/2023 | 09/30/2024 | 450000 | 0 | 1 | Y | Y |  |  | TRANSMISSION/DISTRIBUTION |  | MD0210010 |  | Y | 450000 | 450000
111 | 35 | ANNE ARUNDEL COUNTY LEAD AND COPPER GAP INVENTORY | DW0008 | 444450 | IDENTIFY LEAD SERVICE LINES | APPROX 58,000 SERVICE LINES NOT IDENTIFIED IN COUNTY MAINTENANCE RECORDS | CHRISTOPHER MURPHY, ANNE ARUNDEL COUNTY DPW | Anne Arundel | 30A | 3 | Y | 2 | PUBLIC | Large | 0 | LSL | 07/01/2022 | 10/31/2024 | 2476200 | 0 | 1 | Y | Y |  |  | TRANSMISSION/DISTRIBUTION |  | MD0020008 |  | Y | 2476217 | 2030000
112 | 35 | WC-1382 MONTEBELLO I FINISHED RESERVOIR STRUCTURAL REHABILITATION PHASE I | DW0019 | 1800000 | WATER INFILTRATION AND LOSS, NEED TO IMPROVE RESISTANCE TO SEISMIC EVENTS | STRUCTURAL REHAB OF UNDERGROUND FINISHED WATER RESERVOIR AT MONTEBELLO PLANT 1 | RICHARD LUNA, MAYOR AND CITY COUNCIL OF BALTIMORE | Baltimore City | 43A | 7 | Y | Y | PUBLIC | Large | 1 |  | 01/01/2024 | 12/31/2025 | 29905200 | 0 | 1 | Y | Y |  | 11/01/2018 | TREATMENT |  | MD0300002 |  |  | 29905206 | 14644800
113 | 35 | WC-1382 MONTEBELLO I FINISHED RESERVOIR STRUCTURAL REHABILITATION-PHASE I | DW0117 | 1800000 | WATER INFILTRATION AND LOSS, NEED TO IMPROVE RESISTANCE TO SEISMIC EVENTS | STRUCTURAL REHAB OF UNDERGROUND FINISHED WATER RESERVOIR AT MONTEBELLO PLANT 1 | ROBERT BURROS, BALTIMORE COUNTY | Baltimore City | 43A | 7 | Y | Y | PUBLIC | Large | 0 |  | 01/01/2024 | 12/31/2025 | 0 | 0 | 1 | Y | Y |  | 11/01/2018 | TREATMENT |  | MD0300002 |  |  |  | 11962082
114 | 30 | TOWN OF RIDGELY WATER TOWER REDUNDANCY PROJECT - WATER MAIN | DW0030 | 1900 | NEW INFRASTRUCTURE NEEDED TO MEET WATER SYSTEM STANDARDS OF OPERATION | CONSTRUCT NEW WATER MAIN TO CONNECT TO EXISTING TOWN SYSTEM | STEPHANIE BERKEY, COMMISSIONERS OF RIDGELY | Caroline | 36 | 1 | Y | Y | PUBLIC | Small | 1 |  | 07/01/2024 | 07/31/2025 | 378900 | 0 | 1 |  |  |  | 09/01/2023 | TRANSMISSION/DISTRIBUTION |  | MD0050006 |  |  | 378924 | 378924
115 | 30 | SCADA IMPROVEMENTS - ROCKVILLE | DW0065 | 65700 | OUTDATED & OBSOLETE PROGRAMMABLE LOGIC CONTROLLERS (PLCs) AND MODULES | REPLACE OBSOLETE PROGRAMMABLE LOGIC CONTROLLERS | MATTHEW BREW, CITY OF ROCKVILLE | Montgomery | 17 | 8 | Y | 2 | PUBLIC | Large | 0 |  | 01/01/2024 | 04/30/2024 | 500000 | 0 | 1 | Y | Y |  |  | TREATMENT |  | MD0150003 |  |  | 500000 | 500000
116 | 30 | WC-1397 MONTEBELLO WFP 1&2 CENTRAL CONTROL PANEL UPGRADES | DW0021 | 1800000 | AGING CONTROL SYSTEMS CRITICAL TO WFP PERFORMANCE | REPLACE FILTER CONTROL PANELS AT MONTEBELLO FILTRATION PLANTS 1 & 2 | RICHARD LUNA, MAYOR AND CITY COUNCIL OF BALTIMORE | Baltimore City | 43A | 7 | Y | Y | PUBLIC | Large | 1 |  | 10/01/2023 | 04/30/2025 | 7676300 | 0 | 1 | Y | Y |  | 07/01/2019 | TREATMENT |  | MD0300002 |  |  | 7676375 | 3661200
117 | 30 | WC-1397 MONTEBELLO WFP 1&2 CENTRAL CONTROL PANEL UPGRADES | DW0119 | 1800000 | AGING CONTROL SYSTEMS CRITICAL TO WFP PERFORMANCE | REPLACE FILTER CONTROL PANELS AT MONTEBELLO FILTRATION PLANTS 1 & 2 | ROBERT BURROS, BALTIMORE COUNTY | Baltimore City | 43A | 7 | Y | Y | PUBLIC | Large | 0 |  | 10/01/2023 | 04/30/2025 | 0 | 0 | 1 | Y | Y |  | 07/01/2019 | TREATMENT |  | MD0300002 |  |  |  | 3070550
118 | 30 | WC-1408 MONTEBELLO PLANT 2 ELECTRICAL SUBSTATION REPAIRS | DW0022 | 1800000 | FACILITY CONSTRUCTED IN 1928 IN CRITICAL NEED TO REHAB, REPLACEMENT, & UPGRADES | REPLACE 2.4KV ELECTRICAL SUBSTATION AT MONTEBELLO PLANT 2 WITH A 15KV SUBSTATION WITH FEEDERS AND REPLACE SWITCHBOARD | RICHARD LUNA, MAYOR AND CITY COUNCIL OF BALTIMORE | Baltimore City | 43A | 7 | Y | Y | PUBLIC | Large | 1 |  | 10/01/2023 | 09/30/2025 | 8920000 | 0 | 1 | Y | Y |  | 12/01/2019 | TREATMENT |  | MD0300002 |  |  | 8920000 | 2440800
119 | 30 | WC-1408 MONTEBELLO PLANT 2 ELECTRICAL SUBSTATION REPAIRS | DW0120 | 1800000 | FACILITY CONSTRUCTED IN 1928 IN CRITICAL NEED TO REHAB, REPLACEMENT, & UPGRADES | REPLACE 2.4KV ELECTRICAL SUBSTATION AT MONTEBELLO PLANT 2 WITH A 15KV SUBSTATION WITH FEEDERS AND REPLACE SWITCHBOARD | ROBERT BURROS, BALTIMORE COUNTY | Baltimore City | 43A | 7 | Y | Y | PUBLIC | Large | 0 |  | 10/01/2023 | 09/30/2025 | 0 | 0 | 1 | Y | Y |  | 12/01/2019 | TREATMENT |  | MD0300002 |  |  |  | 3568000
120 | 25 | CLEAR SPRING WTP GENERATOR | DW0088 | 1100 | NO BACKUP GENERATOR. UNABLE TO WITHDRAW & TREAT RAW WATER WITHOUT POWER OUTAGE | INSTALL EMERGENCY POWER SYSTEM FOR CLEAR SPRINGS PUMP HOUSES AND CHLORINE BLDG | JUANITA K. GRIMM, TOWN OF CLEAR SPRING | Washington | 01C | 6 | Y | Y | PUBLIC | Small | 1 |  |  |  | 100000 | 0 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | MD0210005 |  |  | 100000 | 100000
121 | 20 | PFAS STUDY AT PALEO AND PARK WATER TREATMENT PLANTS IN CITY OF SALISBURY | DW0099 | 39233 | DETECTABLE LEVELS OF PFAS IN WELLS | PLANNING STUDY TO DETERMINE REMEDIATION STRATEGY FOR PFAS | CORI CAMERON, CITY OF SALISBURY | Wicomico | 38B | 1 | Y | 2 | PUBLIC | Large | 1 | PFAS/EC |  |  | 175000 | 0 | 1 | Y | Y |  |  | OTHER |  | MD0220004 | Y |  | 175000 | 175000
122 | 10 | ZONE #5 STUDY AND IMPROVEMENTS | DW0096 | 9000 | FIRE PROTECTION, ESTHETICALLY PLEASING WATER | STUDY TO PLAN/CONSTRUCT IMPROVEMENTS TO ZONE #5 AND OTHER PARTS OF WATER SYSTEM | NANCY HAUSRATH, CITY OF HAGERSTOWN - UTILITIES DEPARTMENT | Washington | 02B | 6 | Y | 2 | PUBLIC | Large | 1 |  | 04/01/2025 | 06/30/2026 | 10000000 | 0 | 1 | Y | Y |  | 01/01/2024 | TRANSMISSION/DISTRIBUTION |  | MD0210010 |  |  | 10000000 | 8000000
TOTAL | [18 empty] | 945080400 | 16070000 | [10 empty] | 945082642 | 704750132