## PPL FY2024 SFY2026
Rank | Points | Project Title | Project Number | Benefited Population | Problem Description | Project Description | Applicant Name | County | Leg District | Cong District | W/S | PFA | Public/Private | System Size | Disadvantaged | Special Flag | Start Date | End Date | Total Cost ($) | Green Cost ($) | MDE Funding Requested ($) | CD Code | Audit | Plan | Green Type | Design Date | Project Type | Compliance | Loan Type | PWSID | PFAS/EC | LSL | Total Cost ($) | MDE Requested Funding ($)
1 | 155 | FRUITLAND WTP PFAS UPGRADES | DW0042 | 7800 | WELLS (FOUR) ARE MAIN RAW WATER SOURCE FOR THE CITY; TESTED POSITIVE PFAS; WTP NOT DESIGNED TO TREAT EMERGING CONTAMINANTS | P/D/C TWO NEW WELLS IN CONFINED AQUIFER; INSTALL ADDITIONAL TREATMENT PROCESSES UPSTREAM; INSTALL ASSOC PIPING TO RECYCLE H2O | MARC HENDERSON, CITY OF FRUITLAND MD | Wicomico | 38B | 1 | Y | Y | PUBLIC | Small | 1 | PFAS/EC | 12/01/2025 | 12/31/2026 | 5317662 | 65000 | 5317662 | 1 | Y |  | W | 08/01/2024 | TREATMENT | Y | LOAN UNWANTED | MD0220008 | Y |  | 5317662 | 5317662
2 | 135 | NEW WATER TREATMENT PLANT - MOUNT ST. MARY'S UNIVERSITY | DW0079 | 4000 | NEED TO ADDRESS SYSTEM RESILIENCY/VULNERABILITY AND INCREASE SUPPLY VOLUME TO MEET FUTURE DEMAND | P/D/C INSTALLATION OF NEW WTP TO TREAT WELLS 3 AND 6, INCLUDING NEW TRANSMISSION MAINS, PFAS REMOVAL CAPABILITIES, ETC. | WILLIAM E DAVIES, MOUNT SAINT MARY'S UNIVERSITY | Frederick | 02A | 6 | Y | 3 | PRIVATE | Small | 0 | PFAS/EC | 01/01/2025 | 12/31/2025 | 4840000 | 0 | 4840000 | 1 |  |  |  | 08/01/2023 | OTHER | Y | LOAN INTEREST | MD0100019 | Y |  | 4840000 | 4840000
3 | 125 | PLUMPTON PARK ZOO WATER EXTENSION | DW0032 | 3500 | HIGH NITRATES ABOVE MCL IN DW WELLS SERVING THE ZOO (NONPROFIT NONCOMMUNITY WATER SYSTEM) | CONSTRUCT 3150 LF 8 INCH WATER LINE TO CONNECT THE ZOO TO PUBLIC WATER (TOWN OF RISING SUN) | CALVIN A BONENBERGER JR, TOWN OF RISING SUN | Cecil | 35B | 1 | N | Y | PUBLIC | Small | 0 |  | 07/01/2025 | 06/30/2026 | 747565 | 0 | 671565 | 2 |  |  |  |  | TRANSMISSION/DISTRIBUTION | Y | LOAN INTEREST | MD0070021 |  |  | 747565 | 671565
4 | 115 | INDEPENDENCE VILLAGE SYSTEM UPGRADE | DW0035 | 88 | SYSTEM IS AGING AND LACKS REDUNDANCY; EMERGENCY REPAIRS ARE INCREASING DIFFICULT FOR THE COMMUNITY TO AFFORD | D/C INSTALL BACKUP WELL, REPLACE STORAGE TANK W/LARGER, INSTALL BACKUP GENERATOR; REPLACE WELL PUMP | JULIA YOUNG, INDEPENDENCE WATER COMPANY INC | Charles | 28 | 8 | N | 3 | PRIVATE | Small | 0 |  | 03/01/2025 | 06/30/2025 | 713357 | 0 | 703357 | 1 |  |  |  | 06/01/2024 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0080019 |  |  | 713357 | 703357
5 | 115 | PRINCESS ANNE WATER SUPPLY AND TREATMENT IMPROVEMENTS | DW0003 | 3478 | PRIMARILY HIGH TTHMs, TANNINS AND IRON CAUSING TASTE/ODOR/COLOR COMPLAINTS FROM 4 WELLS; SECONDARILY PFAS IN 1 WELL | D/C INSTALL GRANULATED CARBON FILTERS AT 4 LOCATIONS WITH ASSOC PIPING, RINSE DISPOSAL, & BACKUP GENERATOR - EJ | ANTHONY STOCKUS, SOMERSET COUNTY SANITARY DISTRICT | Somerset | 38A | 1 | Y | 2 | PUBLIC | Small | 1 |  | 12/01/2025 | 12/31/2026 | 6635200 | 0 | 6590200 | 1 |  |  |  | 09/01/2024 | TREATMENT |  | LOAN INTEREST | MD0190002 |  |  | 6635200 | 6590200
6 | 115 | MANCHESTER WATER TREATMENT PLANT IMPROVEMENTS | DW0024 | 5900 | PFAS CONTAMINATION | P/D/C NEW WATER TREATMENT PLANT WITH GAC OR IX MEDIA TO REMOVE PFAS, 2 4-IN RAW WATER MAINS, 1 6-IN TREATED WATER MAIN | ALEXIANDER J PERRICONE, TOWN OF MANCHESTER | Carroll | 05 | 2 | Y | Y | PUBLIC | Small | 0 | PFAS/EC | 12/01/2025 | 12/31/2027 | 6532500 | 0 | 6504000 | 1 | Y | Y |  | 04/01/2024 | TREATMENT | Y | LOAN INTEREST | MD0060006 | Y |  | 6532500 | 6504000
7 | 115 | TOWN OF MT AIRY TWIN ARCH MOBILE HOME PARK WATER SUPPLY PROJECT | DW0026 | 7000 | PFAS DETECTED IN TWIN ARCH VILLAGE MHP WELL. REQUEST BY MDE TO CONNECT TO MT AIRY SYSTEM. | P/D/C 100 LF NEW WATER MAIN, WATER METER & VAULT, FIRE HYDRANT, ABANDONMENT OF TWIN ARCH MHP CONTAMINATED WELL | BERNARD QUINN, TOWN OF MT AIRY | Carroll | 05 | 3 | Y | Y | PUBLIC | Small | 0 | PFAS/EC | 10/01/2025 | 12/31/2025 | 173700 | 0 | 173700 | 1 |  |  |  | 01/01/2025 | TRANSMISSION/DISTRIBUTION | Y | LOAN INTEREST | MD0060007 | Y |  | 173700 | 173700
8 | 110 | TOWN OF UNION BRIDGE PFAS EMERGING CONTAMINANT REMEDIATION | DW0028 | 1200 | ELEVATED LEVELS OF PFAS/PFOA IN WELLS SERVING COMMUNITY WATER SYSTEM; GAC PROPOSED AS TREATMENT SOLUTION | D/C REQ $ FOR LAB STUDY AND PILOT TESTING REQUIRED BY MDE TO VERIFY EFFICACY OF TREATMENT SOLUTION | MIKE REYNOLDS, TOWN OF UNION BRIDGE | Carroll | 4 | 6 | Y | 2 | PUBLIC | Small | 1 | PFAS/EC | 06/01/2025 | 12/31/2025 | 826000 | 0 | 126000 | 1 |  |  |  | 12/01/2023 | TRANSMISSION/DISTRIBUTION | Y | LOAN INTEREST | MD0060013 | Y |  | 826000 | 126000
9 | 105 | TANEYTOWN WELL 11 & 12 PFAS FILTER INSTALLATION | DW0029 | 8500 | PFOA AND PFOS ABOVE INTERIM HEALTH ADVISORY LEVELS IN WELLS 11 & 12 | PILOT STUDY AND P/D/C OF GAC FILTRATION SYSTEM AT THE WELL 11 & 12 FACILITY | RANDY MYERS, CITY OF TANEYTOWN | Carroll | 5 | 2 | Y | Y | PUBLIC | Small | 0 | PFAS/EC | 03/01/2025 | 12/31/2025 | 1565950 | 0 | 1565950 | 1 | Y | Y |  | 03/01/2024 | TREATMENT | Y | LOAN INTEREST |  | Y |  | 1565950 | 1565950
10 | 105 | WELL #5 SYSTEM-WIDE ARSENIC MITIGATION TREATMENT PLANT | DW0021 | 9865 | ARSENIC PROBLEM IN LOW-PRESSURE ZONE | P/D/C NEW WELL #5, ARSENIC MITIGATION TREATMENT PLANT (IF NEEDED), AND FINISHED STORAGE FOR LOW-PRESSURE ZONE | HEATHER KEIFLINE, CHESAPEAKE RANCH WATER COMPANY | Calvert | 27C | 5 | Y | Y | PRIVATE | Small | 0 |  |  |  | 1074000 | 0 | 1024000 | 1 |  |  |  |  | TREATMENT |  | LOAN INTEREST | MD0040004 |  |  | 1074000 | 1024000
11 | 100 | POCOMOKE CITY CIPP LINING MARKET STREET MAINS (PHASE 2) | DW0050 | 4075 | RUST AND CONTAMINANTS IN WATER SYSTEM | P/D/C 3,340 LF WATER MAIN ON MARKET ST USING CIPP LINING | MICHELLE BECKETT EI-SOLOH, POCOMOKE CITY | Worcester | 38A | 1 | Y | Y | PUBLIC | Small | 1 |  | 11/01/2025 | 10/31/2026 | 2500000 | 0 | 2102000 | 1 | Y |  |  | 06/01/2023 | TRANSMISSION/DISTRIBUTION |  | LOAN UNWANTED | MD0230006 |  |  | 2500000 | 2102000
12 | 100 | TOWN OF MT AIRY WATER STATION 2 & 5 PFAS REMEDIATION PROJECT | DW0027 | 7000 | PFAS DETECTED IN MT AIRY WATER SUPPLY AT STATIONS 1,2,3,& 5. STATIONS 1 & 3 FUNDED BY MDE. REQUESTING FUNDING FOR 2 & 5 | P/D/C PFAS TREATMENT AT WATER STATIONS 1 & 3 WITH ION EXCH OR ADSORPTION W/ GAC TO COMPLETE TREATMENT OF MT AIRY WATER | BERNARD QUINN, TOWN OF MOUNT AIRY | Carroll | 05 | 3 | Y | 2 | PUBLIC | Small | 0 | PFAS/EC | 04/01/2025 | 12/31/2025 | 4163000 | 0 | 4163000 | 1 |  |  |  | 06/01/2024 | TREATMENT | Y | LOAN INTEREST | MD0060007 | Y |  | 4163000 | 4163000
13 | 99 | TOWN OF POOLESVILLE - WELL #2 AND #3 PFAS TREATMENT | DW0075 | 6500 | WELLS #2 & 3 HAVE ELEVATED LEVELS OF PFAS. WELL SUPPLY APPROX. 23% OF WS. | C MDE APPROVED GAC FILTRA UNITS ON WELL #3; WELL #2 NEEDS DUAL BED HPAV-5000 SKID MOUNT FILTR. SYSTEM; 2&3 NEED ENCLO STRUCTU | WADE YOST, TOWN OF POOLESVILLE | Montgomery | 15 | 6 | Y | Y | PUBLIC | Small | 0 | PFAS/EC | 04/01/2025 | 07/01/2025 | 760000 | 0 | 700000 | 1 | Y |  |  | 07/01/2024 | TREATMENT | Y | LOAN INTEREST | MD0150002 | Y |  | 760000 | 700000
14 | 95 | WOODBINE VILLAGE PFOS/PFAS MITIGATION | DW0030 | 130 | ELEVATED LEVELS OF PFOA AND PFOS IN GROUNDWATER SOURCE OF WOODBINE VILLAGE DRINKING WATER | PILOT STUDY TO DETERMINE EFFICACY OF GAC, THE PROPOSED TREATMENT SOLUTION | JIANXUN DONG, WOODBINE VILLAGE LLC | Carroll | 5 | 3 | Y | 2 | PRIVATE | Small | 0 | PFAS/EC | 04/01/2025 | 12/31/2025 | 830000 | 0 | 80000 | 1 |  |  |  | 06/01/2024 | TREATMENT | Y | LOAN INTEREST | MD0060203 | Y |  | 830000 | 80000
15 | 95 | HERRING CREEK WATER MAIN INTERCONNECT | DW0043 | 1738 | CONSOLIDATION IS NEEDED TO PROVIDE WATER RESOURCE REDUNDANCY AND ADDRESS PRESSURE LOSS ISSUES AND WATER SHORTAGES | CONSTRUCT 3,000 LF OF 8 INCH WATER MAIN TO CONNECT MYSTIC HARBOUR & RIDDLE FARM; 1,050 LF 14 INCH DIRECTIONAL DRILL; FIRE HYDRANTS | DALLAS BAKER JR, COMMISSIONERS OF WORCESTER COUNTY | Worcester | 38C | 1 | N | 3 | PUBLIC | Small | 1 |  | 10/01/2024 | 04/30/2025 | 2753415 | 0 | 2695650 | 1 |  |  |  | 06/01/2023 | OTHER |  | LOAN INTEREST | MD0230019 |  |  | 2753415 | 2695650
16 | 94 | MYERSVILLE ASHLEY WELL PFAS FILTER INSTALLATION | DW0038 | 2800 | ASHLEY HILLS FACILITY TESTED ABOVE INTERIM HEALTH ADVISORY LEVELS FOR PFOA AND PFOS. | P/D/C/ PILOT TESTING, ACQUISITION, AND INSTALLATION OF A GAC FILTRATION SYSTEM | KRISTIN AILESHIRE, TOWN OF MYERSVILLE | Frederick | 4 | 6 | Y | Y | PUBLIC | Small | 0 | PFAS/EC | 01/01/2025 | 12/31/2025 | 879450 | 0 | 879450 | 1 | Y | Y |  | 02/02/2024 | TREATMENT | Y | LOAN INTEREST |  | Y |  | 879450 | 879450
17 | 90 | BR7273A22 KENT VILLAGE WATER MAIN REPLACEMENT | DW0063 | 1050 | DW SERVICE LOSS OF PRESSURE; QUANTITY WATER SHORTAGE - EJ | D/C TRANSMISSION LINES & DISTRIBUTION MAINS NEED REPLACEMENT OF DETERIORATED INFRASTRUCTURE | CAVILLE STANBURY-WOOLERY, WASHINGTON SUBURBAN SANITARY COMMISSION | Prince George's | 47A | 4 | Y | Y | PUBLIC | Large | 1 |  | 08/01/2025 | 04/23/2028 | 9274646 | 0 | 9274646 | 1 | Y | Y |  | 11/22/2021 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0150005 |  |  | 9274646 | 9274646
18 | 90 | WESTERLY SUB-DIVISION WATER LINE REPLACEMENT POOLESVILLE | DW0076 | 6500 | RAPID DETERIORATION; CONSTANT RUPTURES; MULTIPLE LEAKS & REPAIRS RE HOUSING CONNECTIONS | C REPLACE WMs WITH DUCTILE IRON PIPING HOUSE CONNECTIONS & APPROX 70 VALVES. | WADE YOST, TOWN OF POOLESVILLE | Montgomery | 15 | 6 | Y | Y | PUBLIC | Small | 0 |  | 07/01/2025 | 12/01/2025 | 3000000 | 0 | 2880000 | 1 | Y |  |  | 01/01/2025 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0150002 |  |  | 3000000 | 2880000
19 | 90 | EASTON UTILITIES WELL NO. 14 | DW0010 | 21000 | SYSTEM RELIABILITY; REDUNDANCY; DEPLETION OF GROUNDWATER RESOURCES | D/C FINAL DESIGN & CONSTRUCT NEW PRODUCTION WELL & WELL BUILDING | REBECCA SADUK, EASTON UTILITIES | Talbot | 37B | 1 | Y | Y | PUBLIC | Large | 1 |  | 06/01/2025 | 06/30/2026 | 2490000 | 2445000 | 2445000 | 1 | Y | Y | E | 10/01/2022 | SOURCE |  | LOAN INTEREST | MD0200003 |  |  | 2490000 | 2445000
20 | 90 | ROCKVILLE DAC (TRACT 7011.02) WATER MAIN REHAB AND IMPROVEMENT | DW0059 | 65700 | ADDRESS LOW FLOW TUBERCULATED PIPES, VALVES, VAULTS & APPURTENANCES; WM BREAK MITIGATION; & INCREASE FIRE FLOW & MORE | C REPLACE 6,750 LF OF CITY OWNED 6 INCH WM TO 8 INCH WM - EJ | YAOLIN FENNELL, CITY OF ROCKVILLE | Montgomery | 17 | 8 | Y | Y | PUBLIC | Large | 1 |  | 12/30/2025 | 07/30/2026 | 3220000 | 0 | 3220000 | 1 | Y | Y |  | 01/01/2024 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0150003 |  |  | 3220000 | 3220000
21 | 85 | PICKERING CIRCLE WATER MAIN REPLACEMENT | DW0065 | 283 | AGING INFRASTRUCTURE FREQUENT BREAKS, CORRODED PIPES, AND TUBERCULATION PUBLIC HEALTH CONCERN - EJ | C TRANSMISSION & DIST. INFRASTRUCTURE REPLACEMENT | CAVILLE STANBURY-WOOLERY, WASHINGTON SUBURBAN SANITARY COMMISSION | Prince George's | 25 | 5 | Y | Y | PRIVATE | Large | 1 |  | 11/01/2024 | 08/30/2026 | 4277050 | 0 | 4277050 | 1 | Y | Y |  | 09/01/2020 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0150005 |  |  | 4277050 | 4277050
22 | 85 | FURMAN PKWY WATER MAIN REPLACEMENT | DW0064 | 318 | AGING INFRASTRUCTURE FREQUENT BREAKS, CORRODED PIPES, AND TUBERCULATION PUBLIC HEALTH CONCERN - EJ | D/C TRANSMISSION & DIST. INFRASTRUCTURE REPLACEMENT | CAVILLE STANBURY-WOOLERY, WASHINGTON SUBURBAN SANITARY COMMISSION | Prince George's | 22 | 4 | Y | Y | PUBLIC | Large | 1 |  | 08/01/2025 | 08/30/2027 | 11508489 | 0 | 11508489 | 1 | Y | Y |  | 08/01/2022 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0150005 |  |  | 11508489 | 11508489
23 | 85 | ALEXANDRIA DRIVE WATER MAIN REPLACEMENT | DW0090 | 325 | AGED CAST-IRON PIPES HAVE DETERIORATED CAUSING 14 WM BREAKS IN 5 YEARS. OTHERS ARE UNDERSIZED FOR CURRENT FLOW STANDARDS - EJ | C REPLACE/REHAB VIA STRUCTURAL LINING & CATHODIC PROTECTION OF WM. WM COMPONENTS INCLUDING METER & PRV ARE REPLACED AS NEEDED | CANVILLE STANBURY-WOOLERY, WASHINGTON SUBURBAN SANITARY COMMISSION | Prince George's | 26 | 4 | Y | 2 | PUBLIC | Large | 1 |  | 09/01/2025 | 10/01/2027 | 5295886 | 0 | 5295886 | 1 | Y | Y |  | 08/21/2020 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0150005 |  |  | 5295886 | 5295886
24 | 85 | BROOKRIDGE WATER TREATMENT PLANT PFAS REMOVAL | DW0001 | 588 | 2 WELLS CONTAMINATED PFAS/PFOS | P/D/C MOST ECONOMIC TREATMENT PROCESS OF GAC TREATMENT OR ION EXCHANGE TREATMENT | BRUCE A CARBAUGH, BURGESS AND COMMISSIONERS OF MIDDLETOWN | Frederick | 4 | 8 | Y | Y | PUBLIC | Small | 0 | PFAS/EC | 03/01/2025 | 12/31/2025 | 925000 | 0 | 925000 | 1 |  |  |  | 07/01/2024 | TREATMENT | Y | LOAN UNWANTED | MD0100018 | Y |  | 925000 | 925000
25 | 85 | TOWN OF HEBRON DRINKING WATER STORAGE AND REDUNDANCY PROJECT | DW0047 | 1113 | WATER DISTRIBUTION SYSTEM AGED; IMPROVEMENTS NEEDED TO IMPROVE EFFICIENCY, INCREASE CAPACITY/STORAGE & IMPROVE WATER QUALITY | P/D/C NEW TOWER, TWO NEW WELLS, WATER TREATMENT FACILITY AND DISINFECTION SYSTEM, AND 8 INCH WATER MAIN | ROBERT D RAUCH, COMMISSIONERS OF HEBRON | Wicomico | 37A | 1 | N | Y | PUBLIC | Small | 1 |  | 09/01/2024 | 03/31/2025 | 4701078 | 0 | 3359078 | 1 | Y |  |  | 03/01/2021 | OTHER |  | LOAN INTEREST | MD0220002 |  |  | 4701078 | 3359078
26 | 84 | WELL 7 & 8 PFAS FILTER INSTALLATION - TOWN OF THURMONT | DW0081 | 7700 | WELLS 7 AND 8 BOTH ABOVE REGULATORY LIMITS FOR PFAS, LATTER SHUT DOWN DUE TO HIGH LEVELS | P/D/C INSTALLATION OF A GRANULAR ACTIVATED CARBON FILTRATION SYSTEM FOR PFAS AT WELLS 7 AND 8 | HAROLD LAWSON, TOWN OF THURMONT | Frederick | 02A | 6 | Y | Y | PUBLIC | Small | 0 | PFAS/EC | 03/01/2025 | 12/31/2025 | 2717000 | 0 | 2717000 | 1 |  |  |  | 04/01/2024 | STORAGE | Y | LOAN INTEREST | MD0100023 | Y |  | 2717000 | 2717000
27 | 80 | DEHAVEN/MASON ROAD WATER PROJECT | DW0015 | 95 | TWO FAILING SMALL PRIVATE WATER CO'S UNABLE TO OPERATE & MAINTAIN SYSTEMS CONNECTED TO CITY OF CUMBERLAND WATER SYS | D/C APX 8,000 LF WATER LINE, 35 WATER SVCS & APPURT TO REPLACE SMALL 2-IN TO 6-IN DIA FAILING WATER LINES | BRYNN LAIRD, ALLEGANY COUNTY COMMISSIONERS | Allegany | 01B | 6 | Y | 5 | PUBLIC | Small | 1 |  | 07/01/2024 | 11/30/2025 | 1725000 | 0 | 1725000 | 2 |  |  |  | 08/01/2022 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0010005 |  |  | 1725000 | 1725000
28 | 80 | ROLLING ACRES WATER MAIN REPLACEMENT | DW0067 | 388 | TRANSMISSION & DISTRIBUTION AGING INFRASTRUCTURE FREQUENT BREAKS, CORRODED PIPES, AND TUBERCULATION PUBLIC HEALTH CONCERN | D/C TRANSMISSION & DIST. INFRASTRUCTURE REPLACEMENT | CAVILLE STANBURY-WOOLERY, WASHINGTON SUBURBAN SANITARY COMMISSION | Prince George's | 23 | 5 | Y | Y | PUBLIC | Large | 1 |  | 08/01/2025 | 08/30/2027 | 4237500 | 0 | 4237500 | 1 | Y | Y |  | 12/01/2020 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0150005 |  |  | 4237500 | 4237500
29 | 80 | LARKWOOD WATER MAIN REPLACEMENT | DW0062 | 488 | TRANSMISSION & DISTRIBUTION AGING INFRASTRUCTURE FREQUENT BREAKS, CORRODED PIPES, AND TUBERCULATION PUBLIC HEALTH CONCERN | D/C TRANSMISSION & DIST. INFRASTRUCTURE REPLACEMENT | CAVILLE STANBURY-WOOLERY, WASHINGTON SUBURBAN SANITARY COMMISSION | Prince George's | 26 | 4 | Y | 2 | PUBLIC | Large | 1 |  | 09/01/2025 | 11/11/2027 | 8926953 | 0 | 8926953 | 1 | Y | Y |  | 08/19/2021 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0150005 |  |  | 8926953 | 8926953
30 | 75 | ANNAPOLIS ROAD TRANSMISSION WATER MAIN REPLACEMENT PHASE 1 | DW0040 | 75 | DW PRESSURE LOSS & QUANTITY ISSUES DUE TO MAIN BREAKS - EJ | C REPLACE DETERIORATING TRANSMISSION & DISTRIBUTION WATER MAINS; CAST IRON PIPES REPLACED | CAVILLE STANBURY-WOOLERY, WASHINGTON SUBURBAN SANITARY COMMISSION | Prince George's | MUL | 4 | Y | Y | PUBLIC | Large | 1 |  | 09/01/2025 | 03/30/2027 | 7817350 | 0 | 7817350 | 1 | Y | Y |  | 10/01/2021 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0150005 |  |  | 7817350 | 7817350
31 | 75 | WELDON DRIVE WATER MAIN REPLACEMENT | DW0068 | 275 | TRANSMISSION & DISTRIBUTION AGING INFRASTRUCTURE FREQUENT BREAKS, CORRODED PIPES, AND TUBERCULATION PUBLIC HEALTH CONCERN | D/C TRANSMISSION & DIST. INFRASTRUCTURE REPLACEMENT | CAVILLE STANBURY-WOOLERY, WASHINGTON SUBURBAN SANITARY COMMISSION | Prince George's | 26 | 4 | Y | Y | PUBLIC | Large | 1 |  | 08/01/2025 | 05/31/2027 | 5018780 | 0 | 5018780 | 1 | Y | Y |  | 11/01/2020 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0150005 |  |  | 5018780 | 5018780
32 | 75 | DARLINGTON WTP PFAS REMOVAL | DW0089 | 400 | DRINKING WATER EXCEEDS EPA'S RECOMMENDED CONCENTRATION LEVELS OF PFAS | P/D/C ESTABLISHING TREATMENT GOALS FOR PFAS, CONDUCTING TESTING ON CARBON OR ION EXCHANGE TREATMENTS, DESIGNING TREATMENT SYSTEM | MATT LAPINSKY, MARYLAND ENVIRONMENTAL SERVICE | Harford | 35A | 1 | Y | 2 | PUBLIC | Small | 0 | PFAS/EC | 11/01/2025 | 05/31/2026 | 400000 | 0 | 400000 | 1 |  |  |  | 10/01/2024 | TREATMENT | Y | LOAN UNWANTED | MD0120009 | Y |  | 400000 | 400000
33 | 75 | WEST NOTTINGHAM ACADEMY PFAS | DW0034 | 400 | ELEVATED PFAS LEVELS IN DRINKING WATER SYSTEM SERVING SCHOOL; SCHOOL IN CHAPTER 11 | P/D/C DISTRIBUTION SYSTEM FOR CONNECTION TO TOWN OF RISING SUN OR PORT DEPOSIT (TBD) INCL INDOOR PLUMBING REPLACEMENTS | JIM SHONE, THE WEST NOTTINGHAM ACADEMY OF CECIL COUNTY | Cecil | 35B | 1 | Y | 3 | PRIVATE | Small | 0 | PFAS/EC | 07/01/2025 | 12/31/2025 | 5500000 | 0 | 5500000 | 1 | Y |  |  | 09/01/2024 | TRANSMISSION/DISTRIBUTION | Y | LOAN UNWANTED | MD0070204 | Y |  | 5500000 | 5500000
34 | 75 | MIDDLETOWN 1894 SPRINGLINE REPLACEMENT PHASE 2 AND 3 | DW0078 | 4500 | CRACKS, CORROSION, AND EXPOSED PARTS OF SPRINGLINE WELL PAST ITS USEFUL LIFE, CAUSING LOSS OF WATER FLOW | D/C REPLACING CAST IRON SECTIONS OF 130-YEAR OLD SPRINGLINE WITH LEAD SEALED JOINTS TO IMPROVE WATER FLOW/QUALITY | PAUL MANTELLO, BURGESS AND COMMISSIONERS OF MIDDLETOWN | Frederick | 04 | 6 | Y | 2 | PUBLIC | Small | 0 |  | 03/01/2024 | 09/30/2024 | 1760000 | 0 | 1675000 | 1 |  |  |  | 09/01/2024 | TRANSMISSION/DISTRIBUTION |  | LOAN UNWANTED | MD0100018 |  |  | 1760000 | 1675000
35 | 75 | WFP MEMBRANE FILTRATION BUILDING | DW0018 | 44853 | OUTDATED FILTER BLDG W/11 CONVENTIONAL FILTERS, INADEQUATE INSULATION, LEAD-BASED PAINT | P/D/C NEW MEMBRANE FILTER BLDG WITH MEMBRANE AND GAC FILTRATION SYSTEMS & 5 MG FINISHED WATER TANK | ROBERT SMITH, MAYOR AND CITY COUNCIL OF CUMBERLAND | Allegany | 06 | 1 | N | Y | PUBLIC | Large | 1 |  | 11/01/2025 | 04/30/2027 | 37424609 | 0 | 37350000 | 1 | Y | Y |  | 01/01/2024 | TREATMENT |  | LOAN INTEREST | MD0010008 |  |  | 37424609 | 37350000
36 | 70 | DEPOT STREET WATER PROJECT | DW0016 | 28 | FAILING SMALL PRIVATE WATER CO UNABLE TO OPERATE & MAINTAIN SYSTEMS CONNECTED TO CITY OF FROSTBURG WATER SYS | P/D/C APX 3,000 LF WATER LINE, 10 WATER SVCS & APPURT TO REPLACE SMALL 2-IN DIA FAILING WATER LINES | BRYNN LAIRD, ALLEGANY COUNTY COMMISSIONERS | Allegany | 01B | 6 | Y | 2 | PUBLIC | Small | 1 |  | 03/01/2025 | 09/30/2025 | 700000 | 0 | 700000 | 2 |  |  |  | 07/01/2024 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0010009 |  |  | 700000 | 700000
37 | 70 | LORD CALVERT MOBILE HOME PARK WATER SYSTEM IMPROVEMENTS | DW0006 | 813 | BADLY DETERIORATING GALVANIZED STEEL DISTRIBUTION MAINS AND SERVICE CONNECTIONS; FREQUENT LEAKS | P/D/C REPLACE 4200 LF 2.5-IN GALVANIZED WATER MAINS WITH 6-IN, & 8700 LF 0.5-IN GALVANIZED SERVICE CONNECTIONS WITH 0.75-IN | JACKI MEISER, LUCY ELLEN LLC | St. Mary's | 25B | 5 | Y | Y | PRIVATE | Small | 0 |  | 10/01/2024 | 06/30/2025 | 770000 | 0 | 770000 | 1 |  |  |  | 04/01/2024 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0180213 |  |  | 770000 | 770000
38 | 70 | TOWN OF BOONSBORO RESERVOIR REPLACEMENT | DW0014 | 6580 | FINISHED DRINKING WATER RESERVOIR BUILT 1954 LEAKING 15,000 GPD, 6 M GALS ANNUALLY. NEEDS REPLACEMENT | D/C CONSTRUCT NEW WIRE-WOUND PRESTRESSED CONCRETE SPLIT-TANK RESERVOIR OF EQUAL CAPACITY | JARED SCHUMACHER, TOWN OF BOONSBORO | Washington | 02A | 6 | Y | 2 | PUBLIC | Small | 1 |  | 10/01/2024 | 01/31/2026 | 9350000 | 0 | 6000000 | 2 | Y | Y |  | 04/01/2024 | STORAGE |  | LOAN INTEREST | MD0210002 |  |  | 9350000 | 6000000
39 | 70 | EASTON UTILITIES WATER TREATMENT PLANT | DW0009 | 21000 | 30+ YEAR OLD WTP RISKS CRITICAL FAILURE & LACKS CAPACITY | C REPLACE WTP WITH CLIMATE-RESILIENT PLANT WITH REDUNDANCY | REBECCA SADUK, EASTON UTILITIES | Talbot | 37B | 1 | Y | Y | PUBLIC | Large | 1 |  | 06/01/2025 | 06/30/2026 | 12752000 | 12025000 | 12025000 | 1 | Y | Y | E | 04/01/2021 | TREATMENT |  | LOAN INTEREST | MD0200003 |  |  | 12752000 | 12025000
40 | 70 | CITY OF ROCKVILLE WATER MAIN REHAB AND IMPROVEMENT | DW0061 | 65700 | ADDRESS LOW FLOW TUBERCULATED PIPES, VALVES, VAULTS & APPURTENANCES; WM BREAK MITIGATION; & INCREASE FIRE FLOW | C REPLACE 6,750 LF OF CITY OWNED 6 INCH WM TO 8 INCH WM | YAOLIN FENNELL, CITY OF ROCKVILLE | Montgomery | 17 | 8 | Y | Y | PUBLIC | Large | 0 |  | 12/30/2025 | 07/30/2026 | 7950000 | 0 | 2200000 | 1 | Y | Y |  | 01/01/2024 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0150003 |  |  | 7950000 | 2200000
41 | 70 | GREENBELT STANDPIPE REHABILITATION | DW0070 | 92395 | INSPECTION SHOWS CORRODED, DETERIORATED EQUIPMENT (SCALING, EXPOSED AGGREGATES, SHRINKAGE CRACKING, CORROSION/SPALLING) | P/D/C REPLACEMENT OF DW STORAGE TANKS (2 MILLION GALLON STANDPIPE) | THEON GROJAEAN, WASHINGTON SUBURBAN SANITARY COMMISSION | Prince George's |  | 2 | Y | 2 | PUBLIC | Large | 1 |  | 09/01/2024 | 08/30/2026 | 9065000 | 0 | 9065000 | 1 | Y | Y |  | 06/01/2022 | STORAGE |  | LOAN INTEREST | MD0150005 |  |  | 9065000 | 9065000
42 | 65 | BERLIN LEAD SERVICE LINE REPLACEMENT PHASE 1 | DW0048 | 348 | REPLACEMENT OF KNOWN LEAD SERVICE LINES. INSUFFICIENT FUNDS PREVIOUSLY AWARDED | P/D/C REPLACEMENT OF APPROX 310 LEAD SERVICE LINES ALONG WILLIAM, BROAD, MAIN, & BAY STREETS | MARY BOHLEN, TOWN OF BERLIN | Worcester | 38A | 1 | Y | Y | PUBLIC | Small | 1 | LSL | 11/01/2025 | 04/30/2026 | 1668653 | 0 | 542253 | 1 | Y |  |  | 06/01/2024 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0230001 |  | Y | 1668653 | 542253
43 | 65 | ROCKVILLE WTP SLUDGE DEWATERING REPLACEMENT | DW0066 | 65700 | OBSOLETE & UNRELIABLE PLATE & FRAME FILTER TECH. STRUGGLES TO PERFORM & IS LIABILITY TO PUBLIC HEALTH AND SAFETY | C UPGRADE PLANT TO IMPROVE OPERATIONS & PREVENT EQUIP. DOWNTIME; MITIGATE ENVIR. RISKS; INCREASE EFFICIENCY | YAOLIN FENNELL, CITY OF ROCKVILLE | Montgomery | 17 | 8 | Y | 2 | PUBLIC | Large | 0 |  | 12/01/2025 | 12/01/2026 | 6000000 | 0 | 6000000 | 1 | Y | Y |  | 08/01/2024 | TREATMENT |  | LOAN INTEREST | MD0150003 |  |  | 6000000 | 6000000
44 | 60 | CITY OF HAVRE DE GRACE MAIN SERVICE LINE & LEAD CONNECTION PROJECT | DW0088 | 1650 | AGING WATER STRUCTURE IS FRAGILE AND LIKELY CONTAINS LEAD; INTERVENTION NEEDED TO MAINTAIN WATER QUALITY AND COMPLIANCE | P/D/C REPLACEMENT OF AGED MAIN LINES AND SERVICE LINES TO MITIGATE DRINKING WATER CONTAMINATION AND POLLUTION | WANDA BOKER, CITY OF HAVRE DE GRACE | Harford | 34A | 1 | Y | Y | PUBLIC | Small | 0 |  | 04/01/2025 | 05/31/2026 | 1875000 | 0 | 1875000 | 1 | Y | Y |  | 06/01/2022 | OTHER |  | LOAN INTEREST | MD0120012 |  |  | 1875000 | 1875000
45 | 60 | RIDDLE FARM ELEVATED TANK REHAB | DW0052 | 1738 | ELEVATED STORAGE TANK HIGHER THAN ALL OTHER WATER TANKS IN THE AREA, CAUSING PRESSURE ZONE DIFFERENCES | P/D/C LOWER RIDDLE FARM ELEVATED STORAGE TANK TO MAINTAIN SIMILAR PRESSURES THROUGHOUT ALL WATER SERVICE AREAS | DALLAS BAKER JR, WORCESTER COUNTY MD | Worcester | 38C | 1 | Y | 2 | PUBLIC | Small | 1 |  | 10/01/2025 | 06/30/2026 | 2161600 | 0 | 2161600 | 1 |  |  |  | 10/01/2024 | STORAGE |  | LOAN INTEREST | MD0230019 |  |  | 2161600 | 2161600
46 | 60 | SNOW HILL LEAD SERVICE LINE INVENTORY | DW0053 | 2793 | LEAD SERVICE LINE INVENTORY FOR TOWN OF SNOW HILL | COMPLETE LEAD SERVICE LINE INVENTORY PER EPA GUIDELINES - EJ | RICK POLLITT, TOWN OF SNOW HILL | Worcester | 38A | 1 | Y | 2 | PUBLIC | Small | 1 | LSL | 03/01/2023 | 10/31/2024 | 168546 | 0 | 168546 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0230007 |  | Y | 168546 | 168546
47 | 60 | PFAS STUDY AT PARK WTP | DW0046 | 39233 | STUDY NEEDED TO DETERMINE TYPE/DEGREE OF REMEDIATION NEEDED FOR PER/PFAS AT PARK WTP | P STUDY TO DETERMINE REMEDIATION STRATEGY FOR PER/PFAS AT PARK WTP, INC DRILLING A TEST BORING IN THE PARK WELL FIELD | CORI CAMERON, CITY OF SALISBURY | Wicomico | 38B | 1 | Y | Y | PUBLIC | Large | 1 | PFAS/EC |  |  | 100000 | 0 | 100000 | 1 | Y | Y |  |  | OTHER | Y | LOAN UNWANTED | MD0220004 | Y |  | 100000 | 100000
48 | 55 | CHESAPEAKE CITY LEAD SERVICE LINE INVENTORY | DW0031 | 735 | 40 CFR 141.84(A) REQUIRES ALL COMMUNITY WATER SYSTEMS TO DEVELOP AND MAINTAIN A LEAD SERVICE LINE INVENTORY | CONDUCT LEAD SERVICE LINE INVENTORY | ROBERT BERNSTINE, TOWN OF CHESAPEAKE CITY | Cecil | 36 | 1 | Y | Y | PUBLIC | Small | 1 | LSL | 02/01/2024 | 10/31/2024 | 15500 | 0 | 15500 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0070006 |  | Y | 15500 | 15500
49 | 55 | TOWN OF GRANTSVILLE LEAD SERVICE LINE INVENTORY | DW0086 | 990 | AN INITIAL SERVICE LINE INVENTORY IS REQUIRED TO BE SUBMITTED BY OCT 2024 BASED ON EPA GUIDELINES; SYSTEM VALVES DAMAGED | CONDUCT LEAD INVENTORY OF SERVICE LINES IN GRANTSVILLE IN ACCORDANCE WITH EPA RULES | ROBIN JONES, TOWN OF GRANTSVILLE | Garrett | 01A | 6 | Y | Y | PUBLIC | Small | 1 | LSL | 06/01/2025 | 12/31/2025 | 30000 | 0 | 30000 | 1 | Y |  |  | 10/01/2024 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0110005 |  | Y | 30000 | 30000
50 | 55 | TOWN OF HANCOCK LEAD SERVICE LINE INVENTORY | DW0041 | 4100 | AGED SYSTEM; COMMUNITY HOUSING PLUMBING LIKELY TO CONTAIN LEAD; SERVICE LINE INVENTORY NEEDED FOR REPORTING TO MDE/EPA | PLAN SERVICE LINE INVENTORY TO LOCATE LSL; INVENTORY CREATION; MATERIAL INVESTIGATIONS; SYSTEM REPORTING; NOTIFY CONSUMERS | MICHAEL FAITH, TOWN OF HANCOCK | Washington | 01B | 6 | Y | Y | PUBLIC | Small | 1 | LSL | 08/01/2024 | 07/31/2025 | 388800 | 0 | 388800 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0210012 |  | Y | 388800 | 388800
51 | 55 | MYSTIC HARBOUR WATER PLANT & BUILDING REHAB | DW0049 | 7373 | 50+ YEAR OLD WTP AT END OF USEFUL LIFE, CHEMICAL CORROSION, NO AUTOMATION | P/D/C REHABILITATION OF FACILITY AND COMPONENTS, REPLACE VALVES, RELOCATE FILTER CONTROL PANEL & UPDATE | DALLAS BAKER JR, WORCESTER COUNTY MD | Worcester | 38C | 1 | Y | 2 | PUBLIC | Small | 1 |  | 08/01/2025 | 04/30/2026 | 2293740 | 0 | 2293740 | 1 |  |  |  | 10/01/2024 | TREATMENT |  | LOAN INTEREST | MD0230011 |  |  | 2293740 | 2293740
52 | 55 | AUTOMATIC METERING INFRASTRUCTURE REPLACEMENT - BALT CITY | DW0019 | 1600000 | SMALL AMI METERS AND ENCODER REGISTER TRANSMITTERS ARE BATTERY OPERATED | P/D/C REPLACEMENT OF SMALL SMART METERS AND REHAB/REPLACE ENCODER REGISTER TRANSMITTERS ON LARGE METERS - EJ | MOHAMMED RAHMAN, MAYOR AND CITY COUNCIL OF BALTIMORE | Baltimore City | 46 | 7 | Y | Y | PUBLIC | Large | 1 |  | 02/01/2025 | 07/01/2032 | 35094000 | 2500000 | 29694600 | 1 | Y | Y | G | 07/01/2024 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0300002 |  |  | 35094000 | 29694600
53 | 50 | SPRINGVIEW MHP UPGRADE WATER LINES & INSTALL METERS | DW0080 | 100 | CORROSION AND RUSTING OF EXISTING LINES MAY CAUSE DISCOLORATION AND OTHER ISSUES; MOBILE HOMES UNMETERED | P/D/C REPLACEMENT OF WATER DISTRIBUTION LINES W/IN MHP AND INSTALL METERS AT EACH HOME | JOHN T. WU, FORTUNE INVESTMENT INC. | Frederick | 04 | 6 | Y | Y | PRIVATE | Small | 0 |  | 04/01/2025 | 12/31/2025 | 200000 | 0 | 200000 | 1 |  |  |  | 12/01/2024 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD?? |  |  | 200000 | 200000
54 | 50 | JONES CREEK WATERMAIN CROSSING | DW0074 | 188 | DW MAIN RUNS UNDER RT 13 AND HAS FAILED IN THE PAST RELEASING DW TO THE CREEK. REPLACE DETERIORATED INFRASTRUCTURE | P/D/C TRANSMISSION & DISTRIBUTION DW MAIN LINE IS OLD, CAST IRON AND NEEDS REPLACEMENT - EJ | ANTHONY STOCKUS, SOMERSET COUNTY SANITARY DISTRICT | Somerset | 38A | 1 | Y | Y | PUBLIC | Small | 1 |  | 08/01/2025 | 11/30/2025 | 342500 | 0 | 332500 | 1 |  |  |  | 09/01/2024 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0190002 |  |  | 342500 | 332500
55 | 50 | TOWN OF ST MICHAELS LEAD SERVICE LINE INVENTORY & MAPPING PROJECT | DW0011 | 1050 | DO NOT KNOW EXACT AGE OF METERS AND ASSOCIATED INFRASTRUCTURE | P/D COMPILE LSL INVENTORY TO COMPLY WITH LCRR | CASEY RAUCH, TOWN OF ST MICHAELS | Talbot | 37B | 1 | Y | 2 | PUBLIC | Small | 1 | LSL | 02/01/2024 | 10/31/2024 | 222500 | 0 | 222500 | 1 | Y |  |  |  | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0200006 |  | Y | 222500 | 222500
56 | 50 | TOWN OF OAKLAND'S LEAD LINE IDENTIFICATION INITIATIVE | DW0087 | 1350 | UNKNOWN EXTENT OF LEAD PIPING IN SYSTEM; CHALLENGES IN CONDUCTING LSL INVENTORY DUE TO STAFFING LIMITATIONS | CONDUCTING A COMPREHENSIVE LSL INVENTORY TO ENSURE SAFETY AND COMPLIANCE WITH FUTURE REPLACEMENTS | CINDY CODDINGTON, MAYOR AND TOWN COUNCIL OF OAKLAND | Garrett | 01A | 6 | Y | 2 | PUBLIC | Small | 1 | LSL | 06/01/2024 | 10/31/2024 | 30000 | 0 | 30000 | 1 |  |  |  | 02/01/2024 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0110008 |  | Y | 30000 | 30000
57 | 50 | LEAD SERVICE LINE REPLACEMENT TOWN OF FUNKSTOWN | DW0012 | 1600 | 100+ YEAR OLD DRINKING WATER DISTRIBUTION SYSTEM | P/D/C REPLACE EXISTING LEAD SERVICE LINES WITH COPPER, PVC, OR HDPE PIPE | BRENDA HAYNES, TOWN OF FUNKSTOWN | Washington | 02A | 6 | Y | Y | PRIVATE | Small | 1 | LSL | 03/01/2025 | 03/31/2025 | 2530000 | 0 | 2530000 | 1 |  |  |  | 02/01/2024 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0210008 |  | Y | 2530000 | 2530000
58 | 50 | TOWN OF LONACONING NEW GEORGES CREEK ROAD WATERLINE | DW0017 | 4700 | FAILING WATER LINE FROM MIDLAND TO BARTON AFFECTING 19 TO 23 SVC CONN | P/D/C APX 4,300 LF 8-IN WATER MAIN AND 19 TO 23 SERVICE CONNECTIONS | TYLER RAYNER, TOWN OF LONACONING | Allegany | 01A | 6 | Y | Y | PUBLIC | Small | 1 |  | 03/01/2025 | 11/30/2025 | 1200000 | 0 | 1200000 | 1 |  |  |  | 03/01/2024 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0010018 |  |  | 1200000 | 1200000
59 | 50 | TOWN OF CENTREVILLE LEAD & COPPER LINE INVENTORY | DW0069 | 4750 | PROJECT REQUIRED FOR COMPLIANCE WITH THE LEAD AND COPPER LINE INVENTORY BY OCTOBER 2024 DUE TO AGE OF SYSTEM (+100 YEARS OLD) | PLANNING PROJECT & FUNDS ONLY | TONYA WRIGHT, CENTREVILLE TOWN COUNCIL | Queen Anne's | 1 | 36 | Y | Y | PUBLIC | Small | 0 | LSL | 02/01/2024 | 10/31/2024 | 62202 | 0 | 62202 | 1 | Y | Y |  |  | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0170001 |  | Y | 62202 | 62202
60 | 50 | WC-1285R CAROLINE STREET & VICINITY WATER MAIN REPLACEMENTS | DW0020 | 5585 | UNLINED CAST IRON PIPE NEEDS TO BE REPLACED. UNSUCCESSFUL BID. NEEDS TO BE RE-BID. PREV FUNDED WITH GRANT & LOAN | D/C 19,590 LF OF 3-IN TO 12-IN DIA DW MAINS - EJ | MOHAMMED RAHMAN, MAYOR AND CITY COUNCIL OF BALTIMORE | Baltimore City | 45 | 7 | Y | Y | PUBLIC | Large | 1 |  | 06/01/2025 | 12/31/2026 | 18512550 | 0 | 5973510 | 1 | Y | Y |  | 07/01/2019 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0300002 |  |  | 18512550 | 5973510
61 | 50 | POCOMOKE LEAD SERVICE LINE INVENTORY | DW0051 | 5790 | SIGNIFICANT PORTION OF HOUSING BUILT BEFORE 1986 BAN ON LEAD | HIRE CONTRACTOR TO PERFORM RECORDS REVIEW FOR INVENTORY | MICHELLE BECKETT-EL SOLOH, CITY OF POCOMOKE CITY | Worcester | 38A | 1 | Y | 2 | PUBLIC | Small | 1 | LSL | 01/01/2024 | 01/31/2025 | 100000 | 0 | 100000 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0230006 |  | Y | 100000 | 100000
62 | 50 | TOWN OF BOONSBORO ALT 40 WATER LOOPING PROJECT | DW0013 | 7298 | DEADEND SERVICE TO ALT 40 RESIDENTS; LOW LEVELS OF CHLORINE; DAILY SYSTEM FLUSHING | C INSTALL 3 SEPARATE LOOPS WEST OF EXISTING WATER SUPPLY MAIN | JARED SCHUMACHER, TOWN OF BOONSBORO | Washington | 02A | 6 | Y | 3 | PUBLIC | Small | 1 |  | 11/01/2024 | 07/31/2025 | 2800000 | 0 | 2600000 | 1 | Y | Y |  | 06/01/2024 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0210002 |  |  | 2800000 | 2600000
63 | 50 | ROLLING MILL WTP - FINISHED WATER PUMP STATION | DW0033 | 10738 | SYSTEM LACKS REDUNDANCY RE PUMPS, EXISTING FINISHED WATER PUMP STATION HAS EXCEEDED USEFUL LIFE AND IS IN 100-YR FLOOD PLAIN | CONSTRUCT NEW FINISHED PUMP STATION, INC. BUILDING AND 4 PUMPS W/VFD, OUT OF 100-YEAR FLOOD PLAIN | MELISSA COOK-MACKENZIE, MAYOR AND COMMISSIONERS OF THE TOWN OF NORTH EAST | Cecil | 35B | 1 | Y | 2 | PUBLIC | Small | 0 |  | 09/01/2025 | 09/30/2026 | 2828413 | 0 | 2600000 | 1 |  |  | E | 11/01/2021 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0070016 |  |  | 2828413 | 2600000
64 | 50 | CITY OF BRUNSWICK LEAD SERVICE LINE REPLACEMENT | DW0039 | 11268 | LEAD SERVICE LINE REPLACEMENTS FOR IDENTIFIED SERVICE LINES IN INVENTORY | D/C REPLACEMENTS OF LEAD SERVICE LINES IDENTIFIED BY INVENTORY | MATTHEW CAMPBELL, MAYOR AND COUNCIL OF BRUNSWICK | Frederick | 02A | 2 | Y | Y | PUBLIC | Small | 0 | LSL | 04/01/2024 | 10/31/2024 | 1000000 | 0 | 1000000 | 1 | Y | Y |  | 01/01/2024 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0100005 |  | Y | 1000000 | 1000000
65 | 47 | PFAS STUDY AT PALEO WTP | DW0045 | 39233 | CITY'S WELLS HAVE DETECTABLE PFAS; STUDY NEEDED TO DETERMINE TYPE/DEGREE OF REMEDIATION NEEDED | CONDUCT STUDY TO PROPOSE REMEDIATION FOR PER/PFAS | CORI CAMERON, CITY OF SALISBURY | Wicomico | 38B | 1 | Y | Y | PUBLIC | Large | 1 | PFAS/EC |  |  | 100000 | 0 | 100000 | 1 | Y | Y |  |  | TREATMENT | Y | LOAN INTEREST | MD0220004 | Y |  | 100000 | 100000
66 | 45 | WITHDRAWN - TODD VILLAGE LEAD AND COPPER SURVEY | DW0025 | 265 | PRESUME INVENTORY OF ALL LINES FOR EPA - NO REPLY | P PRESUME DETERMINE LEAD IN LINES - NO REPLY | DESIRA PALMER, TODD VILLAGE LLC | Carroll | 42C | 2 | Y | 2 | PRIVATE | Small | 0 | LSL | 01/01/2024 | 10/31/2024 | 50000 | 0 | 50000 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | LOAN UNWANTED | MD0060217 |  | Y | 50000 | 50000
67 | 45 | GORMAN WATER SOURCE PROJECT | DW0084 | 368 | PUMP FAILURE AND WELL COLLAPSE IN 2021; ADDITIONAL RESOURCES SOUGHT FOR IDENTIFYING NEW WELL SITE | P/D/C SEEKING NEW SITE TO REPLACE COLLAPSED WELL DUE TO FAILURES IN PREVIOUSLY IDENTIFIED SITES | BOBBY WITT, GARRETT COUNTY SANITARY DISTRICT | Garrett | 01A | 6 | Y | 2 | PUBLIC | Small | 1 |  | 11/01/2025 | 10/31/2026 | 2180486 | 0 | 2000000 | 1 |  |  |  | 01/01/2025 | SOURCE |  | LOAN INTEREST | MD0110012 |  |  | 2180486 | 2000000
68 | 45 | BRETON BAY WATER SYSTEM REPLACEMENT PHASE 1 | DW0004 | 495 | TRANSITE & GALVANIZED PIPE INSTALLED IN 1960S AT END OF USEFUL LIFE | D/C REPLACE 12,100 LF TRANSITE PIPE WITH 8-IN PVC, & 25 FIRE HYDRANTS | PATRICIA STIEGMAN, ST MARY'S COUNTY METROPOLITAN COMMISSION | St. Mary's | 29C | 5 | Y | 2 | PUBLIC | Large | 0 |  | 12/01/2024 | 12/31/2025 | 4686911 | 0 | 4686911 | 1 |  | Y |  | 06/01/2021 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0180001 |  |  | 4686911 | 4686911
69 | 45 | FRIENDSVILLE WATER SOURCE | DW0082 | 623 | MDE PERMIT REQUIREMENTS ARE NOT BEING MET WITH TOWNS RAW WATER INTAKE SYSTEM; NEW SOURCE NEEDED | D/C DRILL TEST WELL, CONDUCT PUMP TEST TO CONFIRM ADEQUATE PRODUCTION, D/C DEVELOP TWO WELLS | BOBBY WITT, GARRETT COUNTY SANITARY DISTRICT | Garrett | 01A | 6 | N | 3 | PUBLIC | Small | 1 |  | 03/01/2025 | 11/30/2025 | 573100 | 0 | 511000 | 1 |  |  |  | 01/01/2024 | SOURCE |  | LOAN INTEREST | MD0110004 |  |  | 573100 | 511000
70 | 45 | TOWN OF PRESTON - LEAD LINE SERVICE INVENTORY | DW0022 | 723 | PLANNING FOR LEAD SERVICE LINE INVENTORY | LEAD SERVICE LINE INVENTORY | AMBER KORELL, TOWN OF PRESTON | Caroline | 37B | 1 | Y | Y | PUBLIC | Small | 0 | LSL |  |  | 35000 | 0 | 35000 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0050005 |  | Y | 35000 | 35000
71 | 45 | MISSION ROAD WATER LOOP | DW0057 | 1300 | LACK OF WS REDUNDANCY & QUALITY HYDRAULIC PERFORM. OF PRESSUR. ZONE 550. DOESN'T MEET HC DESIGN MANUAL VOL.II STANDARDS | P/D/C INSTALL 4,200 LF OF 12 INCH WM TO CREATE WATER DISTRIB LOOP IN PRESSUR. ZONE 550 & CONSTRUCT ACCESS SHAFTS VIA HWY-95 - EJ | DENNIS LOPEZ, HOWARD COUNTY MARYLAND | Howard | 13 | 3 | Y | Y | PUBLIC | Large | 1 |  | 09/01/2024 | 09/01/2025 | 2180923 | 0 | 1674171 | 1 | Y | Y |  | 07/01/2021 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0130002 |  |  | 2180923 | 1674171
72 | 45 | GUILFORD ROAD WATER MAIN REPLACEMENT | DW0054 | 1900 | AGED PIPES CAUSING DISRUPTIONS TO WATER SERVICES & TRAFFIC, & POSING AS PUBLIC SAFETY AND FINANCIAL LIABILITY | C REPLACE 1 MILE OF 12 INCH AC PIPE & 2 MILES OF 6-12 INCH CIP, BOTH BEING AT/APPROACHING SERVICE LIFE - EJ | JOHN GROEGER, HOWARD COUNTY MARYLAND | Howard | 13 | 3 | Y | Y | PRIVATE | Large | 1 |  | 04/01/2025 | 12/01/2026 | 9000000 | 0 | 8000000 | 1 | Y | Y |  | 01/01/2024 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0130002 |  |  | 9000000 | 8000000
73 | 45 | HOYES RUN WATER TREATMENT PLANT | DW0085 | 2390 | ADDITIONAL DEMAND FOR WATER NEEDED GIVEN TOURIST AND HOUSING DEVELOPMENT IN THE AREA | P/D/C CONSTRUCT WATER TREATMENT PLANT AND CONVERT EXISTING TEST WELLS INTO PRODUCTION WELLS FOR POTABLE WATER | BOBBY WITT, GARRETT COUNTY SANITARY DISTRICT | Garrett | 01A | 6 | Y | 3 | PUBLIC | Small | 0 |  | 03/01/2025 | 03/31/2026 | 4200000 | 0 | 3059250 | 1 |  |  |  | 05/01/2024 | SOURCE |  | LOAN INTEREST | MD1111096 |  |  | 4200000 | 3059250
74 | 45 | LEAD AND COPPER INVENTORY - ROCK HALL | DW0058 | 2525 | IN PURSUIT OF COMPLIANCE W/INITIAL LCRR REQUIREMENTS VIA EPA GUIDELINES | NEED TO HIRE CONTRACTOR TO SURVEY 994 LATERALS; & INSPECT & INVENTORY LEAD PIPING | ROBERT S RESELE, TOWN OF ROCK HALL | Kent | 36 | 1 | Y | 2 | PUBLIC | Small | 1 | LSL | 01/01/2024 | 10/16/2024 | 1000000 | 0 | 1000000 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0140006 |  | Y | 1000000 | 1000000
75 | 45 | GARRETT COUNTY'S LEAD LINE IDENTIFICATION INITIATIVE | DW0083 | 3860 | LIMITED STAFF CAPACITY TO CONDUCT COMPREHENSIVE LSL INVENTORY; NEEDED TO FIX LEAD CONTAMINATION IN WATER | AIMING TO REPLACE LSL PIPES AND REDUCE LEAD CONTAMINATION IN DRINKING WATER IN GARRETT COUNTY | SIERA WIGFIELD, BOARD OF COUNTY COMMISSIONERS OF GARRETT COUNTY | Garrett | 01A | 6 | Y | Y | PUBLIC | Small | 0 | LSL | 06/01/2024 | 10/31/2024 | 36000 | 0 | 36000 | 1 |  |  |  | 02/01/2024 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0110007 |  | Y | 36000 | 36000
76 | 45 | CRISFIELD LEAD SERVICE LINE INVENTORY | DW0073 | 4760 | NEED TO OBTAIN CONTRACTOR SERVICE TO INVENTORY LSLS TO COMPLY WITH LCRR BY 10/16/24 | LEAD SERVICE LINE INVENTORY PROJECT - PLANNING ONLY | JENNIFER MERRITT, CITY OF CRISFIELD | Somerset | 38A | 1 | Y | Y | PUBLIC | Small | 1 | LSL | 06/01/2024 | 06/30/2025 | 85000 | 0 | 85000 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0190001 |  | Y | 85000 | 85000
77 | 45 | LEAD SERVICE LINE INVENTORY - SOMERSET COUNTY | DW0002 | 8185 | CATALOG OF ALL WATER SERVICES OWNED BY SOMERSET CO SAN DISTRICT IN SOMERSET COUNTY | COMPLETE INVENTORY OF SERVICE LINES IN PRINCESS ANNE, CRISFIELD PERIPHERAL AREAS, AND FAIRMONT | ANTHONY STOCKUS, SOMERSET COUNTY SANITARY DISTRICT | Somerset | 38A | 1 | Y | Y | PUBLIC | Small | 1 | LSL | 03/01/2024 | 10/30/2024 | 92700 | 0 | 92700 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0190002 |  | Y | 92700 | 92700
78 | 45 | LEAD LINE SERVICE INVENTORY - TOWN OF TANEYTOWN | DW0023 | 8500 | IDENTIFY LEAD SERVICE LINES TO BE REPLACED | INVENTORY OF SERVICE LINES TO IDENTIFY LINES TO BE REPLACED | RANDY MYERS, CITY OF TANEYTOWN | Carroll | 05 | 2 | Y | Y | PUBLIC | Small | 0 | LSL | 10/01/2024 | 10/31/2025 | 1358263 | 0 | 1358263 | 1 |  | Y |  | 07/01/2024 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0060012 |  | Y | 1358263 | 1358263
79 | 45 | EASTON UTILITIES LEAD SERVICE LINE INVENTORY | DW0008 | 21000 | COMPLETE LSL INVENTORY | C IMPLEMENT LEADCAST PREDICT MODELING & DATA-DRIVEN TARGETED FIELD VERIFICATION | REBECCA SADUK, EASTON UTILITIES | Talbot | 37B | 1 | Y | 2 | PUBLIC | Large | 1 | LSL | 06/01/2025 | 06/30/2027 | 187000 | 0 | 187000 | 1 | Y | Y |  | 07/01/2023 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD020003 |  | Y | 187000 | 187000
80 | 45 | LSL REPLACEMENT PHASE 1-SALISBURY | DW0044 | 39233 | REPLACE ALL LEAD & GALVANIZED PIPE SERVICE LINES TO MAINTAIN COMPLIANCE W/ SDWA | D/C REPLACE ~330 PUBLIC/PRIVATE PROPERTIES (50 FT OF 1 INCH PIPES FROM MAIN TO EA BLDG) IN SW QUADRANT OF CITY'S WATER SYS - EJ | CORI CAMERON, CITY OF SALISBURY | Wicomico | 38B | 1 | Y | Y | PUBLIC | Large | 1 | LSL | 09/01/2025 | 03/31/2026 | 1791125 | 0 | 1767150 | 1 | Y | Y |  | 01/01/2025 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0220004 |  | Y | 1791125 | 1767150
81 | 45 | LEAD SERVICE LINE INVENTORY - CHARLES CO - WALDORF | DW0036 | 91260 | 40CFR141.84(A) REQUIRES ALL COMMUNITY WATER SYSTEMS TO CONDUCT AND MAINTAIN A LEAD SERVICE LINE INVENTORY | CONDUCT LEAD SERVICE LINE INVENTORY WITHIN THE BOUNDARY OF THE WALDORF SERVICE AREA | SAM SIMANOVSKY, CHARLES COUNTY DEPARTMENT OF PUBLIC WORKS | Charles | 27A | 5 | Y | Y | PUBLIC | Large | 0 | LSL | 05/01/2023 | 10/31/2024 | 300000 | 0 | 300000 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0080049 |  | Y | 300000 | 300000
82 | 45 | WSSC LEAD SERVICE LINE INVENTORY | DW0072 | 96250 | SERVICE LINES FROM 1940S PERIOD MAY CONTAIN LEAD ALLOY; FIELD WORK REQ'D TO ASSESS RISK, DEVELOP INVENTORY TO REDUCE RISK | LEAD SERVICE LINE INVENTORY TO PREPARE FOR THE LSL REPLACEMENT PROJECTS IDENTIFIED | JIN SHIN, WASHINGTON SUBURBAN SANITARY COMMISSION | WSSC | REG | REG | Y | 2 | PUBLIC | Large | 0 | LSL | 07/01/2021 | 10/31/2024 | 20330000 | 0 | 19250000 | 1 | Y | Y |  |  | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0150005 |  | Y | 20330000 | 19250000
83 | 40 | SHANGRI-LA DRIVE & S ESSEX DRIVE WATER MAIN REPLACEMENT PHASE 2 | DW0007 | 620 | DETERIORATED CAST IRON PIPE INSTALLED IN 1950S BY US NAVY; END OF USEFUL LIFE | C REPLACE 2,000 LF 8-IN CAST IRON PIPE, VALVES, 6 FIRE HYDRANTS, SERVICE LATERALS | PATRICIA STIEGMAN, ST MARY'S COUNTY METROPOLITAN COMMISSION | St. Mary's | 29B | 5 | Y | Y | PUBLIC | Large | 0 |  | 12/01/2024 | 12/31/2025 | 1188509 | 0 | 1188509 | 1 | Y | Y |  | 10/01/2019 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0180007 |  |  | 1188509 | 1188509
84 | 40 | HOLLYWOOD WATER SYSTEMS CONNECTOR & PHASE 2 REPLACEMENT | DW0005 | 670 | UNDERSIZED 2-IN & 4-IN DUCTILE IRON WATER LINES | D/C INSTALL 2,900 LF OF 12-IN LINES & 15 NEW FIRE HYDRANTS TO PROVIDE A LOOP & INCREASE PRESSURE | PATRICIA STIEGMAN, ST MARY'S COUNTY METROPOLITAN COMMISSION | St. Mary's | 29C | 5 | Y | Y | PUBLIC | Large | 0 |  | 12/01/2024 | 12/31/2025 | 2779716 | 0 | 2779716 | 1 | Y | Y |  | 07/01/2022 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0180007 |  |  | 2779716 | 2779716
85 | 40 | FILTER REPLACEMENT AT PALEO WTP | DW0091 | 39233 | EXISTING GREEN SAND PRESSURE FILTERS HAVE EXCEEDED THEIR USEFUL LIFE | D/C REPLACEMENT FILTERS INCLUDING BUILDING IN WHICH TO HOUSE THEM TO INC SPACE FOR FUTURE PFAS TREATMENT | CORI CAMERON, CITY OF SALISBURY | Wicomico | 38B | 1 | Y | Y | PUBLIC | Large | 1 |  | 01/01/2025 | 06/30/2026 | 21816737 | 0 | 21520000 | 1 | Y | Y |  | 11/01/2021 | TREATMENT |  | LOAN INTEREST | MD0220004 |  |  | 21816737 | 21520000
86 | 40 | CITY OF ROCKVILLE LSL INVESTIGATION | DW0060 | 65700 | COMPLY WITH REVISIONS TO LCRR & PROACTIVELY ADDRESS EXPANDED REQUIREMENTS OF LCRI | REDUCE 'UNKNOWN' SERVICE LINES VIA: CUSTOMER SURVEYS; FIELD INVESTIGATIONS; & USING PREDICTIVE MODELING SOFTWARE | YAOLIN FENNELL, CITY OF ROCKVILLE | Montgomery | 17 | 8 | Y | 2 | PUBLIC | Large | 0 | LSL | 04/01/2023 | 10/27/2027 | 705398 | 0 | 491571 | 1 | Y | Y |  |  | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0150003 |  | Y | 705398 | 491571
87 | 40 | LEAD SERVICE LINE REPLACEMENT - CHARLES CO - WALDORF | DW0037 | 91260 | SUSPECTED LEAD SERVICE LINES IN WALDORF SERVICE AREA | P/D/C FIELD VERIFICATION AND REPLACEMENT OF EST. 1419 LF OF SUSPECTED LSL IN WALDORF SERVICE AREA; INCL EDUCATION AND FILTERS | SAM SIMANOVSKY, CHARLES COUNTY DEPARTMENT OF PUBLIC WORKS | Charles | 27A | 5 | Y | Y | PUBLIC | Large | 0 | LSL | 10/02/2026 | 12/31/2028 | 5861000 | 0 | 5861000 | 1 |  |  |  | 10/01/2024 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST |  |  | Y | 5861000 | 5861000
88 | 40 | LCRR COMPLIANCE PROGRAM - LSL INVENTORY - HOWARD COUNTY | DW0056 | 278173 | COMPLY WITH LCRR: REQUIRES INVENT. OF SERVICE LINES & DETERMINATION OF MATERIAL | PRELIM INVENT. REVIEW OF ALL EXISTING RECORDS; PUBLISH UPDATED INVENT.; PREP FINAL REPORT & INVENT. PER LCRR TO MDE--10/16/24 | YOSEF KEBEDE, HOWARD COUNTY D.P.W. DISTRIBUTION | Howard | 13 | 3 | Y | 2 | PUBLIC | Large | 0 | LSL | 11/01/2023 | 10/31/2024 | 670397 | 0 | 670397 | 1 |  |  |  |  | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0130002 |  | Y | 670397 | 670397
89 | 40 | WSSC LEAD SERVICE LINE REPLACEMENT PROGRAM | DW0071 | 0 | DW SERVICE LINES POTENTIALLY CONTAIN LEAD ALLOY ON UP TO 5500 LSLs DATING FROM 1940 FORWARD | D/C POTENTIALLY REPLACE UP TO 1.9M LF OF LSLs COVERING UP TO 5500 PRIVATE GALVANIZED SYSTEMS & 33,000 UNKNOWN LSLs TBD | JIN SHIN, WASHINGTON SUBURBAN SANITARY COMMISSION | WSSC | REG | REG | Y | 2 | PUBLIC | Large | 0 | LSL | 07/01/2024 | 12/31/2028 | 45600000 | 0 | 24492990 | 1 | Y | Y |  | 02/01/2023 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0150005 |  | Y | 45600000 | 24492990
90 | 35 | LCRR COMPLIANCE PROG - LSL REPL - HOWARD COUNTY | DW0055 | 278173 | COMPLY WITH LCRR & LCRI STANDARDS OF VERIFYING ALL UNKNOWNS AND EVENTUAL REPLACEMENT OF LSL & GALVANIZED | PLAN CONFIRM VIA FIELD INVESTIGATION METHODS TOTAL UNKNOWN LSL & GP TO REPLACE TO COMPLY WITH LCRR IN COUNTY BOUNDARIES | YOSEF KEBEDE, HOWARD COUNTY D.P.W. DISTRIBUTION | Howard | 13 | 3 | Y | Y | PUBLIC | Large | 0 | LSL | 10/01/2026 | 12/31/2029 | 34024000 | 0 | 34024000 | 1 |  |  |  | 11/01/2024 | TRANSMISSION/DISTRIBUTION |  | LOAN INTEREST | MD0130002 |  | Y | 34024000 | 34024000