## PPL Projects
Rank | Points | Project Number | Project Title | Applicant Name | County | Beneficial Population | Ownership | System Size | Disadvantaged | Project Type | Funding Category | Green Cost ($) | Construction Start | Construction End | Design Start | Water/Sewer | PFA Code | CD Code | Audit | Plan | Compliance | Notes | PWSID | PFAS/EC | LSL | Total Cost ($) | MDE Requested Funding ($) | matching_id | Project Description | Total Cost ($) | MDE Requested Funding ($)
1 | 140 | DW0015 | Colonial Mills MHP PFAS Exposure Reduction | Town of Delmar | Wicomico | 85 | PUBLIC | Small | Y | Transmission & Distribution | PFAS/EC |  | 09/01/2025 | 12/31/2025 | 09/01/2024 | Y | Y | 1 | Y | N | N |  | MD0220001 | Y |  | 135300 | 134200 | DW0015 | PROBLEM: COLONIAL MILLS MHP HAS HIGH PFAS IN UNCONFINED AQUAFIER PROJECT: D/C-DELETE & ABANDON MHP PUBLIC WATER SOURCE; INSTALL 8" METER VAULT TO 4" MHP WATER PIPES & VALVES ALONG STAGE ROAD
2 | 140 | DW0016 | Gateway MHP PFAS Exposure Reduction | Town of Delmar | Wicomico | 6588 | PUBLIC | Small | Y | Transmission & Distribution | PFAS/EC |  | 05/01/2027 | 08/31/2027 | 07/31/2025 | Y | Y | 1 | N | N | N |  | MD0220001 | Y |  | 1827316 | 1813679 | DW0016 | PROBLEM: GATEWAY MHP HAS HIGH WATER SYSTEM HAS HIGH PFAS LEVELS; APPROX. 336 HOMES IN THE GATEWAY MHP AREA WITH VULNERABLE WELLS PROJECT: D/C-DELETE & ABANDON SMALL PRIVATELY OWNED PUBLIC WATER SYSTEM OF GATEWAY MHP; CONNECT CURRENT USERS TO TOWN OF DELMAR WS
3 | 130 | DW0057 | West Nottingham Academy Water Extension | Town of Rising Sun | Cecil | 355 | PUBLIC | Small | Y | Transmission & Distribution | PFAS/EC |  | 08/01/2026 | 07/31/2027 | 06/01/2025 | Y | 5 | 1 | N | N | Y |  | MD0070021 | Y |  | 6708345 | 6708345 | DW0057 | PROBLEM: PRIVATE WATER SUPPLY WELLS SERVING THE SCHOOL HAS TRACES OF PFA; SAMPLES EXCEED EPA'S HEALTH ADVISORY LEVEL PROJECT: P/D/C-CONNECT WEST NOTTINGHAM ACADEMY TO RISING SUN'S PUBLIC WATER SYSTEM WITH APPROX 24,900 LF OF WATER MAINS
4 | 130 | DW0058 | Plumpton Park Zoo Water Extension | Town of Rising Sun | Cecil | 3500 | PUBLIC | Small | Y | Transmission & Distribution |  |  | 07/01/2026 | 06/30/2027 | 07/01/2025 | N | Y | 2 | N | N | Y |  | MD0070021 |  |  | 3595258 | 3595258 | DW0058 | PROBLEM: HIGH NITRATES ABOVE MCL IN DW WELLS SERVING THE ZOO (NONPROFIT NONCOMMMUNITY WATER SYSTEM) PROJECT: D/C-14,180 LF 8" WATER MAINS TO CONNECT THE ZOO TO PUBLIC WATER (TOWN OF RISING SUN), PROJ RESTORES T/M COMPLIANCE
5 | 110 | DW0053 | Poolesville PFAS Treatment | Town of Poolesville | Montgomery | 6500 | PUBLIC | Small | N | Treatment | PFAS/EC |  | 01/01/2027 | 08/30/2027 | 01/01/2026 | Y | Y | 2 | Y | Y | N |  | MD0150002 | Y |  | 5000000 | 5000000 | DW0053 | PROBLEM: PFAS NEEDED FOR TREATMENT FOR SIX WELLS THAT HAVE TESTED ABOVE THE 4 PPT RULE TO PROTECT PUBLIC HEALTH PROJECT: P/D/C-GRANULAR ACTIVATED CHARCOAL FILTRATION NEEDED; MODIFY WELL HOUSES TO ACCCOMMODATE EQUIPMENT
6 | 110 | DW0013 | PFAS Remediation Construction at Paleo WTP | City of Salisbury | Wicomico | 39233 | PUBLIC | Large | Y | Treatment | PFAS/EC |  | 05/01/2026 | 11/30/2027 | 11/30/2021 | Y | 2 | 1 | Y | Y | Y |  | MD0220004 | Y |  | 17716000 | 17284000 | DW0013 | PROBLEM: WELLS 1, 2 & 3 ARE NONCOMPLIANT WITH PFOA & PFOS MCLS; WELLS 1&2 PFOA & PFOS LEVELS=5.9 & 20PPT RESP; WELL3 = 45 & 2.7PPT PROJECT: CONSTRUCT REMEDIATION STRATEGY FOR PFAS AT WTP TO ASSIST PLANT MEETING FUTURE REQUIREMENTS
7 | 105 | DW0023 | Hampstead PFAS Treatment/Centralization Project | Town of Hampstead | Carroll | 7375 | PUBLIC | Small | N | Treatment | PFAS/EC |  | 06/01/2025 | 09/30/2027 | 06/01/2023 | Y | Y | 1 | Y | Y | N |  | MD0060003 | Y |  | 30843917 | 8157146 | DW0023 | PROBLEM: WELLS SERVING HAMPSTEAD ARE CONTAMINATED WITH PFOA/PFAS; NOT IN COMPLIANCE WITH MCLS PROJECT: CONSTRUCT 4 WTPS WITH GAC TREATMENT FOR PFAS; INSTALL 4" PIPING TO DELIVER WATER FROM WELLS TO WTPS
8 | 100 | DW0056 | Leslie Water Treatment Equipment Rehabilitation Project | Town of North East | Cecil | 10738 | PUBLIC | Small | Y | Treatment |  |  | 01/01/2025 | 06/30/2025 | 04/01/2025 | Y | 2 | 1 | N | N | N |  | MD0070016 |  |  | 1379000 | 1379000 | DW0056 | PROBLEM: AGED STEEL STRUCTURES NEEDING REHABILITATION; ORIGINAL FIXED & STATIONARY COMPONENTS ARE AT THE END OF USEFUL LIFE PROJECT: P/D/C-REPLACEMENT OF SAND FILTERS, FLOCCULATORS, WATER HOLDING TANK PARTS, ETC; REHAB STRUCTURAL STEEL COMPONENTS
9 | 95 | DW0037 | Greenridge Water Systems WTP Upgrades for PFAS Removal | Maryland Water Services Inc. | Harford | 855 | PRIVATE | Small | N | Treatment | PFAS/EC |  | 10/01/2025 | 10/31/2026 | 01/01/2025 | Y | Y | 1 | N | N | Y |  | MD0120011 | Y |  | 2242000 | 2242000 | DW0037 | PROBLEM: PFAS/PFOA DETECTED AT LEVELS BEYOND HAZARD INDEX IN WELLS; TREATMENT REQUIRED PROJECT: D/C-TREATMENT SYSTEM TO COMPLY WITH EPA'S MAXIMUM CONTAMINANT LEVELS FOR PFAS/PFOA
10 | 95 | DW0010 | Town of Hebron Drinking Water Storage and Redundancy Project | Commissioners of Hebron | Wicomico | 1113 | PUBLIC | Small | Y | Storage |  |  | 12/01/2026 | 06/30/2027 | 05/01/2026 | N | Y | 1 | Y | Y | N |  | MD0220002 |  |  | 7448100 | 7448100 | DW0010 | PROBLEM: INCONSISTENT DW QUALITY; LACK OF RESERVE/STORAGE; NO REDUNDANCY PROJECT: P/D/C-300,000 GAL WATER TOWER; WATER TREATMENT FACILITY W/DISINFECTION SYS; TWO 200 GPM WELLS; 8" WATER MAIN TO EXISTING SYS
11 | 95 | DW0014 | Delmar Elevated Storage Tank | Town of Delmar | Wicomico | 6588 | PUBLIC | Small | Y | Storage |  |  | 11/01/2026 | 11/30/2027 | 09/30/2025 | Y | 3 | 1 | Y | Y | N |  | MD0220001 |  |  | 2814000 | 2793000 | DW0014 | PROBLEM: SIGNIFICANT RISK OF PRESSURE DROP AND/OR CONTAMINATION DURING FIRE EVENTS OR WATERMAIN BREAKS PROJECT: D/C-NEW ELEVATED STORAGE TANK
12 | 90 | DW0094 | Parker Drive Water System Connection | Anne Arundel County | Anne Arundel | 25 | PUBLIC | Small | N | Transmission & Distribution |  |  | 10/01/2026 | 12/31/2026 | 09/01/2025 | Y | Y | 1 | Y | N | N |  | MD0020004 |  |  | 465000 | 465000 | DW0094 | PROBLEM: FAILING PRIVATE WELLS IN PARKER DRIVE COMMUNITY PROJECT: D/C-450 LF OF 8" PVC WATER MAIN TO CONNECT COMMUNITY TO AA CO PUBLIC WATER SYSTEM, INCLUDES 10 WATER METERS AND FIRE HYDRANT
13 | 90 | DW0095 | White House Road Water Extension | Anne Arundel County | Anne Arundel | 45 | PUBLIC | Small | N | Transmission & Distribution |  |  | 08/01/2027 | 12/31/2027 | 08/01/2024 | Y | Y | 1 | Y | N | N |  | MD0020004 |  |  | 1617000 | 1617000 | DW0095 | PROBLEM: FAILING PRIVATE WELLS IN WHITE HOUSE ROAD COMMUNITY PROJECT: D/C-960 LF OF 8" PVC & 410 LF OF 2" HDPE WATER MAINS, 18 WATER METERS & TWO HYDRANTS TO CONNECT TO AA CO PUBLIC WATER SYSTEM
14 | 90 | DW0091 | Chestnut Hill Public Water Connection | Anne Arundel County | Anne Arundel | 63 | PUBLIC | Small | N | Transmission & Distribution |  |  | 11/01/2027 | 01/31/2029 | 04/01/2025 | Y | 5 | 1 | Y | Y | N |  | MD0020004 |  |  | 2911000 | 2911000 | DW0091 | PROBLEM: PRIVATE WELLS HAVE BEEN IMPACTED BY SEPTIC SYSTEMS & ARE WITHIN THE EDGEWATER BEACH ONSITE WW MANAGEMENT AREA PROJECT: D/C-2,100 LF OF 8" WM, 4 HYDRANTS & 28 CONNECTIONS TO CONNECT CHESTNUT HILL NEIGHBORHOOD TO AA CO PUBLIC WATER SYSTEM
15 | 90 | DW0036 | Lakeside Vista Water Systems WTP Upgrades for PFAS Removal | Maryland Water Services Inc. | Harford | 83 | PRIVATE | Small | N | Treatment | PFAS/EC |  | 10/01/2025 | 10/31/2026 | 01/01/2025 | Y | 2 | 1 | N | N | Y |  | MD0120014 | Y |  | 1063000 | 1063000 | DW0036 | PROBLEM: ALL THREE WELLS EXCEED PFAS/PFOA MAXIMUM CONTAMINATION LEVELS SET BY EPA; WTP TANK EXCEEDED USEFUL LIFE PROJECT: D/C-TREATMENT SYSTEMS TO UPGRADE WTP AND BRING THEM INTO COMPLIANCE WITH PFAS/PFOA LIMITS
16 | 90 | DW0005 | Independence Village Water System Upgrade | Independence Water Company Incorporated | Charles | 88 | PRIVATE | Small | N | Storage |  |  | 06/01/2026 | 12/31/2026 | 10/01/2025 | Y | 2 | 1 | N | N | N |  | MD0080019 |  |  | 2638600 | 2638600 | DW0005 | PROBLEM: SYSTEM IS AGING AND LACKS REDUNDANCY; EMERGENCY REPAIRS ARE INCREASING DIFFICULT FOR THE COMMUNITY TO AFFORD PROJECT: D/C-INSTALL BACKUP WELL, REPLACE STORAGE TANK W/LARGER, INSTALL BACKUP GENERATOR; REPLACE WELL PUMP
17 | 90 | DW0090 | Andorick Acres Water Main Extension | Anne Arundel County | Anne Arundel | 135 | PUBLIC | Small | N | Transmission & Distribution |  |  | 07/01/2027 | 03/31/2029 | 03/01/2024 | Y | Y | 1 | Y | N | N |  | MD0020017 |  |  | 5576000 | 5576000 | DW0090 | PROBLEM: WITH REGARD TO MDE'S 2017 ANDORICK ACRES GROUNDWATER IMPACTS REPORT, THE COMMUNITY HAS PETITIONED TO ELIMINATE WELL RELIANCE PROJECT: P/D/C-APROX 4100 LF OF 8" PVC WM, 11 FIRE HYDRANTS & ASSOCIATED LATERALS, 54 WATER METERS & ASSOCIATED LATERALS
18 | 90 | DW0035 | Darlington WTP PFAS Treatment | Maryland Environmental Service | Harford | 250 | PUBLIC | Small | N | Treatment | PFAS/EC |  | 10/01/2026 | 05/31/2027 | 07/01/2025 | Y | Y | 1 | N | N | Y |  | MD0120009 | Y |  | 850000 | 850000 | DW0035 | PROBLEM: PFAS LEVELS IN LOCAL WELLS EXCEED EPA'S ENFORCEABLE MAXIMUM CONTAMINANT LEVELS; SEEKING PROACTIVE COMPLIANCE PROJECT: P/D/C-ESTABLISH TREATMENT GOALS AND CONSTRUCT A PFAS TREATMENT SYSTEM AT DARLINGTON WTP
19 | 90 | DW0032 | Emmitsburg North Seton Avenue Waterline Replacement and Improvements | Town of Emmitsburg | Frederick | 2770 | PUBLIC | Small | N | Transmission & Distribution |  | 1001250 | 11/01/2025 | 05/31/2027 | 06/01/2023 | Y | Y | 1 | Y | Y | N | Green (G) | MD0100010 |  |  | 4809271 | 2573450 | DW0032 | PROBLEM: WATER LINE SERVING TOWN RECEIVING WATER PRESSURE AND QUALITY COMPLAINTS DUE TO SEVERELY AGED PIPE; FREQUENT REPAIRS NEEDED PROJECT: D/C-REPLACE APPROXIMATELY 1725 FEET OF WATER LINES; ADD GREEN INFRASTRUCTURE IN AREA FOR STORMWATER MANAGEMENT
20 | 85 | DW0019 | Herring Creek Water Main Interconnect | Worcester County | Worcester | 1738 | PUBLIC | Small | Y | Transmission & Distribution |  |  | 10/01/2025 | 07/31/2026 | 06/01/2023 | N | 3 | 1 | N | N | N |  | MD0230019 |  |  | 2836960 | 2836960 | DW0019 | PROBLEM: CONSOLIDATION IS NEEDED TO PROVIDE WATER RESOURCE REDUNDANCY AND ADDRESS PRESSURE LOSS ISSUES AND WATER SHORTAGES PROJECT: CONSTRUCT 3,000 LF OF 8" WATER MAIN TO CONNECT MYSTIC HARBOUR & RIDDLE FARM; 1,050 LF 14" DIRECTIONAL DRILL; FIRE HYDRANTS
21 | 80 | DW0092 | DeHaven and Mason Road Project | Allegany County Commissioners | Allegany | 238 | PUBLIC | Small | Y | Transmission & Distribution |  |  | 11/01/2025 | 11/30/2026 | 08/01/2022 | Y | 5 | 2 | N | N | N |  | MD0010005 |  |  | 1725000 | 1725000 | DW0092 | PROBLEM: PROBLEM: TWO FAILING SMALL PRIVATE WATER CO'S UNABLE TO OPERATE & MAINTAIN SYSTEMS CONNECTED TO CITY OF CUMB WATER SYSTEM PROJECT: D/C-APX 8,000 LF WATER LINE, 35 WATER SVCS & APPURT TO REPLACE SMALL 2-IN TO 6-IN DIA FAILING WATER LINES-PROJ RESTORES T/M
22 | 80 | DW0028 | Water Reuse Project - Westminster | City of Westminster | Carroll | 38000 | PUBLIC | Large | Y | Treatment |  | 16000000 | 02/01/2025 | 12/31/2026 | 07/01/2022 | Y | Y | 1 | Y | Y | N | Green (W) | MD0060015 |  |  | 28711402 | 16000000 | DW0028 | PROBLEM: WATER SUPPLY IS SUSCEPTIBLE TO EXTREME SHORTAGES IN DROUGHT CONDITIONS; INSUFFICIENT DROUGHT HARDINESS PROJECT: CONSTRUCT INDIRECT WATER REUSE FACILITY FOR DRINKABLE WATER TREATMENT AND REUSE; DEMOLISH BUILDINGS AND PIPING
23 | 79 | DW0039 | PFAS Treatment at Bynum Well Station | Maryland American Water Company | Harford | 15500 | PRIVATE | Large | N | Treatment | PFAS/EC |  | 10/01/2026 | 12/31/2027 | 07/01/2025 | Y | Y | 1 | N | N | N |  | MD0120003 | Y |  | 5000000 | 5000000 | DW0039 | PROBLEM: CONCENTRATION OF CERTAIN PFAS/PFOA CHEMICALS IN WELL HAVE EXCEEDED EPA'S MAXIMUM CONTAMINANT LEVELS PROJECT: P/D/C-GRANULAR ACTIVATED CARBON (GAC) ADSORPTION SYSTEM TO REMOVE PFAS/PFOA AT BYNUM WELL
24 | 75 | DW0077 | Dolphin Road Water Main Replacement | Washington Suburban Sanitary Commission | Prince George's | 445 | PUBLIC | Large | Y | Transmission & Distribution |  |  | 09/01/2026 | 09/30/2028 | 11/18/2021 | Y | Y | 2 | Y | Y | N |  | MD0150005 |  |  | 5500000 | 5500000 | DW0077 | PROBLEM: AGED CAST IRON WATER MAINS DETERIORATING/NEED REPLACEMENT; FREQUENT BREAKS & LEAKS; PUBLIC HEALTH CONCERN PROJECT: CONSTRUCT REPLACEMENT OF APPROXIMATELY 2 MILES OF 6" TO 10" WATER MAINS
25 | 75 | DW0073 | Buckler Road Water Main Replacement | Washington Suburban Sanitary Commission | Prince George's | 555 | PUBLIC | Large | Y | Transmission & Distribution |  |  | 04/01/2026 | 11/30/2027 | 07/01/2021 | Y | Y | 2 | Y | Y | N |  | MD0150005 |  |  | 5429932 | 5429932 | DW0073 | PROBLEM: AGED CAST IRON WATER MAINS DETERIORATING/NEED REPLACEMENT; FREQUENT BREAKS & LEAKS; PUBLIC HEALTH CONCERN PROJECT: CONSTRUCT REPLACEMENT OF MORE THAN 2 MILES OF WATER MAINS
26 | 75 | DW0074 | Carderock Springs Water Main Replacement | Washington Suburban Sanitary Commission | Montgomery | 615 | PUBLIC | Large | N | Transmission & Distribution |  |  | 08/01/2026 | 12/31/2028 | 12/01/2025 | Y | 2 | 2 | Y | Y | N |  | MD0150005 |  |  | 8125000 | 8125000 | DW0074 | PROBLEM: AGED CAST IRON WATER MAINS DETERIORATING/NEED REPLACEMENT; FREQUENT BREAKS & LEAKS; PUBLIC HEALTH CONCERN PROJECT: CONSTRUCT REPLACEMENT OF MORE THAN 2 MILES OF WATER MAINS
27 | 75 | DW0033 | Middletown 1894 Springline Replacement - Phases 2 and 3 | Burgess and Commissioners of Middletown | Frederick | 4500 | PUBLIC | Small | N | Transmission & Distribution |  |  | 03/01/2026 | 09/30/2026 | 09/01/2025 | Y | 2 | 1 | N | N | N |  | MD0100018 |  |  | 1712000 | 1627000 | DW0033 | PROBLEM: CRACKS, CORROSION, AND EXPOSED PARTS OF SPRINGLINE WELL PAST ITS USEFUL LIFE, CAUSING LOSS OF WATER FLOW PROJECT: D/C-REPLACEMENT OF CAST IRON SECTIONS OF 130-YEAR OLD SPRINGLINE WITH LEAD SEALED JOINTS TO IMPROVE WATER FLOW/QUALITY
28 | 75 | DW0012 | Filter Replacement and SCADA Upgrades at Paleo WTP | City of Salisbury | Wicomico | 39233 | PUBLIC | Large | Y | Transmission & Distribution |  |  | 05/01/2026 | 11/30/2027 | 11/01/2021 | Y | Y | 1 | Y | Y | N |  | MD0220004 |  |  | 16456737 | 16160000 | DW0012 | PROBLEM: FILTERS HAVE EXCEEDED USEFUL LIFE; SCADA COMPUTER PROGRAM IS OUTDATED & NEEDS UPGRADES FOR COMMUNICATION WITH NEW FILTERS PROJECT: CONSTRUCT REPLACEMENT W/NEW GREEN SAND PRESSURE FILTERS; MODIFY PIPE GALLERY; NEW FILTER BUILDING; UPGRADE SCADA SYSTEM
29 | 70 | DW0093 | Depot Street Water Project | Allegany County Commissioners | Allegany | 70 | PUBLIC | Small | Y | Transmission & Distribution |  |  | 03/01/2026 | 09/30/2026 | 07/01/2025 | Y | 2 | 2 | N | N | N |  | MD0010009 |  |  | 700000 | 700000 | DW0093 | PROBLEM: FAILING SMALL PRIV WATER CO UNABLE TO O&M SYSTEMS CONNECTED TO CITY OF FROSTBURG WATER SYS; SMALL 2" DIA WATER LINES FAILING PROJECT: P/D/C-REPLACEMENT OF APX 3,000 LF WATER LINE, 10 WATER SVCS/APPURT TO REPLACE; PROJECT RESTORES T/M
30 | 70 | DW0075 | College Gardens Water Main Replacement | Washington Suburban Sanitary Commission | Montgomery | 168 | PUBLIC | Large | N | Transmission & Distribution |  |  | 08/01/2026 | 08/30/2028 | 08/01/2023 | Y | Y | 2 | Y | Y | N |  | MD0150005 |  |  | 4967330 | 4967330 | DW0075 | PROBLEM: AGING CAST IRON WATER MAINS ARE DETERIORATING; FREQUENT BREAKS AND LEAKS; PUBLIC HEALTH CONCERN PROJECT: CONSTRUCT REPLACEMENT OF APPROX 2 MILES OF 4"-10" WATER MAINS; REPLACEMENT OF 1560 LF OF 3" CAST IRON PIPE
31 | 70 | DW0078 | Fort Washington Road Water Main Replacement | Washington Suburban Sanitary Commission | Prince George's | 335 | PUBLIC | Large | Y | Transmission & Distribution |  |  | 08/01/2026 | 08/30/2028 | 12/01/2021 | Y | Y | 2 | Y | Y | N |  | MD0150005 |  |  | 5960324 | 5960324 | DW0078 | PROBLEM: AGING CAST IRON WATER MAINS ARE DETERIORATING; FREQUENT BREAKS AND LEAKS; PUBLIC HEALTH CONCERN PROJECT: CONSTRUCT REPLACEMENT OF APPROX 2 MILES OF 4"-12" WATER MAINS
32 | 70 | DW0049 | Chesapeake Heights Distribution Replacement Project | Board and Commissioners of Calvert County | Calvert | 705 | PUBLIC | Large | N | Transmission & Distribution |  |  | 04/01/2026 | 07/31/2027 | 03/01/2021 | Y | 2 | 1 | N | N | N |  | MD0040018 |  |  | 6178533 | 6000000 | DW0049 | PROBLEM: SYSTEM EXPERIENCES MULTIPLE MAIN LINE BREAKS AND LEAKS IN 2" GALVANIZED PIPE; SYSTEM SUSCEPTIBLE TO CONTAMINATION/BACKFLOW PROJECT: CONSTRUCT REPLACEMENT OF 27,000 LF W/4"-8" C-900 IN TWO PHASES: PH 1 = EAST SIDE, PH 2 = WEST SIDE
33 | 70 | DW0001 | Annapolis Road Transmission Water Main Replacement Phase II | Washington Suburban Sanitary Commission | Prince George's | 3840 | PUBLIC | Large | N | Transmission & Distribution |  |  | 09/01/2026 | 09/30/2028 | 11/01/2021 | Y | Y | 2 | Y | Y | N |  | MD0150005 |  |  | 12082086 | 12082086 | DW0001 | PROBLEM: AGING WATER MAIN INFRASTRUCTURE; FREQUENT BREAKS, LOW FLOW, & CORRODED PIPES IS A PUBLIC HEALTH CONCERN; EMERGENCY RESPONSE PROJECT: CONSTRUCT REPLACEMENT OF APPROX 2 MILES OF 4"-24" WATER MAINS
34 | 70 | DW0085 | Easton Utilities Water Treatment Plant | Easton Utilities Commission | Talbot | 52500 | PUBLIC | Large | Y | Treatment |  | 12025000 | 06/01/2026 | 06/30/2027 | 04/01/2021 | Y | Y | 1 | Y | N | N | Green (G) | MD0200003 |  |  | 12752000 | 12025000 | DW0085 | PROBLEM: 30+ YEAR OLD WTP RISKS CRITICAL FAILURE & LACKS CAPACITY PROJECT: P/D/C-REPLACEMENT OF GLEBE WTP WITH CLIMATE-RESILIENT PLANT WITH REDUNDANCY; UPGRADING WELLS & SAND FILTERS
35 | 69 | DW0038 | PFAS Treatment at Winters Run Water Treatment Plant | Maryland American Water Company | Harford | 15500 | PRIVATE | Large | N | Treatment | PFAS/EC |  | 10/01/2026 | 12/31/2027 | 07/01/2025 | Y | Y | 1 | N | N | N |  | MD0120003 | Y |  | 15100000 | 15100000 | DW0038 | PROBLEM: CONCENTRATION OF CERTAIN PFAS/PFOA CHEMICALS EXCEED EPA'S MAXIMUM CONTAMINANT LEVELS IN TWO WELLS PROJECT: P/D/C-CONSTRUCT GAC ADSORPTION FILTERS FOR PFAS/PFOA FOR COMPLIANCE WITH EPA STANDARDS
36 | 65 | DW0066 | Town of Grantsville Water System Improvements | Town of Grantsville | Garrett | 1000 | PUBLIC | Small | Y | Source |  |  | 11/01/2026 | 11/30/2027 | 05/01/2025 | Y | Y | 2 | N | N | N |  | MD0110005 |  |  | 13924000 | 2089000 | DW0066 | PROBLEM: WATER SUPPLY INSUFFICIENT TO MEET DEMAND AND ESTIMATED FUTURE NEEDS; AGING GRANTSVILLE WATER SYSTEM IS FAILING PROJECT: P/D/C-CONSOLIDATE AGING GRANTSVILLE WTP AND GREEN WTP INTO A SINGLE WTP AT GREEN SITE; DEMOLISH GRANTSVILLE PLANT
37 | 65 | DW0055 | Lead Service Line Inventory - Town of Perryville | Town of Perryville | Cecil | 6838 | PUBLIC | Small | Y | Transmission & Distribution | LSL |  | 11/01/2025 | 12/31/2026 | 03/01/2025 | Y | Y | 1 | N | N | N |  | MD0070018 |  | Y | 1662000 | 1640000 | DW0055 | PROBLEM: LEAD SERVICE LINE INVENTORY NEEDED FOR THE REMAINING 629 SERVICE LINES OF UNKNOWN MATERIAL PROJECT: D/C-UNCOVER, INSPECT, IDENTIFY AND REPORT THE MATERIAL FOR 629 3/4" LINES AVERAGING 75 LF EACH
38 | 65 | DW0044 | WC-1199 Ashburton Pumping Station Rehabilitation | Mayor and City Council of Baltimore | Baltimore City | 1800000 | PUBLIC | Large | Y | Transmission & Distribution |  |  | 09/01/2025 | 09/30/2029 | 07/01/2014 | Y | Y | 1 | Y | Y | Y |  | MD0300002 |  |  | 86972516 | 27422000 | DW0044 | PROBLEM: CONTINUED RELIABLE OPERATION OF AGING PUMPING STATION IN SUPPORT OF FINISHED WATER STORAGE PROJECT: CONSTRUCT REHAB OF PUMPING STATION TO SUPPORT WC-1211 UNDER ADMINISTRATIVE ORDER
39 | 65 | DW0100 | WC-1199 Ashburton Pumping Station Rehabilitation | Baltimore County | Baltimore County | 1800000 | PUBLIC | Large | Y | Transmission & Distribution |  |  | 09/01/2025 | 09/30/2029 | 07/01/2014 | Y | Y | 1 | Y | Y | Y | Joint project w/ Baltimore City | MD0300002 |  |  | 0 | 39137632 | DW0100 | PROBLEM: CONTINUED RELIABLE OPERATION OF AGING PUMPING STATION IN SUPPORT OF FINISHED WATER STORAGE PROJECT: CONSTRUCT REHAB OF PUMPING STATION TO SUPPORT WC-1211 UNDER ADMINISTRATIVE ORDER
40 | 60 | DW0063 | Gorman Water Source Project | Garrett County Sanitary District | Garrett | 368 | PUBLIC | Small | Y | Source |  |  | 02/01/2026 | 06/30/2026 | 03/01/2025 | Y | 2 | 1 | N | N | N |  | MD0110012 |  |  | 1574286 | 1360000 | DW0063 | PROBLEM: ONE OF THE TWO WELLS IN GORMAN COMMUNITY COLLAPSED IN 2021, CAUSING INSUFFICIENT WATER SUPPLY PROJECT: D/C-INSTALL THREE TEST WELLS AND DEVELOP UP TO TWO OF THEM WITH GOAL TO ACHIEVE 100 GPM
41 | 60 | DW0060 | Beaufort Place Water Main Replacement | Washington Suburban Sanitary Commission | Montgomery | 570 | PUBLIC | Large | Y | Transmission & Distribution |  |  | 09/01/2026 | 01/31/2028 | 12/01/2021 | Y | 2 | 2 | Y | Y | N |  | MD0150005 |  |  | 8422850 | 8422850 | DW0060 | PROBLEM: AGING WATER MAINS SUBJECT TO INCREASING BREAKS & LEAKS; CONSTRICTED FLOW DUE TO IRON PIPES PROJECT: CONSTRUCT REPLACEMENT OF APPROX 2.52 MILES OF 4"-20" WATER MAIN; NEEDED AND IN ACCORDANCE WITH ASSET MANAGEMENT PLANNING
42 | 60 | DW0069 | Clear Spring Water Meters | Town of Clear Spring | Washington | 1100 | PUBLIC | Small | N | Transmission & Distribution |  |  | 10/01/2025 | 06/30/2026 | 12/01/2024 | Y | 2 | 1 | Y | N | N |  | MD0210005 |  |  | 364266 | 364266 | DW0069 | PROBLEM: TOWN CONTRACTS OUT WATER SYSTEM AND METERS TO WASHINGTON COUNTY PROJECT: CONSTRUCT REPLACEMENT OF 277 WATER METERS SO TOWN CAN READ THEM VIA RADIO INSTEAD OF CONTRACTING THE METER READING
43 | 60 | DW0006 | Lead Service Line Replacement - Town of Hurlock | Town of Hurlock | Dorchester | 2388 | PUBLIC | Small | Y | Transmission & Distribution | LSL |  | 12/01/2026 | 12/31/2027 | 04/01/2026 | Y | 2 | 1 | N | N | N |  | MD0090005 |  | Y | 1227600 | 1227600 | DW0006 | PROBLEM: POTENTIAL LCRR NON-COMPLIANCE OF WATER DISTRIBUTION NETWORK PROJECT: P/D/C-REPLACEMENT OF APPROX 180 LSL WITH COPPER, PVC, OR HDPE FOR LCR COMPLIANCE
44 | 60 | DW0034 | Main Service Lines Replacement - Havre de Grace | City of Havre de Grace | Harford | 3350 | PUBLIC | Large | N | Transmission & Distribution |  |  | 05/01/2026 | 05/31/2027 | 06/01/2021 | Y | Y | 1 | Y | Y | N |  | MD0120012 |  |  | 3323750 | 3249750 | DW0034 | PROBLEM: WATER LINES ARE DETERIORATING CAUSING PRESSURE/COMPLIANCE ISSUES & CONTAMINATION RISK PROJECT: P/D/C-REPLACEMENT OF WATER MAINS, DISTRIBUTION LINES, AND LATERALS IN CENTRAL HAVRE DE GRACE TO PREVENT POLLUTION
45 | 60 | DW0004 | Lead Service Line Replacement - Town of Indian Head | Town of Indian Head | Charles | 5003 | PUBLIC | Small | N | Transmission & Distribution | LSL |  | 12/01/2026 | 06/30/2027 | 04/01/2026 | Y | Y | 1 | N | N | N |  | MD0080020 |  | Y | 1208500 | 1208500 | DW0004 | PROBLEM: ASSIST A POTENTIALLY NON-COMPLIANT WATER SYSTEM ACHIEVE LCRR COMPLIANCE PROJECT: P/D/C-REPLACE APROX. 175 LEAD/GALVANIZED IRON LINES WITH COPPER, PVC OR HDPE PIPES
46 | 60 | DW0086 | Easton Utilities Water Main Replacements | Easton Utilities Commission | Talbot | 21000 | PUBLIC | Large | Y | Transmission & Distribution |  |  | 10/01/2025 | 03/31/2026 | 01/01/2025 | Y | Y | 1 | Y | N | N |  | MD0200003 |  |  | 1220200 | 1220200 | DW0086 | PROBLEM: MULTIPLE BREAKS DUE TO DETERIORATED PIPES; WATER SERVICE DISRUPTIONS; PRESSURE LOSSES CAUSING POTENTIAL FOR BACTERIA GROWTH PROJECT: P/D/C-REMOVE & REPLACE JUDAS ST(750 LF 6") CAST IRON & PORT ST(680 LF 12") PIPE W PVC; FIRE HYDRANTS; REPLACE VALVES
47 | 55 | DW0007 | Vienna Water Treatment Plant and Wells Replacement Project | Commissioners of Vienna | Dorchester | 600 | PUBLIC | Small | N | Source |  |  | 01/01/2027 | 03/01/2028 | 03/01/2025 | Y | 2 | 1 | N | N | N |  | MD0090008 |  |  | 3436598 | 3428265 | DW0007 | PROBLEM: OLD WTP W/CHLORINATION/FLUORIDATION ISSUES; CONTROL SYSTEMS CORRODING; IRON EXCEEDANCES; HIGH MANGANESE PROJECT: D/C-NEW WTP NEAR WATER TOWER W/SCADA; 2 NEW WELLS IN ONE OF FOUR DEEPER AQUIFIERS
48 | 55 | DW0065 | Town of Grantsville Well Project | Town of Grantsville | Garrett | 1000 | PUBLIC | Small | Y | Source |  |  | 08/01/2025 | 10/31/2025 | 01/01/2024 | Y | 2 | 2 | N | N | N |  | MD0110005 |  |  | 1276000 | 1276000 | DW0065 | PROBLEM: WATER SUPPLY INSUFFICIENT TO MEET CURRENT AND FUTURE NEEDS PROJECT: P/D/C-REPAIR/REHAB TO EXISTING WELL 6 AND 7; CREATE NEW WELL 8 AS PRIMARY WATER SOURCE; WELL 7 TO BE UTILIZED AS A BACKUP
49 | 55 | DW0009 | Willards LCRR Inventory Field Investigation | The Town of Willards | Wicomico | 1218 | PUBLIC | Small | Y | Transmission & Distribution | LSL |  | 02/01/2026 | 05/01/2026 | 07/01/2025 | Y | Y | 1 | N | N | N |  | MD0220007 |  | Y | 276100 | 276100 | DW0009 | PROBLEM: 140 POTENTIAL LSL OF PRE 1970 STRUCTURES MAY REQUIRE LEAD ABATEMENT PROJECT: D/C-DO FIELD INVESTIGATIONS OF 140 PROPERTIES TO IDENTIFY ANY LEAD IN WATER SYSTEM & NOTIFY USERS
50 | 55 | DW0064 | Town of Oakland's Lead Service Line Replacement - Phase 1 | Town of Oakland | Garrett | 1350 | PUBLIC | Small | Y | Transmission & Distribution | LSL |  | 01/01/2027 | 10/31/2028 | 10/01/2026 | Y | Y | 2 | N | N | N |  | MD0110008 |  | Y | 1275000 | 1275000 | DW0064 | PROBLEM: LSL SURVEY IN OAKLAND HAS IDENTIFIED LEAD SERVICE LINES AND LINES OF UNKNOWN MATERIAL PROJECT: D/C-REPLACE 106 LEAD SERVICE LINES ACROSS OAKLAND'S TOWN WATER SYSTEM
51 | 55 | DW0052 | Greensboro Lead Service Line Investigation | Town of Greensboro | Caroline | 2300 | PUBLIC | Small | Y | Transmission & Distribution | LSL |  |  |  |  | Y | 2 | 1 | N | N | N |  | MD0050003 |  | Y | 80000 | 75000 | DW0052 | PROBLEM: LEAD SERVICE LINE INVENTORY FOR TOWN OF GREENSBORO; 608 OF THE 755 SERVICE LINES IN GREENSBORO HAVE AN UNKNOWN STATUS PROJECT: IDENTIFY THE MATERIAL COMPOSITION OF THE WATER LINES THAT WERE UNIDENTIFIED IN THE INITIAL LEAD SERVICE LINE INVENTORY
52 | 55 | DW0031 | Lead Service Line Replacement - Town of Myersville | Town of Myersville | Frederick | 2800 | PUBLIC | Small | N | Transmission & Distribution | LSL |  | 12/01/2026 | 06/30/2027 | 04/01/2026 | Y | 2 | 1 | Y | Y | N |  | MD0100020 |  | Y | 67900 | 67900 | DW0031 | PROBLEM: TOWN'S WATER SYSTEM INCLUDES ABOUT 10 GALVANIZED AND LEAD SERVICE LINES PROJECT: P/D/C-REPLACE LEAD AND GALVANIZED SERVICE LINES WITH COPPER, PVC, OR HDPE TO ADDRESS LEAD AND COPPER RULE
53 | 55 | DW0029 | Lead Service Line Replacement - Town of Emmitsburg | Town of Emmitsburg | Frederick | 4298 | PUBLIC | Small | N | Transmission & Distribution | LSL |  | 12/01/2026 | 12/31/2027 | 04/01/2026 | Y | 2 | 1 | Y | Y | N |  | MD0100010 |  | Y | 1098020 | 1098020 | DW0029 | PROBLEM: TOWN HAS LEAD SERVICE LINES; AIMS TO HELP POTENTIALLY NON-COMPLIANT SYSTEM MEET LCRR RULES PROJECT: P/D/C-REPLACE APPROXIMATELY 161 LEAD OR GALVANIZED WATER SERVICE LINES IN TOWN'S DISTRIBUTION SYSTEM
54 | 55 | DW0046 | WC-1280 Glenmore Ave & Vicinity Water Main Replacements | Mayor and City Council of Baltimore | Baltimore City | 4863 | PUBLIC | Large | Y | Transmission & Distribution |  |  | 07/01/2027 | 06/30/2029 | 07/01/2025 | Y | Y | 1 | Y | Y | N |  | MD0300002 |  |  | 14945675 | 11834649 | DW0046 | PROBLEM: AGED UNLINED CAST IRON PIPES DETERIORATING CAUSING POOR WATER QUALITY, BACTERIAL GROWTH AND REDUCED HYDRAULIC CAPACITY PROJECT: CONSTRUCT REHAB/REPLACE APPROXIMATELY 18,500 LF OF 4"-12" DIAMETER DRINKING WATER MAINS, VALVES, FIRE HYDRANTS, ETC.
55 | 55 | DW0047 | WC-1285R Caroline Street & Vicinity Water Main Replacements | Mayor and City Council of Baltimore | Baltimore City | 5585 | PUBLIC | Large | Y | Transmission & Distribution |  |  | 03/01/2026 | 09/30/2027 | 09/01/2024 | Y | Y | 1 | Y | Y | N |  | MD0300002 |  |  | 24513711 | 12896853 | DW0047 | PROBLEM: AGED UNLINED CAST IRON PIPES DETERIORATING CAUSING POOR WATER QUALITY, BACTERIAL GROWTH AND REDUCED HYDRAULIC CAPACITY PROJECT: CONSTRUCT REHAB/REPLACE APPROXIMATELY 19,590 LF OF 3"-12" DIAMETER DRINKING WATER MAINS, VALVES, FIRE HYDRANTS, ETC.
56 | 55 | DW0083 | Town of Centreville Lead Service Line Replacement | Town of Centreville | Queen Anne's | 7118 | PUBLIC | Small | N | Transmission & Distribution | LSL |  | 07/01/2026 | 10/31/2028 | 10/01/2025 | Y | Y | 2 | Y | N | N |  | MD0170001 |  | Y | 1689600 | 1689600 | DW0083 | PROBLEM: TOWN TRYING TO COMPLY WITH LCCR; LINES BUILT BETWEEN 1913-85; PROTECT PUBLIC HEALTH PROJECT: P/D/C-REPLACEMENT OF APPROX 600 LSL; PROJECT ALSO OFFERS WATER REUSE & CONSERVATION; INSTALL MEMBRANE BIO FILTRATION
57 | 55 | DW0030 | Town of Thurmont Lead and Copper Service Line Replacement | Town of Thurmont | Frederick | 7875 | PUBLIC | Small | N | Transmission & Distribution | LSL |  | 12/01/2026 | 12/31/2027 | 04/01/2026 | Y | 2 | 1 | Y | N | N |  | MD0100023 |  | Y | 1767700 | 1767700 | DW0030 | PROBLEM: APPROXIMATELY 235 SERVICE LINES ARE LEAD OR GALVANIZED; NEED TO BE REPLACED FOR LEAD AND COPPER RULE COMPLIANCE PROJECT: P/D/C-REPLACE EXISTING LEAD OR GALVANIZED SERVICE LINES WITH COPPER, PVC, OR HDPE PIPES
58 | 55 | DW0045 | WC-1271 Cross St & Vicinity Water Main Replacements | Mayor and City Council of Baltimore | Baltimore City | 9400 | PUBLIC | Large | Y | Transmission & Distribution |  |  | 01/01/2028 | 02/28/2030 | 09/01/2025 | Y | Y | 1 | Y | Y | N |  | MD0300002 |  |  | 25531223 | 21310358 | DW0045 | PROBLEM: AGED UNLINED CAST IRON PIPES DETERIORATING CAUSING POOR WATER QUALITY, BACTERIAL GROWTH AND REDUCED HYDRAULIC CAPACITY PROJECT: CONSTRUCT REHAB/REPLACE APPROXIMATELY 31,070 LF OF 4"-20" DIAMETER DRINKING WATER MAINS, VALVES, FIRE HYDRANTS, ETC.
59 | 55 | DW0061 | City of Bowie Water Main Rehabilitation Project | City of Bowie | Prince George's | 27000 | PRIVATE | Large | Y | Transmission & Distribution |  |  | 11/01/2027 | 06/30/2028 |  | Y | Y | 2 | Y | Y | N |  | MD0160002 |  |  | 4500000 | 4500000 | DW0061 | PROBLEM: AGING WATER MAIN INFRASTRUCTURE WITH FREQUENT BREAKS AND CORRODED PIPES IS A PUBLIC HEALTH CONCERN; LOW FLOWS PROJECT: CONSTRUCT REPLACEMENT OF WATER LINES, METERS AND VALVES TO ENSURE PROPER OPERATION AND DELIVERY OF WATER
60 | 55 | DW0071 | RC Willson Transmission Main Replacement | City of Hagerstown | Washington | 108600 | PUBLIC | Large | Y | Transmission & Distribution |  |  | 12/01/2026 | 12/31/2028 | 11/01/2025 | Y | 2 | 1 | Y | Y | N |  | MD0210010 |  |  | 17250000 | 15000000 | DW0071 | PROBLEM: 95 YEAR OLD WATER SYSTEM IS DETERIORATING PROJECT: CONSTRUCT REPLACEMENT OF 6,000 LF OF TWO PARALLEL 24-INCH WATER TRANSMISSION MAINS
61 | 55 | DW0041 | WC-1243 Cromwell Pump Station Improvements | Mayor and City Council of Baltimore | Baltimore City | 1800000 | PUBLIC | Large | Y | Transmission & Distribution |  |  | 06/01/2025 | 06/30/2027 | 06/01/2015 | Y | Y | 1 | Y | Y | Y |  | MD0300002 |  |  | 72821687 | 12032359 | DW0041 | PROBLEM: AGING PUMPING STATION NECESSARY PART OF SYSTEM TO PROVIDE SAFE/RELIABLE DRINKING WATER PROJECT: CONSTRUCT REPAIR/REPLACE/REHAB OF EQUIPMENT, SYSTEMS, AND STRUCTURE INC. CHLORINATION SYSTEM
62 | 55 | DW0097 | WC-1243 Cromwell Pump Station Improvements | Baltimore County | Baltimore County | 1800000 | PUBLIC | Large | Y | Transmission & Distribution |  |  | 06/01/2025 | 06/30/2027 | 06/01/2015 | Y | Y | 1 | Y | Y | Y | Joint project w/ Baltimore City | MD0300002 |  |  | 0 | 48790530 | DW0097 | PROBLEM: AGING PUMPING STATION NECESSARY PART OF SYSTEM TO PROVIDE SAFE/RELIABLE DRINKING WATER PROJECT: CONSTRUCT REPAIR/REPLACE/REHAB OF EQUIPMENT, SYSTEMS, AND STRUCTURE INC. CHLORINATION SYSTEM
63 | 50 | DW0076 | Danville Road Water Main Replacement | Washington Suburban Sanitary Commission | Prince George's | 118 | PUBLIC | Large | Y | Transmission & Distribution | LSL |  | 08/01/2026 | 11/30/2027 | 10/01/2021 | Y | 2 | 2 | Y | Y | N |  | MD0150005 |  | Y | 10645006 | 10645006 | DW0076 | PROBLEM: AGING CAST IRON WATER MAINS DETERIORATING; FREQUENT BREAKS AND LEAKS; PUBLIC HEALTH CONCERN PROJECT: CONSTRUCT REPLACEMENT OF TRANS/DISTRIBUTION WATER MAINS; 2.5 MILES OF 8" TO 24" PIPE TO BE REPLACED
64 | 50 | DW0084 | Jones Creek Watermain Crossing | Somerset County Sanitary District Inc. | Somerset | 470 | PRIVATE | Small | Y | Transmission & Distribution |  |  | 08/01/2026 | 11/30/2026 | 09/01/2025 | Y | Y | 1 | N | N | N |  | MD0190002 |  |  | 345200 | 335200 | DW0084 | PROBLEM: DW MAIN IS OLD AND DETERIORATING; HAS FAILED IN THE PAST RELEASING DW TO THE CREEK; POSES MAINTENANCE RISK PROJECT: P/D/C-REPLACEMENT OF TRANS/DISTRIBUTION WATERMAIN ADJACENT TO/CROSSING US ROUTE 13 AND JONES CREEK
65 | 50 | DW0020 | Berlin Lead Service Line Replacement Phase 2 | Town of Berlin | Worcester | 920 | PUBLIC | Small | Y | Transmission & Distribution | LSL |  | 11/01/2026 | 04/30/2027 | 06/01/2025 | Y | Y | 1 | N | N | N |  | MD0230001 |  | Y | 1838520 | 1838520 | DW0020 | PROBLEM: TOWN REPLACING LSL TO MEET EPA AND MDE MCL OF ZERO. PROJECT: D/C-REPLACE REMAINING APROX. 333 LSL CONTAINING LEAD GOOSE NECK, GALVANIZED PIPES, & OTHER DEFINING FACTORS
66 | 50 | DW0067 | Town of Sharpsburg Water Service Lead Abatement Project | Washington County Board of County Commissioners | Washington | 3750 | PUBLIC | Small | N | Transmission & Distribution | LSL |  | 06/01/2025 | 11/30/2025 | 01/01/2025 | Y | 2 | 1 | Y | Y | N |  | MD0210017 |  | Y | 1250000 | 750000 | DW0067 | PROBLEM: EXISTING WATER SYSTEM CONTAINS LEAD COMPONENTS IN METER/CRADLE AND FITTINGS PROJECT: CONSTRUCT REPLACEMENT OF LEAD-CONTAINING COMPONENTS IN METERS AND ASSOCIATED FITTINGS
67 | 50 | DW0089 | Midland/Gilmore Raw Water Storage Tank | Town of Lonaconing | Allegany | 4700 | PUBLIC | Small | Y | Storage |  |  | 06/01/2026 | 05/31/2027 | 09/01/2025 | Y | 2 | 2 | N | N | Y |  | MD0010018 |  |  | 12000000 | 12000000 | DW0089 | PROBLEM: DAM INSPECTION CLASSIFIED A HIGH HAZARD POTENTIAL AND RATED UNSAFE PROJECT: DECOMMISSION EXISTING MIDLAND GILMORE RESERVOIR, RESTORE ELK LICK RUN, AND CONSTRUCT 6 MG RAW WATER STORAGE TANK
68 | 50 | DW0088 | Town of Lonaconing New Georges Creek Water Line | Town of Lonaconing | Allegany | 4700 | PUBLIC | Small | Y | Transmission & Distribution |  |  | 01/01/2026 | 05/31/2026 | 08/01/2025 | Y | Y | 2 | N | N | N |  | MD0010018 |  |  | 1315000 | 1315000 | DW0088 | PROBLEM: FAILING WATER LINE FROM MIDLAND TO BARTON AFFECTING 19 TO 23 SVC CONN PROJECT: P/D/C-REPLACE APPROXIMATELY 4,300 LF 8-IN WATER MAIN AND 19 TO 23 SERVICE CONNECTIONS
69 | 50 | DW0003 | Well 13 Booster Station - Town of Indian Head | Town of Indian Head | Charles | 5003 | PUBLIC | Small | N | Transmission & Distribution |  |  | 12/01/2026 | 12/31/2027 | 04/01/2026 | N | Y | 1 | N | N | N |  | MD0080020 |  |  | 1283150 | 1283150 | DW0003 | PROBLEM: ISSUES WITH PS & WELL HOUSE OPERABILITY, STRUCTURAL CONDITION AND CHEMICALS; PRESSURE ISSUES WITH ANCHOR PNT DEVELOPMENT PROJECT: P/D/C-DESIGN & CONSTRUCT, WATER BOOSTER PS, TIE-IN-POINTS, PIPES, ACCESS DRIVE & PARKING, SETBACK LINES & ZONING INFORMATION
70 | 50 | DW0050 | Denton Water System LCRI: Lead Line Replacement | Town of Denton | Caroline | 6343 | PUBLIC | Small | Y | Transmission & Distribution | LSL |  | 08/01/2026 | 12/31/2037 | 03/01/2025 | Y | Y | 1 | N | N | N |  | MD0050001 |  | Y | 18519000 | 18454000 | DW0050 | PROBLEM: LEAD IN DRINKING WATER; TO COMPLY WITH LEAD AND COPPER RULE IMPROVEMENT (LCRI) REQUIREMENTS SET BY EPA PROJECT: D/C-REPLACEMENT OF APPROXIMATELY 596 SERVICE LINES; EACH LINE IS APPROXIMATELY 75 LF, 1.5" DIAMETER
71 | 50 | DW0027 | Town of Mount Airy Lead Service Line Replacement Program | Town of Mount Airy | Carroll | 7000 | PUBLIC | Small | N | Transmission & Distribution | LSL |  | 07/01/2025 | 07/31/2026 | 03/01/2025 | Y | 2 | 1 | N | N | N |  | MD0060007 |  | Y | 283347 | 283347 | DW0027 | PROBLEM: BASELINE LEAD SERVICE LINE INVENTORY IDENTIFIED 29 GALVANIZED SERVICE LINES TO BE REPLACED PROJECT: P/D/C-REPLACE 29 GALVANIZED SERVICE LINES TO COMPLY WITH REQUIREMENTS UNDER THE LSLR AND NOTIFICATION ACT
72 | 50 | DW0026 | Lead Service Line Replacement - City of Taneytown | City of Taneytown | Carroll | 8655 | PUBLIC | Small | Y | Transmission & Distribution | LSL |  | 12/01/2026 | 12/31/2027 | 04/01/2026 | Y | Y | 1 | Y | Y | N |  | MD0060012 |  | Y | 1602700 | 1602700 | DW0026 | PROBLEM: TOWN SEEKS TO ACTIVELY COMPLY WITH LCRR RULE AND IMPROVE DRINKING WATER QUALITY PROJECT: P/D/C-REPLACE APPROXIMATELY 235 LEAD SERVICE LINES WITH COPPER, PVC, OR HDPE PIPE
73 | 50 | DW0025 | Well 14 PFAS Treatment Facility - City of Taneytown | City of Taneytown | Carroll | 8655 | PUBLIC | Small | Y | Treatment | PFAS/EC |  | 12/01/2026 | 12/31/2027 | 04/01/2026 | Y | Y | 1 | Y | Y | N |  | MD0060012 | Y |  | 1223300 | 1223300 | DW0025 | PROBLEM: WELL 14 TESTED ABOVE INTERIM HEALTH ADVISORY LEVELS FOR PFOA AND PFOS; RISKS NON-COMPLIANCE WITH SAFE DRINKING WATER ACT PROJECT: P/D/C-PROJECT INCLUDES PILOT TESTING, ACQUISITION AND INSTALLATION OF GAC FILTRATION SYSTEM AT WELL 14 FACILITY
74 | 45 | DW0051 | Town of Preston Lead Service Line Replacement Project | Town of Preston | Caroline | 723 | PUBLIC | Small | N | Transmission & Distribution | LSL |  | 04/01/2027 | 12/31/2027 | 10/01/2026 | Y | 2 | 1 | N | N | N |  | MD0050005 |  | Y | 1968000 | 1968000 | DW0051 | PROBLEM: 164 KNOWN LEAD SERVICE LINES & SOME LINES ARE UNKNOWN; REPLACEMENT TO COMPLY WITH REVISED LEAD AND COPPER RULE PROJECT: D/C-REPLACEMENT OF APROXIMATELY 164 KNOWN LEAD SERVICE LINES FOUND DURING LSL INVENTORY
75 | 45 | DW0024 | Town of Union Bridge Lead Service Line Inventory | Town of Union Bridge | Carroll | 1200 | PUBLIC | Small | Y | Transmission & Distribution | LSL |  | 01/01/2026 | 03/31/2026 | 12/01/2024 | Y | Y | 1 | Y | Y | N |  | MD0060013 |  | Y | 55000 | 55000 | DW0024 | PROBLEM: MATERIAL OF 52 SERVICE LINES REMAINS UNKNOWN AFTER INITIAL MATERIAL RECORDS REVIEW; NEED TO COMPLY WITH LCRR REGULATIONS PROJECT: P/C-EXCAVATE AND IDENTIFY 52 WATER LINES OF UNKNOWN MATERIAL; UPDATE LSL INVENTORY
76 | 45 | DW0048 | WC-1417 Ridgely's Delight Water Main Replacement | Mayor and City Council of Baltimore | Baltimore City | 1300 | PUBLIC | Large | Y | Transmission & Distribution |  |  | 07/01/2027 | 06/30/2029 | 07/01/2025 | Y | Y | 1 | Y | Y | N |  | MD0300002 |  |  | 8091145 | 6119591 | DW0048 | PROBLEM: AGED UNLINED CAST IRON PIPES DETERIORATING CAUSING POOR WATER QUALITY, BACTERIAL GROWTH AND REDUCED HYDRAULIC CAPACITY PROJECT: CONSTRUCT REHAB/REPLACE APPROXIMATELY 7,300 LF OF 4"-12" DIAMETER DRINKING WATER MAINS, VALVES, FIRE HYDRANTS, ETC.
77 | 45 | DW0002 | Waldorf System Service Line Verification | Charles County | Charles | 4000 | PUBLIC | Large | N | Transmission & Distribution | LSL |  | 10/01/2026 | 12/31/2027 | 10/01/2025 | Y | 2 | 1 | N | N | N |  | MD0080049 |  | Y | 2015712 | 2015712 | DW0002 | PROBLEM: NON-COMPLIANCE WITH LCRR DUE TO 2,613 SERVICE LINES OF UNKNOWN MATERIAL. PROJECT: P/D/C-ID & REPORT MATERIAL; VERIFY INFO; SECURE PITCHER FILTERS FOR LSL OR GRR; EDUCATE CUSTOMERS; BID & PROCUREMENT
78 | 45 | DW0098 | Town of Mount Airy Lead Service Line Identification | Town of Mount Airy | Carroll | 7000 | PUBLIC | Small | N | Transmission & Distribution | LSL |  | 06/01/2026 | 06/30/2027 | 04/01/2026 | Y | 2 | 1 | N | N | N |  | MD0060007 |  | Y | 1192294 | 1192294 | DW0098 | PROBLEM: ABOUT 25% OF TOTAL SERVICE LINES COMPOSED OF UNKNOWN MATERIAL BASED ON 2024 PRELIMINARY INVENTORY AND MAY CONTAIN LEAD PROJECT: P/D/C-PERFORM TEST HOLES BY VACUUM EXCAVATION TO IDENTIFY MATERIAL IN THE RELEVANT SERVICE LINES
79 | 45 | DW0008 | Fruitland LCRR Inventory Field Investigation | City of Fruitland | Wicomico | 8908 | PUBLIC | Small | Y | Transmission & Distribution | LSL |  | 04/01/2026 | 09/30/2026 | 07/01/2025 | Y | Y | 1 | N | N | N |  | MD0220008 |  | Y | 912000 | 912000 | DW0008 | PROBLEM: 880 POTENTIAL LSL OF PRE 1970 PROPERTIES; UNKNOWN LEAD EXPOSURE OF SUCH PROPERTIES LEADING TO LCRR NON-COMPLIANCE PROJECT: D/C-FIELD INVESTIGATIONS ON 880 PROPERTIES TO IDENTIFY LEAD & NOTIFY RESIDENTS
80 | 45 | DW0042 | WC-1427 Patterson Park East and Vicinity Water Main Replacements | Mayor and City Council of Baltimore | Baltimore City | 9000 | PUBLIC | Large | Y | Transmission & Distribution |  |  | 07/01/2027 | 07/31/2029 | 07/01/2025 | Y | Y | 1 | Y | Y | N |  | MD0300002 |  |  | 19704311 | 15635440 | DW0042 | PROBLEM: AGED UNLINED CAST IRON PIPES DETERIORATING CAUSING POOR WATER QUALITY, BACTERIAL GROWTH AND REDUCED HYDRAULIC CAPACITY PROJECT: CONSTRUCT REHAB/REPLACE APPROXIMATELY 23,000 LF OF 4"-16" DIAMETER DRINKING WATER MAINS, VALVES, FIRE HYDRANTS, ETC.
81 | 45 | DW0040 | Service Line Stewardship Program - Howard County | Howard County DPW | Howard | 10500 | PUBLIC | Large | Y | Transmission & Distribution | LSL |  | 10/01/2026 | 12/31/2030 | 10/01/2025 | Y | 2 | 1 | N | N | N |  | MD0130002 |  | Y | 10841745 | 10841745 | DW0040 | PROBLEM: SOME WATER SERVICE LINES ARE OF UNKNOWN MATERIAL; NEED TO VERIFY AND ADDRESS PRESENCE OF LEAD OR GALVANIZED PIPES PROJECT: P/D/C-CONDUCT LSL INVENTORY IN EASTERN HOWARD COUNTY; REPLACE WATER LINES IN PRIORITY AREAS FIRST AFTER INVENTORY
82 | 45 | DW0079 | Lead Service Line Inventory - WSSC | Washington Suburban Sanitary Commission | WSSC | 13250 | PUBLIC | Large | N | Transmission & Distribution | LSL |  | 02/01/2025 | 10/30/2037 | 07/01/2021 | Y | 2 | 2 | Y | Y | N |  | MD0150005 |  | Y | 34250000 | 21121174 | DW0079 | PROBLEM: OUT OF 485,000 RECORDS REVIEWED THERE ARE 11,858 SERVICES OF UNKNOWN MATERIAL AND 1,385 SERVICES CLASSIFIED AS GALVANIZED PROJECT: P-QA/QC OF ALL REMAINING UNKNOWNS W TECH VALIDATION & FIELD VALIDATION; GOAL TO IMPLEMENT AND EXECUTE RISK MITIGATION
83 | 45 | DW0081 | Lead Service Line Replacement - WSSC | Washington Suburban Sanitary Commission | WSSC | 13250 | PUBLIC | Large | N | Transmission & Distribution | LSL |  | 04/01/2025 | 10/31/2037 | 07/01/2021 | Y | 2 | 2 | Y | Y | N |  | MD0150005 |  | Y | 155173560 | 127963994 | DW0081 | PROBLEM: OUT OF 485,000 RECORDS EVALUATE, WSSC ANTICIPATES 5,300 SERVICE LINES WILL BE IDENTIFIED AS LSL OR GRR FOR REPLACEMENT PROJECT: C-REPLACEMENT OF KNOWN LSL/GRR; 5 YEAR PLAN/BUDGET; PRIVATE & PUBLIC MITIGATION; EDUCATION & FOCUS ON VULNERABLE POPULATIONS
84 | 45 | DW0080 | Potomac Main Zone Pipeline Project | Washington Suburban Sanitary Commission | WSSC | 1582300 | PUBLIC | Large | N | Transmission & Distribution |  |  | 06/01/2028 | 06/30/2032 | 10/01/2024 | Y | 2 | 2 | Y | Y | N |  | MD0150005 |  |  | 121388000 | 121388000 | DW0080 | PROBLEM: AGING CAST IRON WATER MAINS NEED REPLACEMENT; 2.1 MILE OF LINE TO BE ADDRESSED; FREQUENT BREAKS, LEAKS; PUBLIC HEALTH CONCERN PROJECT: P/D/C-PROVIDES REDUNDANT FINISHED WATER MAINS ENSURING RELIABLE WATER SUPPLY TO 1.36M POP; PS & DISCHARGE MAINS REPLACED
85 | 40 | DW0018 | Newark Lead/Copper & Backflow Prevention Water Service Replacement | Worcester County | Worcester | 445 | PUBLIC | Small | Y | Transmission & Distribution | LSL |  | 04/01/2026 | 09/30/2026 | 06/01/2025 | Y | 2 | 1 | N | N | N |  | MD0230002 |  | Y | 613380 | 613380 | DW0018 | PROBLEM: NEWARK IS NOT COMPLIANT. PIT SETTERS DO NOT STOP BACK SIPHONING. OLD PIPES CAUSING LOW PRESSURE, PIPE FAILURE & HEALTH HAZARD PROJECT: D/C-REPLACE COPPER SETTERS WITH DOUBLE CHECK VALVES; CONNECT ALL NEWARK ROAD & LANGMAID ROAD SERIVICES TO 8" PVC WM.
86 | 40 | DW0059 | Lead and Copper Line Replacement - Town of Rock Hall | Town of Rock Hall | Kent | 2525 | PUBLIC | Small | Y | Transmission & Distribution | LSL |  | 04/01/2027 | 12/31/2027 | 10/01/2026 | Y | 2 | 1 | N | N | N |  | MD0140006 |  | Y | 960000 | 960000 | DW0059 | PROBLEM: TOWN CURRENTLY HAS 800 LINES OF LEAD OR UNKNOWN MATERIAL; REPLACEMENT NEEDED TO COMPLY WITH THE REVISED LEAD & COPPER RULE PROJECT: D/C-REPLACE A PORTION OF THE LEAD SERVICE LINES (80 LINES OR10%/YR FOR 10 YEARS) INDENTIFIED DURING THE LSL INVENTORY
87 | 40 | DW0070 | Town of Smithsburg Water System Improvements | Town of Smithsburg | Washington | 3250 | PUBLIC | Small | N | Transmission & Distribution |  | 1000000 | 08/01/2026 | 05/31/2027 | 07/01/2025 | Y | Y | 2 | N | N | N | Green (G) | MD0210018 |  |  | 7228000 | 6327800 | DW0070 | PROBLEM: INADEQUATE FLOW AND PRESSURE TO MAINTAIN FIRE PROTECTION FOR MUCH OF TOWN PROJECT: P/D/C-REPLACEMENT OF 3,915LF OF 12", 7,535LF OF 8", 230LF OF 6" WATERLINES & 26 HYDRANTS; GREEN INFRA WHERE LINES REPLACED
88 | 40 | DW0072 | Service Line Material Identification - City of Hagerstown | City of Hagerstown | Washington | 40000 | PUBLIC | Large | Y | Transmission & Distribution | LSL |  | 03/01/2026 | 12/31/2030 | 09/01/2024 | Y | 2 | 2 | N | N | N |  | MD0210010 |  | Y | 15358619 | 14908618 | DW0072 | PROBLEM: UNKNOWN MATERIAL IN HAGERSTOWN'S WATER SERVICE AREA; TOTAL OF 17,161 ESTIMATED LINES OF UNKNOWN MATERIAL PROJECT: P/D/C-IDENTIFY UNKNOWN LINES USING CUSTOMER SURVEYS, FIELD INSPECTIONS AND OTHER METHODS
89 | 40 | DW0087 | WFP Membrane Filtration Building (Project No. 2023-20-WFP) | Mayor and City Council of Cumberland | Allegany | 45453 | PUBLIC | Large | Y | Treatment |  |  | 10/01/2026 | 04/30/2028 | 03/01/2025 | Y | Y | 1 | Y | Y | N |  | MD0010008 |  |  | 56074609 | 56000000 | DW0087 | PROBLEM: OUTDATED FILTER BLDG W/11 CONVENTIONAL FILTERS, INADEQUATE INSULATION, LEAD-BASED PAINT PROJECT: P/D/C-NEW MEMBRANE FILTER BLDG WITH MEMBRANE AND GAC FILTRATION SYSTEMS & 5 MG FINISHED WATER TANK
90 | 40 | DW0054 | City of Rockville - Lead Service Line Inventory Investigation | City of Rockville | Montgomery | 65700 | PUBLIC | Large | N | Transmission & Distribution | LSL |  | 04/01/2023 | 10/31/2027 |  | Y | 2 | 1 | Y | Y | N |  | MD0150003 |  | Y | 1234274 | 528875 | DW0054 | PROBLEM: COMPLY WITH REVISIONS TO LCRR & PROACTIVELY ADDRESS EXPANDED REQUIREMENTS OF LCRI PROJECT: P-REDUCE 'UNKNOWN' SERVICE LINES VIA CUSTOMER SURVEYS, FIELD INVESTIGATIONS & USING PREDICTIVE MODELING SOFTWARE
91 | 40 | DW0043 | Automatic Metering Infrastructure Replacement | Mayor and City Council of Baltimore | Baltimore City | 1600000 | PUBLIC | Large | Y | Transmission & Distribution |  | 2500000 | 09/01/2025 | 06/30/2033 | 01/01/2025 | Y | Y | 1 | Y | Y | N | Green (W) | MD0300002 |  |  | 287129401 | 127318229 | DW0043 | PROBLEM: METERING SYSTEM NEEDS UPGRADING; OLDER METERS & TRANSMITTERS BATTERY OPERATED, INACCURATE PROJECT: CONSTRUCT TESTING & REPLACEMENT OF SM/LG CUSTOMER METERS, ETC. TO STATE-OF-THE-ART ADVANCED METERING TECHNOLOGY
92 | 40 | DW0099 | Automatic Metering Infrastructure Replacement | Baltimore County | Baltimore County | 1600000 | PUBLIC | Large | Y | Transmission & Distribution |  |  | 09/01/2025 | 06/30/2033 | 01/01/2025 | Y | Y | 1 | Y | Y | N | Joint project w/ Baltimore City | MD0300002 |  |  | 0 | 143564699 | DW0099 | PROBLEM: METERING SYSTEM NEEDS UPGRADING; OLDER METERS & TRANSMITTERS BATTERY OPERATED, INACCURATE PROJECT: CONSTRUCT TESTING & REPLACEMENT OF SM/LG CUSTOMER METERS, ETC. TO STATE-OF-THE-ART ADVANCED METERING TECHNOLOGY
93 | 35 | DW0021 | Coulbourne Lane Well Backup Power | Town of Snow Hill | Worcester | 2793 | PUBLIC | Small | Y | Source |  |  | 04/01/2026 | 06/30/2026 | 06/01/2025 | Y | 2 | 1 | Y | N | N |  | MD0230007 |  |  | 240200 | 240200 | DW0021 | PROBLEM: NO BACKUP POWER TO LARGEST PRODUCING WELL FOR WATER SYSTEM PROJECT: D/C-FURNISH AND INSTALL EMERGENCY GENERATOR AND AUTOMATIC TRANSFER SWITCH TO TOWN'S LARGEST PRODUCTION WELL
94 | 35 | DW0011 | Aberdeen Public Infrastructure Project at Swan Meadows | City of Aberdeen | Harford | 4470 | PUBLIC | Large | Y | Transmission & Distribution |  |  | 07/01/2026 | 06/30/2031 | 04/01/2022 | Y | Y | 1 | Y | Y | N |  | MD0120001 |  |  | 2941430 | 2684000 | DW0011 | PROBLEM: AGED WATER MAINS CANNOT SUSTAIN NORMAL PRESSURES AND ARE FRAGILE; RISKS ASBESTOS CONTAMINATION PROJECT: CONSTRUCT REPLACEMENT OF WATER MAINS AND WATER LINES SERVING THE NEIGHBORHOOD
95 | 35 | DW0017 | Mystic Harbor Water Plant & Building Rehab | Worcester County | Worcester | 7373 | PUBLIC | Small | Y | Treatment |  |  | 10/01/2026 | 10/31/2027 | 10/31/2025 | Y | 2 | 1 | N | N | N |  | MD0230011 |  |  | 2510740 | 2510740 | DW0017 | PROBLEM: 50+ YEAR OLD WTP AT END OF USEFUL LIFE, CHEMICAL CORROSION, NO AUTOMATION PROJECT: P/D/C-REHABILITATION OF FACILITY AND COMPONENTS, REPLACE VALVES, RELOCATE FILTER CONTROL PANEL & UPDATE
96 | 35 | DW0096 | Anne Arundel County Lead Service Line Replacement Program | Anne Arundel County | Anne Arundel | 12500 | PUBLIC | Large | Y | Transmission & Distribution | LSL |  | 01/01/2027 | 12/31/2034 | 07/01/2024 | Y | 2 | 2 | N | N | N |  | MD0020017 |  | Y | 7600000 | 7600000 | DW0096 | PROBLEM: LEAD SERVICE LINES WITHIN DISADVANTAGED COMMUNITIES PROJECT: P/D/C-IDENTIFY AND REPLACE LEAD SERVICE LINES WITHIN DISADVANTAGED COMMUNITY BOUNDARIES
97 | 30 | DW0068 | Security Updates for Water Treatment Facilities | Washington County Board of County Commissioners | Washington | 3750 | PUBLIC | Small | N | Other |  |  | 06/01/2025 | 11/30/2025 | 01/01/2025 | Y | 2 | 1 | Y | Y | N |  | MD0210017 |  |  | 85000 | 85000 | DW0068 | PROBLEM: UNMANNED/UNSECURED WATER TREATMENT FACILITIES PROJECT: CONSTRUCT INSTALLATION OF SECURITY CAMERAS AT COUNTY WATER TREATMENT FACILITIES
98 | 25 | DW0062 | Friendsville Water Source | Garrett County Sanitary District | Garrett | 623 | PUBLIC | Small | Y | Source |  |  | 10/01/2026 | 12/31/2026 | 07/01/2025 | N | 3 | 2 | N | N | Y |  | MD0110004 |  |  | 627200 | 565100 | DW0062 | PROBLEM: FRIENDSVILLE WTP PERMIT APPROVED WITH THE EXCEPTION THAT WATER SOURCE EVALUATION WOULD BE REQUIRED PROJECT: D/C-PRODUCE PER AND ENVIRONMENTAL REPORT TO EVALUATE WATER SOURCE OPTIONS; DRILL WELLS; INSTALL SCREENS ON RAW WATER INTAKE
99 | 25 | DW0082 | Grasonville - Main Street (MD-18) Interconnector Water Main Construction | County Commissioners of Queen Anne's County | Queen Anne's | 5250 | PUBLIC | Small | N | Transmission & Distribution |  |  | 09/01/2026 | 01/31/2027 | 03/01/2025 | Y | Y | 2 | N | Y | N |  | MD0170020 |  |  | 8000000 | 8000000 | DW0082 | PROBLEM: THERE IS NO REDUNDANCY TO KENT ISLAND/KENT NARROWS/GRAVESONVILLE; WATER CANNOT BE SUPPLIED TO GRASONVILLE IF WTF OFFLINE PROJECT: CONSTRUCT 8600 LF OF 12" WATER MAIN ALONG RT 18 INSTALLED TO OYSTER COVE WTF
100 | 25 | DW0022 | Powellton Avenue Well Backup Power | Town of Berlin | Worcester | 5500 | PUBLIC | Small | Y | Source |  |  | 03/01/2026 | 06/30/2026 | 07/01/2025 | Y | Y | 1 | N | N | N |  | MD0230001 |  |  | 240200 | 238400 | DW0022 | PROBLEM: POWELLTON AVE WELL IS W/O BACKUP POWER. WELL IS HIGHEST PRODUCER. POWEROUTAGE OF WELL IS HIGH VULNERABILITY PROJECT: D/C-PREP & INSTALL EMERGENCY GENERATOR & AUTO TRANSFER SWITCH FOR BACKUP POWER SUPPLY OF POWELLTON AVE WELL